Safe Digging Permit

A formal permit to authorise excavation works in areas where buried services may be present. This permit must not be issued until service plans have been obtained, CAT/Genny surveys completed, and all identified services marked out. Compliant with HSG47 (Avoiding Danger from Underground Services) and PAS 128.

| Permit No: |  | Date of Issue: |  |
| --- | --- | --- | --- |
| Project Name: |  | Contract No: |  |
| Dig Location: |  | Grid Ref / Ch: |  |
| Issued By: |  | Valid Until: |  |

1. Excavation Details

| Purpose of Excavation: |  |
| --- | --- |
| Excavation Method (machine / hand): |  |
| Maximum Depth (m): |  |
| Excavation Dimensions (L x W): |  |
| Plant to be Used: |  |
| Excavation Supervisor (Named): |  |
| Machine Operator (Named): |  |

2. Services Identified in the Dig Area

List all services identified from service plans, CAT/Genny survey, and trial holes.

| No. | Service Type | Utility Owner | Approx. Depth | Marked Out? | CAT Confirmed? | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Electricity (HV) |  |  |  |  |  |
| 2 | Electricity (LV) |  |  |  |  |  |
| 3 | Gas (HP) |  |  |  |  |  |
| 4 | Gas (MP/LP) |  |  |  |  |  |
| 5 | Water main |  |  |  |  |  |
| 6 | Foul sewer |  |  |  |  |  |
| 7 | Surface water drain |  |  |  |  |  |
| 8 | BT / Openreach telecoms |  |  |  |  |  |
| 9 | Virgin Media |  |  |  |  |  |
| 10 | Fibre optic |  |  |  |  |  |
| 11 | Other (specify) |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |

3. Pre-Dig Safety Checks

All checks must be satisfactorily completed before excavation is authorised.

| No. | Pre-Dig Check | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1 | Up-to-date service plans obtained from all utility providers |  |  |  |
| 2 | Service plans reviewed and services marked on the ground |  |  |  |
| 3 | CAT and Genny survey completed by competent operator |  |  |  |
| 4 | GPR survey completed (where required by risk assessment) |  |  |  |
| 5 | Trial holes dug by hand to confirm service locations (where required) |  |  |  |
| 6 | All identified services clearly marked with paint / pegs / tape |  |  |  |
| 7 | Exclusion zones established around identified services |  |  |  |
| 8 | Machine operator briefed on service locations and safe dig zone |  |  |  |
| 9 | Hand dig zone established within 500mm of any known service |  |  |  |
| 10 | Insulated hand tools available for hand excavation near services |  |  |  |
| 11 | Emergency contact numbers displayed for all utility providers |  |  |  |
| 12 | Excavation risk assessment completed and briefed to team |  |  |  |
| 13 | Banksman / spotter assigned for machine excavation near services |  |  |  |
| 14 | All operatives briefed on what to do if a service is struck |  |  |  |
| 15 | Permit holder competent and trained in safe digging practices (HSG47) |  |  |  |

4. Authorisation to Dig

Excavation must not commence until all parties below have signed. This permit is valid for the period stated above only.

| Role | Name | Signature | Date / Time |
| --- | --- | --- | --- |
| Permit Issuer |  |  |  |
| Excavation Supervisor |  |  |  |
| Machine Operator |  |  |  |
| Permit Holder |  |  |  |

5. Notes / Additional Comments

Record any additional conditions, restrictions, or observations. Include details of any service diversions, protection measures, or hand-dig zones.

6. Permit Closure

This section must be completed when the permit expires or excavation is complete.

| Date / Time Permit Closed: |  |
| --- | --- |
| Reason for Closure: |  |
| All Excavations Backfilled / Made Safe?: |  |
| Services Undamaged? (Yes/No): |  |
| Service Strike Incident? (Yes/No): |  |
| Closed By (Name / Signature): |  |

References: HSG47 (Avoiding Danger from Underground Services); PAS 128 (Underground Utility Detection); New Roads and Street Works Act 1991; Electricity at Work Regulations 1989; CDM 2015.