Pre-Demolition Survey Checklist

A comprehensive pre-demolition survey checklist covering structural assessment, hazardous materials, service disconnections, environmental requirements, and safety planning. Must be completed before any demolition works commence. Compliant with BS 6187 (Demolition), CDM 2015, and HSE guidance.

| Survey Ref: |  | Date: |  |
| --- | --- | --- | --- |
| Project Name: |  | Contract No: |  |
| Building / Structure: |  | Address: |  |
| Surveyed By: |  | Approved By: |  |

1. Structural Assessment

Assess the structural form, condition, and stability of the building or structure.

| No. | Survey Item | Yes | No | N/A | Comments / Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | Structural form and construction type identified (steel, RC, masonry, timber) |  |  |  |  |
| 2 | Structural drawings or historical records obtained and reviewed |  |  |  |  |
| 3 | Structural condition assessment completed (stability, integrity) |  |  |  |  |
| 4 | Pre-stressed or post-tensioned elements identified |  |  |  |  |
| 5 | Basement or below-ground structures identified |  |  |  |  |
| 6 | Shared or party walls identified and assessed |  |  |  |  |
| 7 | Adjacent structures at risk of damage identified |  |  |  |  |
| 8 | Temporary propping or shoring requirements assessed |  |  |  |  |
| 9 | Foundation type and depth established where possible |  |  |  |  |

2. Hazardous Materials

Identify all hazardous materials present. An R&D asbestos survey (HSG264) is mandatory before demolition.

| No. | Survey Item | Yes | No | N/A | Comments / Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | Refurbishment / Demolition Asbestos Survey completed (HSG264 / Regulation 4 CAR 2012) |  |  |  |  |
| 2 | Asbestos-containing materials identified, recorded, and mapped |  |  |  |  |
| 3 | Asbestos removal plan prepared (if ACMs present) |  |  |  |  |
| 4 | Lead paint survey completed |  |  |  |  |
| 5 | PCB-containing materials identified (transformers, capacitors, sealants) |  |  |  |  |
| 6 | Man-made mineral fibre (MMMF) insulation identified |  |  |  |  |
| 7 | Biological hazards assessed (pigeon guano, needle sticks, legionella) |  |  |  |  |
| 8 | Chemical contamination assessed (fuel tanks, oils, solvents, process chemicals) |  |  |  |  |
| 9 | Radioactive sources checked (smoke detectors, medical equipment) |  |  |  |  |
| 10 | Unexploded ordnance (UXO) risk assessment completed (if applicable) |  |  |  |  |

3. Services and Utilities

Confirm all services have been identified, disconnected, and made safe.

| No. | Survey Item | Yes | No | N/A | Comments / Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | All utility supplies identified (gas, electric, water, telecoms, data) |  |  |  |  |
| 2 | Service termination / disconnection confirmed in writing by each provider |  |  |  |  |
| 3 | Overhead power lines identified and safe clearances established |  |  |  |  |
| 4 | Underground services located by service plans, CAT scan, and trial holes |  |  |  |  |
| 5 | Gas supply isolated and capped — confirmation from gas network |  |  |  |  |
| 6 | Electricity supply isolated — confirmed dead by competent person |  |  |  |  |
| 7 | Water supply isolated — stop valve location confirmed |  |  |  |  |
| 8 | Telecoms / data services disconnected |  |  |  |  |
| 9 | Drainage connections identified and protected or diverted |  |  |  |  |
| 10 | Live services to adjacent properties identified and protected |  |  |  |  |

4. Environmental and Statutory Requirements

Confirm all environmental surveys, consents, and notifications are in place.

| No. | Survey Item | Yes | No | N/A | Comments / Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | Protected species survey completed (bats, birds, newts, etc.) |  |  |  |  |
| 2 | Ecological mitigation measures identified (timing restrictions, licences) |  |  |  |  |
| 3 | Listed building or conservation area restrictions identified |  |  |  |  |
| 4 | Planning conditions for demolition reviewed |  |  |  |  |
| 5 | Section 80 demolition notice submitted to local authority |  |  |  |  |
| 6 | Section 61 noise consent applied for (if required) |  |  |  |  |
| 7 | Waste management plan prepared (waste types, volumes, disposal routes) |  |  |  |  |
| 8 | Air quality / dust management plan prepared |  |  |  |  |
| 9 | Contaminated land assessment reviewed |  |  |  |  |
| 10 | Neighbour notification and community liaison completed |  |  |  |  |

5. Safety and Planning

Confirm all safety planning and statutory requirements are satisfied.

| No. | Survey Item | Yes | No | N/A | Comments / Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | CDM 2015 Principal Designer and Principal Contractor appointed |  |  |  |  |
| 2 | Demolition method statement prepared by competent contractor |  |  |  |  |
| 3 | Sequence of demolition defined and approved |  |  |  |  |
| 4 | Exclusion zones established and fencing / hoarding in place |  |  |  |  |
| 5 | Traffic management plan prepared for demolition operations |  |  |  |  |
| 6 | Noise and vibration monitoring arrangements in place |  |  |  |  |
| 7 | Emergency procedures documented and communicated |  |  |  |  |
| 8 | Structural engineer's involvement confirmed for complex demolition |  |  |  |  |
| 9 | Insurance and indemnity arrangements confirmed |  |  |  |  |
| 10 | Pre-demolition condition surveys of adjacent properties completed |  |  |  |  |

6. Notes / Additional Comments

Record any additional findings, constraints, or actions arising from the pre-demolition survey.

7. Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Survey Author |  |  |  |
| Demolition Contractor |  |  |  |
| Structural Engineer |  |  |  |
| Project Manager / CDM Advisor |  |  |  |

Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 01 |  |  |  |  |
| 02 |  |  |  |  |
| 03 |  |  |  |  |

References: BS 6187:2011 (Code of Practice for Full and Partial Demolition); CDM 2015; HSE HSG247 (Asbestos: The Survey Guide); Control of Asbestos Regulations 2012; Building Act 1984 (Section 80); Environmental Protection Act 1990.