Demolition Method Statement

A structured method statement template for demolition works, detailing the planned sequence, methods, plant, safety controls, and environmental management. Must be prepared by a competent demolition contractor and approved before works commence. Compliant with BS 6187:2011, CDM 2015, and HSE guidance.

| Document Ref: |  | Revision: |  |
| --- | --- | --- | --- |
| Project Name: |  | Date: |  |
| Contract No: |  | Client: |  |
| Prepared By: |  | Approved By: |  |

1. Project Information

| Site Address: |  |
| --- | --- |
| Building / Structure Description: |  |
| Construction Type: |  |
| Approximate Dimensions (L x W x H): |  |
| Year of Construction (if known): |  |
| Demolition Contractor: |  |
| Demolition Supervisor (Named): |  |
| Structural Engineer: |  |
| CDM Principal Contractor: |  |
| CDM Principal Designer: |  |

2. Scope of Demolition Works

Describe the full scope of demolition works including: structures to be demolished (with dimensions), elements to be retained, site boundary, extent of below-ground removal, and any exclusions from the scope. Reference drawings and site plans.

3. Pre-Demolition Survey Summary

Summarise key findings from the pre-demolition survey: structural form, asbestos survey results, hazardous materials identified, service disconnection status, ecological constraints, and any specialist issues. Reference the full pre-demolition survey report.

4. Demolition Sequence

Define the phased sequence of demolition operations. Each phase must be completed before the next commences.

| Phase | Activity | Description / Method | Plant Required | Duration | Constraints |
| --- | --- | --- | --- | --- | --- |
| 1 | Site establishment |  |  |  |  |
| 2 | Soft strip |  |  |  |  |
| 3 | Asbestos removal |  |  |  |  |
| 4 | Service disconnections |  |  |  |  |
| 5 | Pre-weakening (if req.) |  |  |  |  |
| 6 | Primary demolition |  |  |  |  |
| 7 | Secondary demolition |  |  |  |  |
| 8 | Crushing / processing |  |  |  |  |
| 9 | Basement removal |  |  |  |  |
| 10 | Site clearance |  |  |  |  |

5. Demolition Methods

Describe the demolition methods to be used for each structural element: mechanical demolition (excavator with attachments), hand demolition, deliberate collapse, wire/diamond cutting, balling, etc. Justify method selection based on structure type, proximity to boundaries, and safety considerations.

6. Plant and Equipment

| No. | Plant / Equipment | Purpose | Capacity / Reach | Operator | Cert / Inspection |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

7. Structural Engineering Input

Detail any structural engineering advice, temporary works, pre-weakening requirements, or monitoring during demolition. Reference structural engineer's report and any specific instructions for sequence-critical elements.

8. Exclusion Zones and Public Protection

Define exclusion zone distances, hoarding requirements, pedestrian and traffic diversions, scaffold fans or debris netting, and measures to protect adjacent properties and the public. Reference site layout drawing.

9. Health and Safety Controls

Detail the key safety controls: PPE requirements, dust suppression, noise controls, fall protection, confined space procedures, COSHH assessments, permit to work requirements, emergency procedures, and first aid arrangements.

10. Environmental Management

Detail dust suppression methods, noise and vibration monitoring, waste management (segregation, recycling targets, disposal routes), contaminated material handling, water management, and ecological protection measures.

11. Waste Management Plan

Estimate waste volumes by type, identify disposal/recycling routes, set recycling targets, and detail hazardous waste handling arrangements. Reference Site Waste Management Plan.

12. Emergency Procedures

Detail site-specific emergency procedures: structural collapse, fire, injury, environmental spill, unexploded ordnance, and discovery of unidentified hazardous materials. Include emergency contact numbers and muster point location.

13. Monitoring and Inspections

Detail monitoring arrangements: structural monitoring (tell-tales, survey), noise monitoring, dust monitoring, vibration monitoring (PPV limits), and inspection regime during demolition.

14. Notes / Additional Comments

Record any additional information, assumptions, or project-specific requirements.

15. Approval and Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Author (Demolition Engineer) |  |  |  |
| Demolition Contractor Director |  |  |  |
| Structural Engineer |  |  |  |
| Principal Contractor |  |  |  |
| Client / CDM Advisor |  |  |  |

Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 01 |  |  |  |  |
| 02 |  |  |  |  |
| 03 |  |  |  |  |

References: BS 6187:2011 (Code of Practice for Full and Partial Demolition); CDM 2015; HSE Guidance — Protecting the Public; Control of Asbestos Regulations 2012; Environmental Protection Act 1990; BS 5228 (Noise and Vibration Control).