O&M Manual Structure and Checklist

A comprehensive checklist and structure template for compiling Operation and Maintenance manuals for construction project handover. Organised by volume, covering all building disciplines. Use this checklist to track the receipt, review, and acceptance of O&M documentation from all subcontractors and suppliers. References BS 8210 (Guide to Facilities Maintenance Management) and BSRIA BG 26 (O&M Manuals).

| Document Ref: |  | Revision: |  |
| --- | --- | --- | --- |
| Project Name: |  | Date: |  |
| Contract No: |  | Client: |  |
| Prepared By: |  | Approved By: |  |

1. Volume 1 — General Information

| No. | O&M Manual Content Item | Required | Received | Reviewed | Accepted |
| --- | --- | --- | --- | --- | --- |
| 1 | Project description and scope overview |  |  |  |  |
| 2 | Site location plan and general arrangement drawings |  |  |  |  |
| 3 | Contact details: client, operator, designer, contractor, key suppliers |  |  |  |  |
| 4 | Emergency contact numbers and procedures |  |  |  |  |
| 5 | Design basis document / design intent summary |  |  |  |  |
| 6 | CDM Health and Safety File (or cross-reference to separate file) |  |  |  |  |
| 7 | List of hazardous materials and COSHH data sheets |  |  |  |  |
| 8 | Schedule of warranties, guarantees, and defects liability periods |  |  |  |  |
| 9 | Insurance documentation and certificates |  |  |  |  |
| 10 | Planning conditions and consent requirements |  |  |  |  |

2. Volume 2 — Architectural / Building Fabric

| No. | O&M Manual Content Item | Required | Received | Reviewed | Accepted |
| --- | --- | --- | --- | --- | --- |
| 1 | Building fabric specification and materials schedule |  |  |  |  |
| 2 | Roof construction details and maintenance guidance |  |  |  |  |
| 3 | External wall construction and cladding maintenance requirements |  |  |  |  |
| 4 | Window and door schedules with maintenance instructions |  |  |  |  |
| 5 | Internal finishes schedule and cleaning/maintenance guidance |  |  |  |  |
| 6 | Floor coverings and finishes maintenance procedures |  |  |  |  |
| 7 | Ironmongery schedule with replacement part numbers |  |  |  |  |
| 8 | Decoration and repainting schedule |  |  |  |  |
| 9 | Sealant and joint replacement programme |  |  |  |  |
| 10 | Accessibility features and maintenance requirements |  |  |  |  |

3. Volume 3 — Structural

| No. | O&M Manual Content Item | Required | Received | Reviewed | Accepted |
| --- | --- | --- | --- | --- | --- |
| 1 | Structural design certificates and calculations summary |  |  |  |  |
| 2 | As-built structural drawings |  |  |  |  |
| 3 | Foundation design and geotechnical report summary |  |  |  |  |
| 4 | Structural steel fabrication records and test certificates |  |  |  |  |
| 5 | Concrete mix design records and cube test results |  |  |  |  |
| 6 | Structural inspection and maintenance schedule |  |  |  |  |
| 7 | Load limitations and restrictions |  |  |  |  |
| 8 | Settlement monitoring records (if applicable) |  |  |  |  |

4. Volume 4 — Mechanical Services

| No. | O&M Manual Content Item | Required | Received | Reviewed | Accepted |
| --- | --- | --- | --- | --- | --- |
| 1 | HVAC system description and operating parameters |  |  |  |  |
| 2 | Heating system O&M manuals and commissioning records |  |  |  |  |
| 3 | Cooling system O&M manuals and commissioning records |  |  |  |  |
| 4 | Ventilation system O&M manuals and commissioning records |  |  |  |  |
| 5 | Plumbing and domestic water services O&M manuals |  |  |  |  |
| 6 | Above-ground drainage O&M manuals |  |  |  |  |
| 7 | Fire suppression system O&M manuals and test certificates |  |  |  |  |
| 8 | Pump schedules and maintenance procedures |  |  |  |  |
| 9 | Valve schedules and maintenance procedures |  |  |  |  |
| 10 | Pipework pressure test certificates |  |  |  |  |
| 11 | Plant room layout drawings and equipment schedules |  |  |  |  |
| 12 | Spare parts lists and recommended stockholdings |  |  |  |  |
| 13 | Maintenance schedules (PPM) for all mechanical plant |  |  |  |  |

5. Volume 5 — Electrical Services

| No. | O&M Manual Content Item | Required | Received | Reviewed | Accepted |
| --- | --- | --- | --- | --- | --- |
| 1 | Electrical installation design and single-line diagrams |  |  |  |  |
| 2 | BS 7671 electrical installation certificates |  |  |  |  |
| 3 | Periodic inspection and test reports |  |  |  |  |
| 4 | Distribution board schedules |  |  |  |  |
| 5 | Lighting design and lux level calculations |  |  |  |  |
| 6 | Emergency lighting system test certificates |  |  |  |  |
| 7 | Fire alarm system O&M manual and commissioning certificate |  |  |  |  |
| 8 | Security and access control system O&M manuals |  |  |  |  |
| 9 | Lightning protection system test certificates |  |  |  |  |
| 10 | Generator / UPS O&M manuals and test records |  |  |  |  |
| 11 | Cable schedules and routing drawings |  |  |  |  |
| 12 | Earthing and bonding records |  |  |  |  |
| 13 | Maintenance schedules (PPM) for all electrical systems |  |  |  |  |

6. Volume 6 — Civil and External Works

| No. | O&M Manual Content Item | Required | Received | Reviewed | Accepted |
| --- | --- | --- | --- | --- | --- |
| 1 | Drainage layout drawings and CCTV survey records |  |  |  |  |
| 2 | Surface water drainage system O&M manual |  |  |  |  |
| 3 | Foul drainage system O&M manual |  |  |  |  |
| 4 | External works specification and maintenance schedule |  |  |  |  |
| 5 | Road and car park construction details |  |  |  |  |
| 6 | Landscaping maintenance schedule |  |  |  |  |
| 7 | Boundary treatment details and maintenance |  |  |  |  |
| 8 | External lighting O&M manuals |  |  |  |  |

7. Volume 7 — Specialist Systems and ICA

| No. | O&M Manual Content Item | Required | Received | Reviewed | Accepted |
| --- | --- | --- | --- | --- | --- |
| 1 | Building Management System (BMS) O&M manual |  |  |  |  |
| 2 | Control panel drawings and software backup |  |  |  |  |
| 3 | Instrumentation loop drawings and calibration records |  |  |  |  |
| 4 | SCADA / telemetry system O&M manual |  |  |  |  |
| 5 | Process control system commissioning records |  |  |  |  |
| 6 | Specialist equipment O&M manuals (lifts, escalators, etc.) |  |  |  |  |
| 7 | Data / telecommunications infrastructure O&M manuals |  |  |  |  |
| 8 | Renewable energy system O&M manuals (PV, heat pumps, etc.) |  |  |  |  |

8. Submission Tracker

Track the overall submission status for each O&M volume.

| No. | O&M Volume / Section | Subcontractor / Supplier | Due Date | Date Received | Status | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Vol 1 - General |  |  |  |  |  |
| 2 | Vol 2 - Architectural |  |  |  |  |  |
| 3 | Vol 3 - Structural |  |  |  |  |  |
| 4 | Vol 4 - Mechanical |  |  |  |  |  |
| 5 | Vol 5 - Electrical |  |  |  |  |  |
| 6 | Vol 6 - Civil / External |  |  |  |  |  |
| 7 | Vol 7 - Specialist / ICA |  |  |  |  |  |

9. Notes / Additional Comments

Record any outstanding items, quality issues with submissions, or additional volumes required for this project.

10. Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| O&M Coordinator |  |  |  |
| Project Manager |  |  |  |
| Client / Facilities Manager |  |  |  |

Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 01 |  |  |  |  |
| 02 |  |  |  |  |
| 03 |  |  |  |  |

References: BS 8210 (Facilities Maintenance Management); BSRIA BG 26 (O&M Manuals — A Guide to Best Practice); CDM 2015 (Regulation 12 — Health and Safety File).