Electrical Isolation Permit

DANGER: ELECTRICITY CAN KILL. THIS PERMIT MUST BE COMPLETED BY A COMPETENT PERSON BEFORE ANY WORK BEGINS.

In accordance with the Electricity at Work Regulations 1989, BS 7671, and HSE guidance GS38

| Permit Number: | EI-PTW- |
| --- | --- |
| Revision: | 0 |
| Date: | DD/MM/YYYY |
| Time: | HH:MM |
| Permit Valid Until: | DD/MM/YYYY at HH:MM |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Location / Area: | Enter location of electrical equipment |
| Issued By (Authorised Person): | Name, role, and competence reference |
| Permit Holder: | Name and role |

1. Equipment / Circuit Details

| Equipment Description: | Describe the equipment or circuit to be worked on |
| --- | --- |
| Equipment Tag / Asset No.: |  |
| Voltage / Rating: | e.g., 230V single phase, 400V 3-phase, 11kV HV |
| Distribution Board / Panel: | Identify the DB or panel from which the circuit is fed |
| Circuit Reference: | Circuit number or reference from DB schedule / SLD |
| Work to Be Carried Out: | Describe the specific work requiring isolation |

2. Isolation Schedule

Record each point of isolation. All isolations must be physically verified and proved dead before work commences.

| No. | Isolation Point / Device | Location | Lock No. | Tag No. | Isolated By | Proved Dead By |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |

3. Proving Dead Record

| Voltage Indicator Make / Model: |  |
| --- | --- |
| Serial Number: |  |
| Compliant with GS38: | Yes / No |
| Proved on Known Live Source (before): | Yes — Voltage reading: ______V at HH:MM |
| Proved Dead at Point of Work: | Yes — Reading: ______V Phase-Phase, Phase-Earth, Phase-Neutral at HH:MM |
| Proved on Known Live Source (after): | Yes — Voltage reading: ______V at HH:MM |
| Tested By: | Name and competence reference |

4. Pre-Isolation Checks

| No. | Pre-Isolation Requirement | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Electrical system schematic / single line diagram reviewed and understood |  |  |  |  |
| 2 | All circuits and supplies to be isolated have been clearly identified |  |  |  |  |
| 3 | Point(s) of isolation confirmed and located on site |  |  |  |  |
| 4 | Competent person (as defined by Electricity at Work Regulations 1989) appointed to perform isolation |  |  |  |  |
| 5 | Risk assessment completed for the isolation and associated work activities |  |  |  |  |
| 6 | Method statement prepared detailing the isolation sequence and safe working procedure |  |  |  |  |
| 7 | All affected personnel notified of the planned isolation and duration |  |  |  |  |
| 8 | Adjacent live circuits identified and appropriate precautions taken (barriers, insulation, signage) |  |  |  |  |
| 9 | Emergency procedures in place in the event of an incident during isolation |  |  |  |  |

5. Isolation Procedure Checks

| No. | Isolation Step | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Isolation achieved by switching off and physical disconnection or locking of circuit breakers / isolators |  |  |  |  |
| 2 | Lock Out / Tag Out (LOTO) applied at all points of isolation |  |  |  |  |
| 3 | Unique padlocks applied by each person working on the isolated equipment (personal lock system) |  |  |  |  |
| 4 | Danger / caution tags attached at all points of isolation displaying permit holder name, date, and permit number |  |  |  |  |
| 5 | Stored energy discharged (capacitors, UPS systems, battery backup, generators) |  |  |  |  |
| 6 | Proving dead completed at the point of work using an approved voltage indicator |  |  |  |  |
| 7 | Voltage indicator proved before and after use on a known live source (proving unit) |  |  |  |  |
| 8 | Earthing applied where required (e.g., HV systems, large capacitive circuits) |  |  |  |  |
| 9 | Phasing checks completed where multiple supplies or phases are involved |  |  |  |  |
| 10 | All test instruments calibrated and within test date |  |  |  |  |

6. Safe Working Requirements

| No. | Safe Working Control | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Work area demarcated with barriers and warning signs |  |  |  |  |
| 2 | Appropriate PPE worn: insulated gloves (rated to voltage), safety glasses, arc-rated clothing where required |  |  |  |  |
| 3 | Insulated tools used for all work on or near electrical equipment |  |  |  |  |
| 4 | Anti-static precautions taken where ESD-sensitive equipment is involved |  |  |  |  |
| 5 | Fire extinguisher (CO2 type) available at the point of work |  |  |  |  |
| 6 | No lone working during electrical isolation activities (buddy system in place) |  |  |  |  |
| 7 | All covers, panels, and enclosures replaced before re-energisation |  |  |  |  |

7. Permit Authorisation

I confirm that the isolation has been completed, the circuit has been proved dead, and it is safe to proceed with the work described above.

| Role | Name | Signature | Date / Time |
| --- | --- | --- | --- |
| Authorised Person (Issuer) |  |  | DD/MM/YYYY HH:MM |
| Competent Person (Isolator) |  |  | DD/MM/YYYY HH:MM |
| Permit Holder (Worker) |  |  | DD/MM/YYYY HH:MM |

8. Re-Energisation and Permit Cancellation

Re-energisation must only be carried out by the authorised person after confirming all work is complete, all personnel are clear, and all covers are replaced.

| Work Completed: | Yes / No |
| --- | --- |
| All Personnel Clear: | Yes / No |
| Covers / Panels Replaced: | Yes / No |
| Locks and Tags Removed: | Yes / No — All personal locks accounted for |
| Earthing Removed: | Yes / No / N/A |
| Safe to Re-Energise: | Yes / No |
| Re-Energised By: | Name, signature, date/time |
| Permit Cancelled By: | Name, signature, date/time |

Notes / Additional Comments

Enter any additional comments.

Document Control

| Rev. | Date | Author | Description |
| --- | --- | --- | --- |
| 0 | DD/MM/YYYY |  | Initial issue |