Excavation Permit to Dig

NO EXCAVATION OR BREAKING OF GROUND SHALL COMMENCE WITHOUT A VALID PERMIT

In accordance with CDM 2015, HSG47 (Avoiding Danger from Underground Services), and HSE guidance on excavation safety

| Permit Number: | EXC-PTW- |
| --- | --- |
| Revision: | 0 |
| Date: | DD/MM/YYYY |
| Permit Valid Until: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Excavation Location: | Enter precise location / grid reference / drawing reference |
| Excavation Depth (max): | metres |
| Excavation Length: | metres |
| Excavation Method: | e.g., Machine dig, hand-dig, vacuum excavation |
| Issued By: | Name, role, and signature |
| Responsible Person: | Name and role |

1. Known Services in the Vicinity

Record all services identified from utility plans, site records, and detection surveys. Attach marked-up drawings where available.

| No. | Service Type | Owner / Utility | Depth (m) | Horizontal Offset | Status / Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Electricity (HV) |  |  |  |  |
| 2 | Electricity (LV) |  |  |  |  |
| 3 | Gas |  |  |  |  |
| 4 | Water |  |  |  |  |
| 5 | Telecoms / Fibre |  |  |  |  |
| 6 | Drainage / Sewer |  |  |  |  |
| 7 | Other |  |  |  |  |

2. Pre-Dig Checks

| No. | Pre-Dig Requirement | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Service plans obtained from all statutory undertakers (gas, electric, water, telecoms, drainage) |  |  |  |  |
| 2 | Site-specific utility records and as-built drawings reviewed |  |  |  |  |
| 3 | CAT (Cable Avoidance Tool) scan completed by competent operator across the full dig area |  |  |  |  |
| 4 | Genny (Signal Generator) used in conjunction with CAT scan to trace specific cables |  |  |  |  |
| 5 | GPR (Ground Penetrating Radar) survey completed where complex or congested services expected |  |  |  |  |
| 6 | All detected services clearly marked on the ground using paint, pegs, or markers |  |  |  |  |
| 7 | Trial holes / hand-dug investigation completed to confirm service depths and positions |  |  |  |  |
| 8 | Safe digging zone established around identified services (minimum 500mm hand-dig zone) |  |  |  |  |
| 9 | Overhead services (power lines, telecoms) identified and safe clearances established |  |  |  |  |
| 10 | Service strike risk assessment completed and briefed to all operatives |  |  |  |  |
| 11 | Emergency contact numbers for all utility providers obtained and displayed at the excavation |  |  |  |  |

3. Excavation Safety Controls

| No. | Excavation Safety Check | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Excavation method statement prepared and briefed to all operatives |  |  |  |  |
| 2 | Competent person appointed to supervise the excavation works |  |  |  |  |
| 3 | Excavation support system designed and specified (e.g., trench sheets, hydraulic frames, battering) |  |  |  |  |
| 4 | Support system installed progressively as excavation depth increases |  |  |  |  |
| 5 | Excavation inspected at the start of each shift by a competent person |  |  |  |  |
| 6 | Excavation inspected after any event likely to affect stability (rain, vibration, surcharge loading) |  |  |  |  |
| 7 | Written inspection reports completed and retained on site (Schedule 3, CDM 2015) |  |  |  |  |
| 8 | Barriers and edge protection installed around all excavation perimeters |  |  |  |  |
| 9 | Warning signs displayed at all approach points |  |  |  |  |
| 10 | Stop blocks installed where vehicles operate near excavation edges |  |  |  |  |
| 11 | Minimum 1.0m clearance maintained between excavation edge and spoil heaps / materials |  |  |  |  |
| 12 | Safe access and egress provided (ladders secured at intervals not exceeding 15m in trenches) |  |  |  |  |
| 13 | Dewatering arrangements in place where groundwater or surface water ingress expected |  |  |  |  |
| 14 | Excavation adequately lit for safe working (especially during winter / early / late shifts) |  |  |  |  |

4. Buried Services Protection

| No. | Buried Services Control | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | No mechanical excavation within 500mm of any known service (hand-dig only) |  |  |  |  |
| 2 | Insulated hand tools used when digging near electrical cables |  |  |  |  |
| 3 | Exposed services supported to prevent damage from spans or loading |  |  |  |  |
| 4 | Exposed services clearly identified and protected (sand bags, marker boards, warning tape) |  |  |  |  |
| 5 | Backfill specification agreed for areas around exposed services |  |  |  |  |
| 6 | All service crossings marked with warning tape at 300mm above the service during backfill |  |  |  |  |
| 7 | Permit holder notified of any uncharted services discovered during excavation |  |  |  |  |

5. Personnel and Competence

| No. | Personnel Requirement | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | All operatives hold valid CSCS cards appropriate to their role |  |  |  |  |
| 2 | All operatives briefed on the permit conditions, hazards, and emergency procedures |  |  |  |  |
| 3 | PPE requirements specified and worn (hard hat, hi-vis, boots, gloves, eye protection) |  |  |  |  |
| 4 | Banksman appointed where plant operates in the vicinity of the excavation |  |  |  |  |
| 5 | Lone working prohibited in excavations deeper than 1.2 metres |  |  |  |  |
| 6 | First aid facilities and trained first aider available |  |  |  |  |

6. Daily Excavation Inspection Log

Excavations must be inspected at the start of each shift and after any event likely to affect stability (Regulation 22, CDM 2015). Record each inspection below.

| Date | Time | Condition / Findings | Safe to Enter | Inspector Name | Signature |
| --- | --- | --- | --- | --- | --- |

7. Permit Authorisation

I confirm that all pre-dig checks are complete, services have been identified and marked, and the excavation may proceed subject to the conditions of this permit.

| Role | Name | Signature | Date / Time |
| --- | --- | --- | --- |
| Permit Issuer (Authorised Person) |  |  | DD/MM/YYYY HH:MM |
| Responsible Person (Excavation Supervisor) |  |  | DD/MM/YYYY HH:MM |
| Plant Operator |  |  | DD/MM/YYYY HH:MM |
| Banksman |  |  | DD/MM/YYYY HH:MM |

8. Permit Closure

| Work Complete: | Yes / No |
| --- | --- |
| Excavation Backfilled: | Yes / No — If no, state protection measures |
| Barriers Maintained: | Yes / No — Excavation secured if left open |
| Permit Closed By: | Name, signature, date/time |

Notes / Additional Comments

Enter any additional comments, sketch references, or drawing numbers.

Document Control

| Rev. | Date | Author | Description |
| --- | --- | --- | --- |
| 0 | DD/MM/YYYY |  | Initial issue |