Fire Risk Assessment Checklist

In accordance with the Regulatory Reform (Fire Safety) Order 2005 and HSE guidance for construction sites

| Document Reference: | FRA-CHK-001 |
| --- | --- |
| Revision: | 0 |
| Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Site Address: | Enter full site address |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

Section A: Fire Prevention

| No. | Checklist Item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | All combustible materials stored away from ignition sources and in designated areas |  |  |  |  |
| 2 | Flammable liquids stored in fire-rated cabinets or bunded areas with appropriate signage |  |  |  |  |
| 3 | Hot works controlled under a valid hot works permit with fire watch in place |  |  |  |  |
| 4 | Temporary heating equipment positioned safely away from combustible materials with adequate clearance |  |  |  |  |
| 5 | Electrical installations inspected and certified; no overloaded sockets or trailing cables |  |  |  |  |
| 6 | Portable electrical equipment PAT tested and in date |  |  |  |  |
| 7 | Smoking restricted to designated smoking areas only; signage displayed |  |  |  |  |
| 8 | LPG cylinders stored upright in well-ventilated cages away from buildings and drains |  |  |  |  |
| 9 | Waste and rubbish cleared regularly to prevent accumulation of combustible materials |  |  |  |  |
| 10 | Dust extraction systems in place and functioning where timber or other combustible dust generated |  |  |  |  |
| 11 | Temporary buildings (offices, stores) adequately separated or fire-rated per site fire plan |  |  |  |  |
| 12 | No evidence of arson risk (site security adequate, perimeter fencing intact, lighting operational) |  |  |  |  |

Section B: Fire Detection and Alarm

| No. | Checklist Item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Fire alarm system installed, tested weekly, and recorded in fire log book |  |  |  |  |
| 2 | Smoke / heat detectors installed and appropriate for the environment (e.g., heat detectors in dusty areas) |  |  |  |  |
| 3 | Manual call points located at exits and along escape routes; clearly visible and unobstructed |  |  |  |  |
| 4 | Fire alarm audible in all areas of the site including remote locations and welfare units |  |  |  |  |
| 5 | Arrangements in place to alert workers who may not hear the alarm (e.g., lone workers, noisy areas) |  |  |  |  |
| 6 | Fire detection and alarm system maintained by competent person at required intervals |  |  |  |  |

Section C: Firefighting Equipment

| No. | Checklist Item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Appropriate fire extinguishers provided for fire risks present (e.g., water, CO2, foam, powder) |  |  |  |  |
| 2 | Fire extinguishers located on escape routes, at fire points, and near high-risk activities |  |  |  |  |
| 3 | All fire extinguishers inspected monthly (visual check) and annually by competent person; in date |  |  |  |  |
| 4 | Fire extinguishers clearly signed and unobstructed at all times |  |  |  |  |
| 5 | Fire blankets provided in kitchen/canteen areas and near hot works locations |  |  |  |  |
| 6 | Dry riser / wet riser or hydrant available and accessible (where applicable) |  |  |  |  |
| 7 | Personnel trained in use of fire extinguishers and firefighting equipment |  |  |  |  |

Section D: Escape Routes and Emergency Exits

| No. | Checklist Item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Escape routes identified, clearly marked, and free from obstruction at all times |  |  |  |  |
| 2 | Emergency exit doors open in the direction of travel and are not locked or fastened |  |  |  |  |
| 3 | Emergency lighting installed along escape routes and tested monthly (functional and recorded) |  |  |  |  |
| 4 | Fire exit signs illuminated and visible from all points along escape routes |  |  |  |  |
| 5 | Assembly point(s) identified, clearly signed, and located at a safe distance from buildings |  |  |  |  |
| 6 | Travel distances to exits do not exceed maximum permitted distances (typically 25m for high risk, 45m for normal risk) |  |  |  |  |
| 7 | Escape routes protected from fire (fire-rated construction, fire doors, intumescent seals where required) |  |  |  |  |
| 8 | Stairways and corridors clear of storage and combustible materials |  |  |  |  |
| 9 | External escape routes well-lit and maintained (free from ice, mud, and trip hazards) |  |  |  |  |

Section E: Emergency Plan and Procedures

| No. | Checklist Item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Site fire and emergency plan prepared, documented, and communicated to all workers |  |  |  |  |
| 2 | Fire wardens / marshals appointed in sufficient numbers and identifiable (e.g., hi-vis tabards) |  |  |  |  |
| 3 | Fire wardens trained in their duties including sweep procedures and roll call |  |  |  |  |
| 4 | Fire evacuation drill conducted at appropriate intervals (at least every 6 months) |  |  |  |  |
| 5 | Drill records maintained with date, time, evacuation time, and issues identified |  |  |  |  |
| 6 | Procedures in place for accounting for all persons on site during an evacuation (visitor register, signing in/out) |  |  |  |  |
| 7 | Fire and rescue service access maintained; routes kept clear for emergency vehicles at all times |  |  |  |  |
| 8 | Arrangements for persons with disabilities or mobility restrictions included in the fire plan |  |  |  |  |
| 9 | Contact details for emergency services displayed prominently on site |  |  |  |  |
| 10 | Arrangements for informing the fire service of site-specific hazards (e.g., asbestos, chemicals, LPG) |  |  |  |  |

Section F: Housekeeping and Fire Spread Prevention

| No. | Checklist Item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | General housekeeping maintained to a high standard across all site areas |  |  |  |  |
| 2 | Waste skips located away from buildings and emptied regularly to prevent fire loading |  |  |  |  |
| 3 | Temporary structures (scaffolding sheeting, temporary roofing) reviewed for fire spread risk |  |  |  |  |
| 4 | Cladding and insulation materials checked for fire rating and compliance with current regulations |  |  |  |  |
| 5 | Penetrations through fire-rated walls and floors adequately fire-stopped |  |  |  |  |

Actions Arising from Assessment

| No. | Action Required | Responsible Person | Target Date | Completed |
| --- | --- | --- | --- | --- |
| 1 |  |  | DD/MM/YYYY |  |
| 2 |  |  | DD/MM/YYYY |  |
| 3 |  |  | DD/MM/YYYY |  |
| 4 |  |  | DD/MM/YYYY |  |
| 5 |  |  | DD/MM/YYYY |  |
| 6 |  |  | DD/MM/YYYY |  |

Notes / Additional Comments

Enter any additional comments or observations.

Approval and Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Assessor |  |  | DD/MM/YYYY |
| Reviewer / Approver |  |  | DD/MM/YYYY |
| Site Manager |  |  | DD/MM/YYYY |

Document Control

| Rev. | Date | Author | Description |
| --- | --- | --- | --- |
| 0 | DD/MM/YYYY |  | Initial issue |