Winter Working Risk Assessment

In accordance with the MHSWR 1999, Workplace (H,S&W) Regulations 1992, and HSE seasonal guidance

| Document Reference: | WIN-RA-001 |
| --- | --- |
| Revision: | 0 |
| Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Location / Area: | Enter site location |
| Assessment Period: | e.g., October 2025 – March 2026 |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

Section A: Ice, Snow, and Frost

| No. | Ice / Snow / Frost Control | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Daily weather forecast checked before start of shift; Met Office severe weather warnings monitored |  |  |  |  |
| 2 | Gritting and salting regime established for all pedestrian and vehicle routes |  |  |  |  |
| 3 | Grit bins positioned at key locations and regularly replenished |  |  |  |  |
| 4 | Nominated person responsible for gritting before site opens each morning |  |  |  |  |
| 5 | Record of gritting kept (date, time, areas treated, treated by) |  |  |  |  |
| 6 | Scaffold platforms, stairways, and access ramps cleared of ice and snow before use |  |  |  |  |
| 7 | Scaffold inspection conducted after frost, ice, or snow before any work at height |  |  |  |  |
| 8 | Vehicle windscreens, mirrors, and lights cleared before use |  |  |  |  |
| 9 | Speed limits reduced in icy or snowy conditions |  |  |  |  |
| 10 | Work at height suspended during ice, frost, heavy rain, or high wind conditions exceeding safe limits |  |  |  |  |
| 11 | Temporary walkways and ramps provided with anti-slip surfaces or matting |  |  |  |  |
| 12 | Excavation edges and open trenches clearly marked and barriered (reduced visibility in snow/fog) |  |  |  |  |

Section B: Cold Weather and Worker Welfare

| No. | Cold Weather Control | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Cold stress risk assessed for workers exposed to temperatures below 5°C |  |  |  |  |
| 2 | Adequate warm clothing, thermal layers, and weatherproof PPE provided |  |  |  |  |
| 3 | Insulated gloves provided that maintain dexterity for the task |  |  |  |  |
| 4 | Regular warm-up breaks provided in heated welfare facilities |  |  |  |  |
| 5 | Hot drinks available in welfare facilities |  |  |  |  |
| 6 | Working hours adjusted to maximise daylight and minimise cold exposure (e.g., later start, earlier finish) |  |  |  |  |
| 7 | Workers briefed on the signs and symptoms of hypothermia and frostbite |  |  |  |  |
| 8 | Buddy system in place to monitor workers for signs of cold-related illness |  |  |  |  |
| 9 | First aid provisions include treatment for hypothermia (emergency blankets, warm fluids) |  |  |  |  |
| 10 | Concrete and mortar work assessed for frost risk (minimum curing temperatures maintained) |  |  |  |  |
| 11 | Temporary heating provided in enclosed work areas (safe, ventilated, no naked flames near combustibles) |  |  |  |  |
| 12 | LPG heaters positioned safely with adequate ventilation to prevent CO build-up |  |  |  |  |

Section C: Reduced Daylight and Visibility

| No. | Darkness / Visibility Control | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Adequate temporary lighting provided for all work areas, walkways, and access routes |  |  |  |  |
| 2 | Lighting levels meet minimum standards: 50 lux general site, 100 lux task areas, 200 lux detailed work |  |  |  |  |
| 3 | Emergency lighting available in case of power failure |  |  |  |  |
| 4 | Lighting columns, festoon lights, and floodlights secured against wind |  |  |  |  |
| 5 | High-visibility clothing (EN ISO 20471 Class 3) worn by all workers during low-light conditions |  |  |  |  |
| 6 | Reflective markings applied to barriers, scaffold, and site boundaries |  |  |  |  |
| 7 | Vehicle and plant lighting checked and operational (headlights, beacons, reversing lights) |  |  |  |  |
| 8 | Pedestrian and vehicle routes clearly defined and lit in darkness |  |  |  |  |

Section D: High Winds, Rain, and Storms

| No. | Wind / Rain / Storm Control | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Maximum wind speed limits established for crane operations, work at height, and lifting |  |  |  |  |
| 2 | Wind speed monitoring equipment available on site (anemometer) |  |  |  |  |
| 3 | Work at height suspended when wind speed exceeds safe limits (typically 17 mph sustained for general WAH) |  |  |  |  |
| 4 | Temporary structures, sheeting, and hoarding secured against high winds |  |  |  |  |
| 5 | Drainage and dewatering systems checked and maintained to prevent flooding |  |  |  |  |
| 6 | Welfare facilities and site offices secured against storm damage |  |  |  |  |
| 7 | Emergency procedures in place for severe weather events (storms, flooding, lightning) |  |  |  |  |
| 8 | Lightning safety procedures communicated (cease outdoor work, avoid high ground and metal structures) |  |  |  |  |
| 9 | Waterproof PPE provided for workers exposed to sustained rain |  |  |  |  |
| 10 | Ground conditions monitored for deterioration (soft ground, rutting, instability) |  |  |  |  |

Risk Assessment

Record identified winter-specific hazards with initial and residual risk ratings. Risk = Likelihood (L) x Severity (S).

| Ref | Hazard | Who | Existing Controls | L | S | R | Additional Controls | L | S | R |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |

Notes / Additional Comments

Enter any additional comments.

Approval and Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Assessor |  |  | DD/MM/YYYY |
| Reviewer |  |  | DD/MM/YYYY |
| Approver |  |  | DD/MM/YYYY |

Document Control

| Rev. | Date | Author | Description |
| --- | --- | --- | --- |
| 0 | DD/MM/YYYY |  | Initial issue |