Fusion Welding Joint Record

Butt Fusion / Electrofusion Joint Record for PE Pipework Systems

| Project Information |  |  |  |
| --- | --- | --- | --- |
| Document Ref: |  | Revision: |  |
| Project Name: |  | Contract No: |  |
| Location / Section: |  | Date: | DD/MM/YYYY |
| Contractor: |  | Client / Engineer: |  |
| Prepared By: |  | Approved By: |  |

1. Pipe and Material Details

| Pipe Material: | e.g., PE80, PE100, PE100-RC | Material Standard: | e.g., BS EN 12201, BS EN 13244 |
| --- | --- | --- | --- |
| Nominal Diameter (mm): |  | SDR: | e.g., SDR 11, SDR 17 |
| Wall Thickness (mm): |  | Pipe Colour: | e.g., black, blue stripe |
| Pipe Manufacturer: |  | Batch / Coil No: |  |
| MRS / MOP (bar): |  | Pipe Certification Ref: |  |

2. Fusion Equipment Details

| Fusion Method: | Butt Fusion / Electrofusion |  |  |
| --- | --- | --- | --- |
| Machine Make / Model: |  | Machine Serial No: |  |
| Calibration Date: | DD/MM/YYYY | Calibration Due: | DD/MM/YYYY |
| Calibration Certificate Ref: |  |  |  |
| Data Logger Fitted (Y/N): |  | Data Logger Serial No: |  |
| Heater Plate Temperature (°C): | e.g., 225 ± 10°C for PE | Temperature Verified (Y/N): |  |
| Generator Make / Model: |  | Generator Output (kVA): |  |

3. Welder / Jointer Details

| Welder / Jointer Name: |  | Company: |  |
| --- | --- | --- | --- |
| UKWI / Certification No: |  | Certification Expiry: | DD/MM/YYYY |
| Qualification Standard: | e.g., WIS 4-32-08, DVS 2212 | Qualified Diameter Range: |  |
| Approved Fusion Methods: | Butt / EF / Both |  |  |

4. Environmental Conditions

| Ambient Temperature (°C): |  | Ground Temperature (°C): |  |
| --- | --- | --- | --- |
| Weather Conditions: | e.g., dry, overcast, light rain | Wind Speed / Conditions: |  |
| Shelter / Tent Used (Y/N): |  | Working in Trench (Y/N): |  |
| Min. Ambient Temp Met: | Manufacturer min. typically 0°C or -5°C |  |  |

5. Joint Log

Record each individual fusion joint. For butt fusion, include bead dimensions. For electrofusion, record fusion times and indicators.

| Joint No. | Chainage / Location | Date | Start | End | Fusion Time (s) | Bead Width (mm) | Visual OK | Data Log Ref | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |

6. Visual Inspection Acceptance Criteria

All joints must meet the following visual inspection criteria in accordance with WIS 4-32-08 / DVS 2202-1:

| Criterion | Acceptance Standard | Y | N |
| --- | --- | --- | --- |
| Butt Fusion — Bead Symmetry | Both beads uniform and symmetrical around the full circumference |  |  |
| Butt Fusion — Bead Size | Bead width within manufacturer / standard tolerances for pipe size and SDR |  |  |
| Butt Fusion — Misalignment | Pipe misalignment not exceeding 10% of wall thickness |  |  |
| Butt Fusion — Contamination | No visible contamination, discolouration, or porosity in bead |  |  |
| Butt Fusion — Notching | No notch visible at the root of the bead |  |  |
| Electrofusion — Indicator Pins | Fusion indicators (tell-tale pins) have risen correctly |  |  |
| Electrofusion — Melt Ring | Visible melt ring present at both ends of the coupling |  |  |
| Electrofusion — Alignment | Pipe ends within the fitting body with no visible gap |  |  |
| Electrofusion — Distortion | No bulging, overheating, or deformation of the fitting |  |  |
| General — Pipe Preparation | Pipe surfaces properly scraped / prepared within specified time before fusion |  |  |

7. Cut-Out / Destructive Testing (if required)

| Cut-Out Required (Y/N): |  | Cut-Out Joint No: |  |
| --- | --- | --- | --- |
| Test Type: | e.g., tensile, bend, peel decohesion | Test Standard: | e.g., WIS 4-32-08 Appendix |
| Test Laboratory: |  | Test Report Ref: |  |
| Test Result: | PASS / FAIL | Date Tested: | DD/MM/YYYY |

8. Non-Conformances

| No. | Joint Ref | Description of Non-Conformance | Corrective Action | Closed (Y/N) |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |

9. Inspection and Sign-Off

We confirm that the fusion joints recorded in this document have been completed in accordance with the approved welding procedure, the manufacturer's instructions, and the applicable standard.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Fusion Jointer |  |  | DD/MM/YYYY |
| Contractor Supervisor |  |  | DD/MM/YYYY |
| Client Inspector / Engineer |  |  | DD/MM/YYYY |
| Third Party Inspector |  |  | DD/MM/YYYY |

10. Notes / Additional Comments

Enter additional observations. Reference any attached data logger printouts, photographs, or test reports.

11. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |