Pipe Bedding and Surround Inspection Form

Pipeline Installation — Bedding, Haunching, and Surround Compliance Record

| Project Information |  |  |  |
| --- | --- | --- | --- |
| Document Ref: |  | Revision: |  |
| Project Name: |  | Contract No: |  |
| Location / Chainage: | e.g., CH 150–CH 275 | Date: | DD/MM/YYYY |
| Prepared By: |  | Approved By: |  |
| Contractor: |  | Client / Engineer: |  |

1. Pipe and Trench Details

| Pipe Material: | e.g., PVC-U, HDPE, ductile iron, vitrified clay |  |  |
| --- | --- | --- | --- |
| Pipe Diameter (mm): |  | Pipe Class / Rating: |  |
| Joint Type: | e.g., push-fit, welded, mechanical coupling |  |  |
| Design Gradient: | e.g., 1:80 | Invert Level (m AOD): |  |
| Trench Depth (m): |  | Trench Width (mm): |  |
| Trench Support Type: | e.g., sheet piling, trench box, unsupported |  |  |

2. Bedding and Surround Specification

| Bedding Class: | e.g., Class S, N, B, F per BS EN 1295-1 |  |  |
| --- | --- | --- | --- |
| Bedding Material: | e.g., 10mm pea gravel, granular Type 1 |  |  |
| Bedding Depth (mm): |  | Surround Depth Above Crown (mm): |  |
| Compaction Method: | e.g., hand tamping, plate compactor |  |  |
| Specification Reference: | e.g., SRWC Vol 1 Series 500, project spec clause |  |  |

3. Inspection Checklist

Mark Y (Yes / Compliant), N (No / Non-Compliant) for each item. Record observations in the Comments column.

| No. | Inspection Item | Y | N | Comments / Observations |
| --- | --- | --- | --- | --- |
| 1 | Trench formation verified to correct depth and gradient |  |  |  |
| 2 | Trench bottom clean and free from debris, stones, and standing water |  |  |  |
| 3 | Trench width compliant with specification for pipe diameter |  |  |  |
| 4 | Bedding material type confirmed to specification (e.g., Class S, N, B, F per SRWC/BSI standards) |  |  |  |
| 5 | Bedding material tested and approved (grading certificate available) |  |  |  |
| 6 | Bedding layer placed to correct thickness (minimum 100mm or as specified) |  |  |  |
| 7 | Bedding layer levelled and compacted in accordance with specification |  |  |  |
| 8 | Pipe joints and fittings inspected prior to laying |  |  |  |
| 9 | Pipe laid to correct line and level (laser/sight rail checked) |  |  |  |
| 10 | Pipe gradient confirmed to design tolerance |  |  |  |
| 11 | Pipe jointing completed and checked (spigot and socket fully engaged) |  |  |  |
| 12 | Bedding material placed and hand-compacted evenly around pipe haunches |  |  |  |
| 13 | Haunch support confirmed to minimum 150mm above pipe centreline or as specified |  |  |  |
| 14 | No point loading or damage to pipe from bedding/surround placement |  |  |  |
| 15 | Initial surround material placed to correct level above pipe crown |  |  |  |
| 16 | Surround material compacted in layers not exceeding 150mm |  |  |  |
| 17 | Surround material consistent and free from oversized particles or foreign matter |  |  |  |
| 18 | No movement of pipe during surround placement |  |  |  |
| 19 | Final surround level confirmed to specification before backfill |  |  |  |
| 20 | Protective slab / warning tape placed above surround where required |  |  |  |
| 21 | CCTV survey completed prior to surround (where specified) |  |  |  |
| 22 | Air/water test completed and passed prior to surround (where required) |  |  |  |
| 23 | Backfill material approved and placed in accordance with specification |  |  |  |
| 24 | All deviations recorded and reported to the engineer |  |  |  |

4. Non-Conformances / Deviations

Record any items marked 'N' above or any deviations from the specification. Attach photographs where appropriate.

| No. | Item Ref | Description of Non-Conformance | Corrective Action | Closed Out (Y/N) |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

5. Test Results (if applicable)

| Test Type | Result | Pass / Fail | Certificate Ref |
| --- | --- | --- | --- |
| Air Test |  |  |  |
| Water Test |  |  |  |
| CCTV Survey |  |  |  |
| Mandrel Test |  |  |  |
| Other: |  |  |  |

6. Inspection Sign-Off

By signing below, we confirm that the pipe bedding and surround installation has been inspected and is compliant with the project specification and applicable standards.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Contractor Supervisor |  |  | DD/MM/YYYY |
| Site Engineer |  |  | DD/MM/YYYY |
| Client Representative / Inspector |  |  | DD/MM/YYYY |
| Witness (if required) |  |  | DD/MM/YYYY |

7. Notes / Additional Comments

Enter any additional observations, sketches references, or photographic evidence references here.

8. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |
| 2 |  |  |  |  |