Hydrostatic Pressure Test Certificate

Pipeline Pressure Testing — Compliance Certificate and Test Record

| Project Information |  |  |  |
| --- | --- | --- | --- |
| Certificate Ref: |  | Revision: |  |
| Project Name: |  | Contract No: |  |
| Client: |  | Contractor: |  |
| Test Date: | DD/MM/YYYY | Certificate Date: | DD/MM/YYYY |
| Prepared By: |  | Approved By: |  |

1. Pipeline Details

| Pipeline Ref / ID: |  | System: | e.g., potable water, foul sewer, process |
| --- | --- | --- | --- |
| Pipe Material: | e.g., HDPE, ductile iron, steel, GRP | Pipe Standard: | e.g., BS EN 12201, BS EN 545 |
| Nominal Diameter (mm): |  | Wall Thickness / Class: |  |
| Test Section From: | e.g., MH101 | Test Section To: | e.g., MH105 |
| Section Length (m): |  | Volume (litres): |  |
| Design Pressure (bar): |  | Maximum Operating Pressure (bar): |  |
| Joint Type: | e.g., butt fusion, flange, mechanical |  |  |
| Fittings Included: | List valves, bends, tees etc. within test section |  |  |

2. Test Setup and Parameters

| Test Standard: | e.g., BS EN 805, WIS 4-01-03, IGE/TD/1 |  |  |
| --- | --- | --- | --- |
| Test Medium: | e.g., clean water | Test Medium Temperature (°C): |  |
| System Test Pressure (STP) (bar): |  | Test Duration (hours): |  |
| Allowable Pressure Drop (bar): |  | Allowable Leakage Rate: | e.g., litres/hr or as per standard |
| Pressure Gauge Type: |  | Gauge Calibration Date: | DD/MM/YYYY |
| Gauge Serial No: |  | Gauge Range (bar): |  |
| Pump Type / Ref: |  | Data Logger Used (Y/N): |  |
| All Air Removed (Y/N): |  | End Restraints Verified (Y/N): |  |

3. Pressure Readings

Record gauge readings at regular intervals during the test. Attach data logger printout if available.

| Reading No. | Time (HH:MM) | Pressure (bar) | Temp (°C) | Water Added (litres) | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  | Start of test |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |

4. Test Results

| Initial Pressure (bar): |  | Final Pressure (bar): |  |
| --- | --- | --- | --- |
| Actual Pressure Drop (bar): |  | Allowable Pressure Drop (bar): |  |
| Total Water Added (litres): |  | Allowable Leakage (litres): |  |
| Test Start Time: | HH:MM | Test End Time: | HH:MM |
| Actual Test Duration: |  | Required Duration: |  |
| Overall Test Result |  | PASS / FAIL |  |

5. Visible Leakage Check

During the test period, was any visible leakage detected at joints, fittings, valves, or end caps?

| Visible Leakage Detected: | YES / NO |
| --- | --- |
| Details (if applicable): | Describe location and nature of any leaks observed |
| Remedial Action Taken: |  |
| Re-Test Required: | YES / NO |

6. Declaration

We hereby certify that the hydrostatic pressure test described in this certificate was conducted in accordance with the specified standard and project requirements. The pipeline test section identified above has been tested to the stated system test pressure and the results recorded are a true and accurate account of the test carried out.

7. Certification and Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Test Operative |  |  | DD/MM/YYYY |
| Contractor Site Engineer |  |  | DD/MM/YYYY |
| Client Representative / Inspector |  |  | DD/MM/YYYY |
| Independent Witness (if required) |  |  | DD/MM/YYYY |

8. Distribution

| No. | Recipient | Organisation / Role |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |

9. Notes / Additional Comments

Record any additional observations, weather conditions, or references to data logger outputs and photographs.

10. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |
| 2 |  |  |  |  |