## Cover
EBRORA
ebrora.com
LOTO / Isolation Register
Control live plant safely — track every lock-out/tag-out isolation, lock number, hasp user and reinstatement across your site.
This is a free template from Ebrora. For our full range of professional-grade construction management tools, visit ebrora.com
© Ebrora 2025 — All rights reserved

## Instructions
How to Use This Template — LOTO / Isolation Register
Step-by-Step Instructions
1. | Navigate to the 'Isolation Register' sheet. Enter the project and site name in the fields at the top.
2. | Each isolation is automatically assigned a sequential reference (ISO-001, ISO-002, etc.) when you enter an Equipment Description.
3. | Enter the date the isolation was applied in column B and the equipment description in column C.
4. | Record the Asset or Tag ID in column D — this must match the tag on the physical asset (P&ID tag, equipment register).
5. | Specify the exact isolation point in column E: valve number, circuit breaker reference, fuse reference, or isolator ID.
6. | Record the lock number(s) in column F. If multiple locks are applied (multi-hasp), list all lock numbers.
7. | List all persons locked onto the hasp in column G, separated by commas. EVERY person working under the isolation must be listed.
8. | Use the Status dropdown in column H to set the current state. Status drives the row highlight colour — red for Live, green for Isolated.
9. | Record the authorising person in column I — typically the Appointed Person or Permit Issuer.
10. | Use Optional Columns (K–N) to record the associated Permit to Work reference, Risk Assessment, reinstatement date and person.
Colour Key
Live — Asset is energised or operational. NOT isolated. Do not work on.
Partially Isolated — Not all energy sources are isolated. Treat as LIVE.
Isolated — All energy sources confirmed isolated and locked. Safe to work on.
Reinstated — Isolation removed. Plant has been returned to service.
Long-standing isolation flagged — Isolated for 28+ days. Review isolation integrity.
Light teal cells — User input / editable fields.
Tips
* | Never remove a lock that belongs to someone else — EVER. Every person on the hasp must remove their own lock before the isolation can be reinstated. This is a fundamental LOTO rule.
* | Review the register at every toolbox talk. Any isolation that has been in place for more than 28 days should be formally reviewed — isolation integrity can degrade over time, particularly on hydraulic or pneumatic systems.
* | The Isolation Reference on this register should match the reference on the Permit to Work. Record the PTW number in the Optional Fields column K to maintain a clean audit trail.

## Isolation Register
Project / Site: |  |  | [Enter Project / Site Name] |  |  |  | Site Manager: |  | [Name] | ▸ Optional Fields — Click [+] to expand
Isolation Ref | Date Isolated | Equipment Description | Asset / Tag ID | Isolation Point (Valve / CB Ref) | Lock Number(s) | Hasp Users (All Persons Locked On) | Status | Authorised By | Notes | Permit to Work Ref | Risk Assessment Ref | Date Reinstated | Reinstated By
ISO-001 | 2025-03-06 | Inlet Screen 1 — Drive Motor & Control Panel | IS-01 / MCC1-F3 | FCV-101 (Inlet Screen Drive Isolator — Panel MCC1 Field 3) | LOCK-07 | J. Hargreaves, M. Clarke | Isolated | B. Kowalski | Motor replacement works. See RA-MECH-014. | PTW-2025-041 | RA-MECH-014
ISO-002 | 2025-03-07 | Inlet Flow Control Valve FCV-201 — Pneumatic Actuator | FCV-201 | ISO-103 (Air Supply Isolation) + ISO-104 (Instrument Air) | LOCK-12, LOCK-13 | S. Patel, T. Walsh, A. Nkosi | Isolated | B. Kowalski | Valve actuator replacement. Both air supplies isolated. | PTW-2025-044 | RA-MECH-021
ISO-003 | 2025-03-08 | Raw Water Pump 2 — 11kV HV Panel | RWP-002 | 11kV Switchboard Cell 4 — HV Breaker CB-04 | LOCK-HV-03 | C. Roberts | Isolated | G. Thompson (AP) | HV isolation — AP G. Thompson only. Earthing in place. | PTW-HV-2025-009 | RA-ELEC-HV-003
ISO-004 | 2025-03-09 | Aeration Blower 3 — Control Panel | BLW-003 / MCC2-F6 | MCC2 Field 6 — Isolator + Local Isolator LI-BLW-003 | LOCK-05 | T. Walsh | Reinstated | B. Kowalski | Works complete. Plant returned to service 14/03/25. | PTW-2025-039 | RA-MECH-011 | 2025-03-14 | B. Kowalski
ISO-005 | 2025-03-10 | Raw Sludge Pump 1 — Motor | RSP-001 | MCC3-F2 Isolator + Manual Gate Valve GV-RSP-001 | LOCK-09, LOCK-10 | M. Clarke, A. Nkosi | Partially Isolated | B. Kowalski | GV isolated, MCC isolator pending — DO NOT WORK ON until MCC isolated. | PTW-2025-047 | RA-MECH-027
ISOLATED | 3 | PARTIAL | 1 | LIVE | 0 | REINSTATED | 1 | LONG-STANDING (28+ DAYS) | 3 | TOTAL ACTIVE | 4
Formulas:
Notes = COUNTIFS(H3:[Status, row above],"Isolated",B3:[Date Isolated, row above],"<="&(TODAY()-28),B3:[Date Isolated, row above],"<>")

## Terms of Use (hidden)
EBRORA — TERMS OF USE
This template is provided free of charge by Ebrora (ebrora.com) for personal and professional use.
LICENCE: You may use this template for your own projects. You may not resell, redistribute, or claim authorship of this template.
NO WARRANTY: This template is provided "as is" without warranty of any kind. Ebrora accepts no liability for errors, omissions, or losses arising from use of this template.
INTELLECTUAL PROPERTY: All design, layout, branding, and content remain the intellectual property of Ebrora.
MODIFICATIONS: You may modify this template for your own use. Modified versions may not be distributed or sold.
ATTRIBUTION: If you share outputs generated using this template, attribution to Ebrora (ebrora.com) is appreciated but not required.
SUPPORT: For queries, feedback, or to report errors, contact support@ebrora.com.
For our full range of professional construction management tools, visit ebrora.com.