Timber Treatment and Preservation Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Recorded By: | Name and role |
| Approved By: | Name and role | Location: | Enter details |

# 1. Timber Details

| Timber Element: | e.g. Structural roof truss, floor joist, wall plate, cladding, fence post |
| --- | --- |
| Timber Species: | e.g. Softwood (spruce, pine), hardwood (oak, iroko), engineered timber |
| Timber Grade: | e.g. C16, C24, TR26, D30 |
| Use Class (BS EN 335): | UC1 / UC2 / UC3 / UC4 / UC5 |
| Location / Drawing Ref: | Enter location and drawing reference |
| Quantity / Volume: | e.g. Number of pieces, m³ |

# 2. Treatment Details

| Treatment Type: | e.g. Pressure treatment (CCA, ACQ, copper azole), organic solvent, boron, fire retardant |
| --- | --- |
| Treatment Specification: | e.g. BS 8417, NHBC requirement, project specification clause |
| Preservative Product: | Enter product name and manufacturer |
| Active Ingredient: | Enter active ingredient and concentration |
| Treatment Method: | e.g. Vacuum pressure (Bethell), double vacuum, dip, brush/spray |
| Retention Rate: | kg/m³ (state minimum required and actual achieved) |
| Penetration Depth: | mm (state minimum required and actual achieved) |
| Treatment Plant / Facility: | Enter treatment plant name and location |
| Treatment Date: | DD / MM / YYYY |
| Treatment Certificate Ref: | Enter certificate reference number |
| BM TRADA / WPA Certified? | Yes / No – state certification body |

# 3. Site Application Record (if applicable)

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Cut ends and notches re-treated on site with approved end-grain preservative |  |  |  |  |
| 2 | Brush / spray treatment applied to minimum two coats |  |  |  |  |
| 3 | Treatment applied in dry conditions (timber surface dry) |  |  |  |  |
| 4 | Drying time observed between coats as per manufacturer instructions |  |  |  |  |
| 5 | Treatment product compatible with adjacent materials (DPC, membranes) |  |  |  |  |
| 6 | COSHH assessment available and operatives briefed on product hazards |  |  |  |  |
| 7 | Fire retardant treatment certificate provided (if fire-rated timber) |  |  |  |  |
| 8 | Moisture content of timber checked before treatment (≤ 28% for pressure treatment) |  |  |  |  |

# 4. Delivery and Storage

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Treated timber delivered with treatment certificate / stamp |  |  |  |  |
| 2 | Timber colour / stamp confirms treatment (e.g. green / brown tanalised) |  |  |  |  |
| 3 | Timber stored off the ground on bearers, covered to prevent weathering |  |  |  |  |
| 4 | Treated timber segregated from untreated timber on site |  |  |  |  |
| 5 | Offcuts of treated timber disposed of correctly (not burned on site) |  |  |  |  |

# 5. Sign-Off

| Contractor / Installer |  | Engineer / Inspector |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 6. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |