Hand Dig Zone Supervision Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Supervised By: | Name and role |
| Approved By: | Name and role | Location: | Enter details |

# 1. Location and Service Details

| Location / Plot: | Enter location of hand dig zone |
| --- | --- |
| Service Type(s) Expected: | e.g. Electric, gas, water, telecoms, drainage, fibre optic |
| Service Owner / Utility: | Enter utility company name(s) |
| CAT/Genny Scan Completed? | Yes / No – date and operator |
| Utility Plans Available? | Yes / No – enter plan reference(s) |
| Hand Dig Zone Radius: | e.g. 0.5m either side of detected service (per HSG47) |
| Permit to Dig Ref: | Enter permit reference |
| Drawing Reference: | Enter utility layout drawing reference |

# 2. Daily Supervision Log

| Date | Time | Operative(s) | Depth m | Service Found? | Type | Depth m | Action / Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |
| DD/MM | HH:MM |  | m | Y/N |  | m |  |

# 3. Precautions Checklist

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | CAT and Genny scan completed before any digging |  |  |  |  |
| 2 | Hand dig zone clearly marked on ground (paint, pegs, tape) |  |  |  |  |
| 3 | Only hand tools used within the hand dig zone (no mechanical excavation) |  |  |  |  |
| 4 | Spades and forks used carefully – no picks, bars, or sharp-pointed tools near cables |  |  |  |  |
| 5 | Operatives briefed on service types, colours, and depths expected |  |  |  |  |
| 6 | Emergency contact numbers available (utility emergency numbers) |  |  |  |  |
| 7 | Service strike procedure briefed and understood by all operatives |  |  |  |  |
| 8 | Exposed services supported and protected from damage |  |  |  |  |
| 9 | Backfill around exposed services with fine granular material (no sharp objects) |  |  |  |  |
| 10 | Records updated with actual service positions and depths found |  |  |  |  |

# 4. Sign-Off

| Supervisor |  | Engineer / PM |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 5. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |