Fibre Optic Cable Protection

Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Recorded By: | Name and role |
| Approved By: | Name and role | Cable Owner: | Enter details |

# 1. Cable Details

| Cable Reference: | Enter cable reference / circuit ID |
| --- | --- |
| Cable Owner / Operator: | e.g. BT Openreach, Virgin Media, CityFibre, network operator |
| Cable Type: | e.g. Single-mode, multi-mode, duct and cable, direct buried |
| Number of Fibres / Cores: | Enter number of fibres |
| Route Description: | Describe cable route through or adjacent to the works |
| Depth of Cover: | mm (actual measured depth) |
| Duct Type (if ducted): | e.g. 100mm twin-wall, 50mm microduct, direct buried |
| Live / In Service? | Yes / No |
| Drawing / Plan Ref: | Enter utility drawing reference |

# 2. Protection Measures

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Cable location confirmed by CAT/Genny scan and trial holes |  |  |  |  |
| 2 | Cable owner notified of works and protection measures agreed |  |  |  |  |
| 3 | Cable route marked on ground with marker tape / paint |  |  |  |  |
| 4 | Hand dig zone established around cable (min 0.5m either side) |  |  |  |  |
| 5 | No mechanical excavation within hand dig zone |  |  |  |  |
| 6 | Cable exposed carefully using hand tools and vacuum excavation |  |  |  |  |
| 7 | Cable supported on sandbags or timber cradle to prevent sagging |  |  |  |  |
| 8 | Protective covers (steel plates, boards) placed over exposed cable |  |  |  |  |
| 9 | Warning tape laid above cable during backfill |  |  |  |  |
| 10 | Backfill with fine granular material (no sharp objects or compaction directly over cable) |  |  |  |  |
| 11 | Cable marker posts or surface markers reinstated |  |  |  |  |
| 12 | Cable integrity test carried out before and after works (OTDR test by cable owner) |  |  |  |  |
| 13 | Cable owner signed off protection measures as satisfactory |  |  |  |  |

# 3. Cable Integrity Tests

| Pre-Works Test Date: | DD / MM / YYYY – test method and result |
| --- | --- |
| Post-Works Test Date: | DD / MM / YYYY – test method and result |
| Tested By: | Name and company |
| Test Report Ref: | Enter OTDR or continuity test report reference |
| Cable Damaged? | Yes / No – if Yes, describe and state repair actions |

# 4. Sign-Off

| Contractor |  | Cable Owner / Operator |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 5. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |