Structural Joint and Waterstop

Installation Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Installed By: | Name and company |
| Inspected By: | Name and role | Approved By: | Name and role |

# 1. Joint Location and Type

| Structure: | e.g. Water-retaining tank, basement, culvert, tunnel, reservoir |
| --- | --- |
| Joint Reference: | Enter joint ID from structural drawing |
| Location / Gridline: | Enter gridlines, chainage, or element reference |
| Joint Type: | e.g. Construction joint, movement joint (expansion/contraction), day joint |
| Joint Orientation: | Horizontal (slab) / Vertical (wall) / Inclined |
| Joint Length: | metres |
| Structural Drawing Ref: | Enter drawing number and revision showing joint detail |
| Design Requirement: | e.g. BS EN 1992-3, BS 8007, watertight to Tightness Class 1 |

# 2. Waterstop Details

| Waterstop Type: | e.g. Centre-bulb PVC, dumbbell, external, rear-face, swelling (hydrophilic), injectable |
| --- | --- |
| Waterstop Material: | e.g. PVC, rubber, hydrophilic bentonite, polyurethane |
| Waterstop Manufacturer: | Enter manufacturer name |
| Product / Model: | Enter product name and size (e.g. 240mm, 320mm, 20x25mm) |
| Batch / Lot Number: | Enter batch number for traceability |
| Material Certificate? | Yes / No – reference number |

# 3. Joint Sealant / Filler Details (if applicable)

| Joint Sealant: | e.g. Polysulphide, polyurethane, silicone, or N/A |
| --- | --- |
| Sealant Manufacturer: | Enter manufacturer name |
| Joint Filler Board: | e.g. Compressible foam, bitumen-impregnated board, or N/A |
| Filler Thickness: | mm |
| Debonding Tape / Backing Rod: | e.g. Closed-cell PE rod, PTFE debonding tape |

# 4. Installation Checklist

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Construction joint position agrees with structural drawing |  |  |  |  |
| 2 | Joint surface (previous pour) prepared: scabbled, cleaned, free from laitance |  |  |  |  |
| 3 | Waterstop correctly positioned and centred within the joint |  |  |  |  |
| 4 | Waterstop securely fixed to reinforcement or formwork to prevent displacement during pour |  |  |  |  |
| 5 | Waterstop joints (site splices) welded or bonded per manufacturer’s instructions |  |  |  |  |
| 6 | No kinks, folds, or damage to waterstop along its full length |  |  |  |  |
| 7 | Waterstop corners and intersections formed correctly (prefabricated or site-welded) |  |  |  |  |
| 8 | Hydrophilic waterstop applied to clean, dry concrete surface (if rear-face type) |  |  |  |  |
| 9 | Injectable hose system installed in correct position with grout ports accessible |  |  |  |  |
| 10 | Joint filler board installed to correct thickness and secured in position |  |  |  |  |
| 11 | Debonding tape / backing rod positioned correctly for sealant application |  |  |  |  |
| 12 | Continuity reinforcement correctly placed through the joint |  |  |  |  |
| 13 | Formwork sealed around waterstop to prevent grout loss during pour |  |  |  |  |
| 14 | Joint photographed before concrete pour for quality record |  |  |  |  |
| 15 | Sealant applied after curing with correct width-to-depth ratio (min 2:1) |  |  |  |  |
| 16 | Movement joint gap width matches design requirement |  |  |  |  |

# 5. Joint Installation Register

| No. | Joint Ref | Type | Waterstop Type | Length m | Date Inst. | Inspected? | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 2 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 3 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 4 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 5 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 6 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 7 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 8 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 9 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 10 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 11 |  | CJ / MJ |  | m | DD/MM | Y / N |  |
| 12 |  | CJ / MJ |  | m | DD/MM | Y / N |  |

# 6. Sign-Off

| Installer / Contractor |  | Engineer / Inspector |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 7. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |