Formwork and Falsework Loading

Calculation Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Prepared By: | Name and role |
| Approved By: | Name and role | TW Register Ref: | Enter TW register number |

# 1. Structure Details

| Structural Element: | e.g. Ground floor slab, first floor slab, roof slab, beam, wall, column |
| --- | --- |
| Location / Gridlines: | Enter gridline references and level |
| Structural Drawing Ref: | Enter drawing number and revision |
| Concrete Specification: | e.g. C32/40, C40/50 – state mix design reference |
| Reinforcement Density: | e.g. Light (< 100 kg/m³), Medium (100-175 kg/m³), Heavy (> 175 kg/m³) |
| Concrete Density: | e.g. 24 kN/m³ (normal weight), 20 kN/m³ (lightweight) |

# 2. Formwork / Falsework System

| System Type: | e.g. Proprietary (state manufacturer and system), traditional timber, steel |
| --- | --- |
| System Manufacturer: | Enter manufacturer name |
| Design Drawing / Ref: | Enter formwork / falsework design drawing reference |
| Designer: | Enter name and company of TW designer |
| Design Check By: | Enter name of independent design checker (BS 5975 requirement) |
| Prop / Standard Type: | e.g. Acrow prop, aluminium tower, steel H-frame, shoring tower |
| Maximum Prop Height: | Enter maximum prop extension in metres |
| Foundation / Bearing: | e.g. Concrete slab, compacted granular, sole plates on formation |

# 3. Loading Calculation

## 3.1 Dead Loads

| Load Component | Thickness / Size | Unit Weight | Load (kN/m²) |
| --- | --- | --- | --- |
| Self-weight of concrete slab | mm | kN/m³ |  |
| Self-weight of reinforcement |  |  |  |
| Self-weight of formwork (ply, bearers, joists) |  |  |  |
| Self-weight of falsework (props, frames, bracing) |  |  |  |
| Permanent finishes applied before striking |  |  |  |
| Total Dead Load (Gk) |  |  | kN/m² |

## 3.2 Imposed Loads

| Load Component | Reference | Value | Load (kN/m²) |
| --- | --- | --- | --- |
| Construction live load (operatives, equipment) | BS EN 12811-1 |  |  |
| Concrete pressure (for walls / deep sections) | BS EN 12812 |  |  |
| Heaping / mounding of concrete during pour |  |  |  |
| Impact / vibration from concrete placement |  |  |  |
| Storage of materials on formwork (if applicable) |  |  |  |
| Total Imposed Load (Qk) |  |  | kN/m² |

## 3.3 Environmental Loads

| Load Component | Reference | Value | Load (kN/m²) |
| --- | --- | --- | --- |
| Wind load (if exposed or tall falsework) | BS EN 1991-1-4 |  |  |
| Snow load (if applicable to season) | BS EN 1991-1-3 |  |  |

## 3.4 Total Design Load

| Total Characteristic Load (Gk + Qk): | kN/m² |
| --- | --- |
| Load Factor Applied: | e.g. 1.35Gk + 1.5Qk (Eurocode ULS) or as per design standard |
| Total Factored Design Load: | kN/m² |
| Load Per Prop (based on prop spacing): | kN per prop |
| Prop Safe Working Load (SWL): | kN (from manufacturer data) |
| Factor of Safety Achieved: | SWL / load per prop = |
| Design Adequate? | Yes / No |

# 4. Foundation / Bearing Check

| Foundation Type: | e.g. Concrete slab, compacted granular, sole plates |
| --- | --- |
| Allowable Bearing Pressure: | kN/m² (from ground investigation or slab design) |
| Base Plate / Sole Plate Size: | mm x mm |
| Applied Bearing Pressure: | kN/m² |
| Bearing Check Adequate? | Yes / No |

# 5. Pre-Pour Verification Checklist

| No. | Check Item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Formwork and falsework erected in accordance with the approved design |  |  |  |  |
| 2 | All props at correct centres and extensions as per drawing |  |  |  |  |
| 3 | All bracing, ties, and lateral restraint installed as designed |  |  |  |  |
| 4 | Sole plates or base plates correctly positioned and level |  |  |  |  |
| 5 | Joints in formwork sealed to prevent grout loss |  |  |  |  |
| 6 | Release agent applied to all formwork faces |  |  |  |  |
| 7 | Levels and alignment checked and within tolerance |  |  |  |  |
| 8 | Permit to load issued by TWC / TWS |  |  |  |  |
| 9 | Formwork inspection signed off before reinforcement placed |  |  |  |  |
| 10 | Reinforcement inspection completed before pour commences |  |  |  |  |
| 11 | Concrete pour rate and sequence agreed and communicated |  |  |  |  |
| 12 | Weather conditions assessed (wind, frost, rain) and acceptable |  |  |  |  |
| 13 | Striking criteria defined and communicated to all parties |  |  |  |  |

# 6. Sign-Off

| TW Designer |  | Design Checker |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

| TWC / TWS |  | Section Engineer |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 7. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |