Rebar Inspection Request Form

| Document Ref: | Enter reference | RIR No: | Enter sequential number |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date of Request: | DD / MM / YYYY | Requested By: | Name and role |
| Inspection Date Requested: | DD / MM / YYYY | Time Required: | HH:MM |

# 1. Element Details

| Structural Element: | e.g. Base slab, pile cap, ground beam, column, wall, first floor slab |
| --- | --- |
| Element Reference: | e.g. PC1, GB-A1, W-03, Col B/5 |
| Location / Gridlines: | Enter gridline references and level |
| Structural Drawing Ref: | Enter drawing number and revision |
| Bar Schedule Ref: | Enter bar bending schedule reference and revision |
| Concrete Specification: | e.g. C32/40, GEN 1, PAV 2 |
| Planned Pour Date: | DD / MM / YYYY |
| Pour Volume (approx.): | m³ |

# 2. Reinforcement Details

| Steel Grade: | e.g. B500B, B500C (to BS 4449) |
| --- | --- |
| Bar Sizes Used: | e.g. T10, T12, T16, T20, T25, T32 |
| Mesh Type (if used): | e.g. A393, A252, B503 |
| Lap Lengths (as designed): | Enter designed lap length(s) in mm |
| Cover to Reinforcement: | Enter nominal cover in mm (state for each face if different) |
| Spacers / Chairs Used: | e.g. Plastic bar chairs, concrete spacer blocks, state size |
| Mill Certificates Available? | Yes / No – state reference numbers |
| CARES Certification? | Yes / No – state certificate number |

# 3. Pre-Inspection Self-Check

The contractor must complete this self-check before requesting a formal inspection. All items must pass before the inspection is requested.

| No. | Inspection Item | Pass | Fail | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Reinforcement installed in accordance with the structural drawings |  |  |  |  |
| 2 | Bar sizes, spacing, and arrangement match the bar bending schedule |  |  |  |  |
| 3 | Correct number of bars in each layer confirmed |  |  |  |  |
| 4 | Lap lengths meet or exceed the designed minimum |  |  |  |  |
| 5 | Laps staggered as shown on the drawings |  |  |  |  |
| 6 | Cover to all faces correct (verified with cover meter or physical check) |  |  |  |  |
| 7 | Spacers and chairs positioned at appropriate centres |  |  |  |  |
| 8 | Reinforcement securely tied at all intersections |  |  |  |  |
| 9 | Continuity reinforcement and starter bars in correct positions |  |  |  |  |
| 10 | Couplers installed and tightened correctly (if used) |  |  |  |  |
| 11 | Reinforcement clean and free from excessive rust, oil, mud, or debris |  |  |  |  |
| 12 | No bars bent or damaged beyond acceptable limits |  |  |  |  |
| 13 | Cast-in items (holding down bolts, sleeves, ducts) positioned correctly |  |  |  |  |
| 14 | Formwork clean, free from debris, and ready for concrete |  |  |  |  |
| 15 | Kicker or previous pour surface prepared (scabbled or treated) |  |  |  |  |
| 16 | Waterstops, joint formers, or construction joints correctly positioned |  |  |  |  |
| 17 | Electrical earthing continuity maintained through reinforcement (if required) |  |  |  |  |

# 4. Inspection Outcome

| Inspection Date: | DD / MM / YYYY |
| --- | --- |
| Time of Inspection: | HH:MM |
| Inspected By: | Name and role |
| OUTCOME: | APPROVED TO POUR / APPROVED WITH COMMENTS / REJECTED – RECTIFY AND RE-INSPECT |

# 5. Deficiencies Found (if any)

| No. | Deficiency Description | Location / Bar Ref | Action Required | Rectified? |
| --- | --- | --- | --- | --- |
| 1 |  |  |  | Y / N |
| 2 |  |  |  | Y / N |
| 3 |  |  |  | Y / N |
| 4 |  |  |  | Y / N |
| 5 |  |  |  | Y / N |
| 6 |  |  |  | Y / N |

# 6. Sign-Off

| Contractor (Requested By) |  | Inspector (Approved By) |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Position: | Enter role | Position: | Enter role |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 7. Notes / Additional Comments

Record any additional observations, deviations from drawings agreed on site, or conditions attached to the approval.

# 8. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |