Defect Walk Survey Checklist

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date of Walk: | DD / MM / YYYY | Time: | HH:MM |
| Inspected By: | Name and role | Approved By: | Name and role |
| Area / Zone / Section: | Enter specific area being inspected | Building / Block: | Enter building reference |
| Floor / Level: | Enter floor level | Walk Type: | Pre-PC / PC / Post-PC / DLP |

# 1. External Works

| No. | Inspection Item | Pass | Fail | N/A | Defect Ref / Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | External cladding and facades complete and defect-free |  |  |  |  |
| 2 | Windows and external doors fitted, sealed, and operational |  |  |  |  |
| 3 | External rendering, brickwork, and pointing complete |  |  |  |  |
| 4 | Roof coverings, flashings, and rainwater goods complete and watertight |  |  |  |  |
| 5 | Gutters, downpipes, and drainage connections functional |  |  |  |  |
| 6 | External signage and numbering installed correctly |  |  |  |  |
| 7 | Landscaping, planting, and turfing complete (if in scope) |  |  |  |  |
| 8 | Paving, kerbing, and external surfaces complete and level |  |  |  |  |
| 9 | Boundary fencing, walls, and gates installed |  |  |  |  |
| 10 | External lighting operational |  |  |  |  |
| 11 | Car park markings and bollards installed |  |  |  |  |
| 12 | Bin stores and cycle shelters complete |  |  |  |  |

# 2. Structure and Fabric

| No. | Inspection Item | Pass | Fail | N/A | Defect Ref / Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Walls plumb, straight, and free from cracks or damage |  |  |  |  |
| 2 | Floors level, even, and free from surface defects |  |  |  |  |
| 3 | Ceilings flat, level, and free from staining or damage |  |  |  |  |
| 4 | Internal doors fitted, aligned, and closing correctly |  |  |  |  |
| 5 | Door furniture (handles, locks, closers) installed and functional |  |  |  |  |
| 6 | Ironmongery schedule items checked against specification |  |  |  |  |
| 7 | Skirting boards, architraves, and trims fitted and finished |  |  |  |  |
| 8 | Staircase and balustrade complete, secure, and to regulation |  |  |  |  |
| 9 | Fire doors labelled, self-closing, intumescent strips intact |  |  |  |  |
| 10 | Glazing clean, unscratched, and sealed correctly |  |  |  |  |
| 11 | Expansion joints and movement joints installed correctly |  |  |  |  |

# 3. Finishes

| No. | Inspection Item | Pass | Fail | N/A | Defect Ref / Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Paintwork complete, even finish, no runs or misses |  |  |  |  |
| 2 | Wallpaper or decorative finishes applied correctly (if applicable) |  |  |  |  |
| 3 | Floor finishes laid correctly (tiles, carpet, vinyl, screed) |  |  |  |  |
| 4 | Floor finishes clean, undamaged, and properly sealed |  |  |  |  |
| 5 | Tiling complete with consistent grouting and no chips |  |  |  |  |
| 6 | Worktops fitted, sealed, and free from damage |  |  |  |  |
| 7 | Splashbacks installed and sealed correctly |  |  |  |  |
| 8 | Coving, cornicing, and ceiling details complete |  |  |  |  |
| 9 | Touch-up and making good completed to all surfaces |  |  |  |  |
| 10 | Protection removed from all finished surfaces |  |  |  |  |

# 4. Mechanical Services

| No. | Inspection Item | Pass | Fail | N/A | Defect Ref / Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Heating system operational and radiators functioning |  |  |  |  |
| 2 | Hot and cold water supply operational at all outlets |  |  |  |  |
| 3 | Sanitary ware installed, clean, and undamaged |  |  |  |  |
| 4 | Taps and mixers operational with no leaks |  |  |  |  |
| 5 | WC cisterns filling and flushing correctly |  |  |  |  |
| 6 | Drainage tested and flowing freely with no blockages |  |  |  |  |
| 7 | Ventilation systems operational (extract fans, MVHR, ductwork) |  |  |  |  |
| 8 | Kitchen extract and cooker hood operational (if applicable) |  |  |  |  |
| 9 | Pipework insulation complete and labelled |  |  |  |  |
| 10 | Access panels provided to concealed valves and services |  |  |  |  |
| 11 | Boiler / plant room clean, labelled, and O&M data available |  |  |  |  |
| 12 | Gas installation tested and certificates available |  |  |  |  |

# 5. Electrical Services

| No. | Inspection Item | Pass | Fail | N/A | Defect Ref / Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Light fittings installed, operational, and correct type |  |  |  |  |
| 2 | Light switches and dimmers operational |  |  |  |  |
| 3 | Power sockets installed, tested, and operational |  |  |  |  |
| 4 | Consumer unit / distribution board labelled and accessible |  |  |  |  |
| 5 | Emergency lighting tested and operational |  |  |  |  |
| 6 | Fire alarm system tested and operational |  |  |  |  |
| 7 | Smoke and CO detectors installed and tested |  |  |  |  |
| 8 | Data, TV, and telecoms outlets installed and tested |  |  |  |  |
| 9 | Door entry / intercom system operational (if applicable) |  |  |  |  |
| 10 | Electrical test certificates available (BS 7671) |  |  |  |  |
| 11 | Cable containment complete and tidily finished |  |  |  |  |
| 12 | External power points and lighting operational |  |  |  |  |

# 6. Health, Safety and Compliance

| No. | Inspection Item | Pass | Fail | N/A | Defect Ref / Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Fire stopping and compartmentation complete and inspected |  |  |  |  |
| 2 | Fire escape routes clear and signage installed |  |  |  |  |
| 3 | Safety glazing installed where required (BS 6206 / BS EN 12600) |  |  |  |  |
| 4 | Guard rails and balustrades at correct height (1100mm minimum) |  |  |  |  |
| 5 | Anti-slip surfaces provided where required |  |  |  |  |
| 6 | Ventilation adequate in habitable rooms and kitchens |  |  |  |  |
| 7 | Accessibility requirements met (Part M compliance) |  |  |  |  |
| 8 | Energy Performance Certificate (EPC) prepared |  |  |  |  |
| 9 | Building control final inspection requested / completed |  |  |  |  |

# 7. Defect Register

Record all defects identified during the walk. Cross-reference defect numbers to the checklist sections above.

| No. | Location | Defect Description | Responsible SC | Due Date | Status |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | DD/MM/YYYY | Open / Closed |
| 2 |  |  |  | DD/MM/YYYY | Open / Closed |
| 3 |  |  |  | DD/MM/YYYY | Open / Closed |
| 4 |  |  |  | DD/MM/YYYY | Open / Closed |
| 5 |  |  |  | DD/MM/YYYY | Open / Closed |
| 6 |  |  |  | DD/MM/YYYY | Open / Closed |
| 7 |  |  |  | DD/MM/YYYY | Open / Closed |
| 8 |  |  |  | DD/MM/YYYY | Open / Closed |
| 9 |  |  |  | DD/MM/YYYY | Open / Closed |
| 10 |  |  |  | DD/MM/YYYY | Open / Closed |
| 11 |  |  |  | DD/MM/YYYY | Open / Closed |
| 12 |  |  |  | DD/MM/YYYY | Open / Closed |
| 13 |  |  |  | DD/MM/YYYY | Open / Closed |
| 14 |  |  |  | DD/MM/YYYY | Open / Closed |
| 15 |  |  |  | DD/MM/YYYY | Open / Closed |
| 16 |  |  |  | DD/MM/YYYY | Open / Closed |
| 17 |  |  |  | DD/MM/YYYY | Open / Closed |
| 18 |  |  |  | DD/MM/YYYY | Open / Closed |
| 19 |  |  |  | DD/MM/YYYY | Open / Closed |
| 20 |  |  |  | DD/MM/YYYY | Open / Closed |

# 8. Summary

| Total Defects Identified: | Enter number |
| --- | --- |
| Category A (Preventing PC): | Enter number |
| Category B (Not Preventing PC): | Enter number |
| Category C (Cosmetic / Minor): | Enter number |
| Overall Assessment: | Ready for PC / Not Ready – further work required |
| Target Date for Defect Clearance: | DD / MM / YYYY |

# 9. Sign-Off

| Contractor |  | Client / CA Representative |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Position: | Enter role | Position: | Enter role |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 10. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |