Protective Device Coordination

Study Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Prepared By: | Name and qualifications |
| Approved By: | Name and role | Study Software: | e.g. ETAP, Amtech, PowerSoft |

# 1. Electrical System Details

| Supply Authority / DNO: | Enter DNO name |
| --- | --- |
| Point of Common Coupling: | Enter intake position / substation reference |
| Supply Voltage: | e.g. 11kV, 400V, 230V |
| System Earthing: | e.g. TN-S, TN-C-S, TT, IT |
| Prospective Fault Current (Ipf): | kA at point of supply (from DNO) |
| Maximum Demand: | kVA or kW |
| Single Line Diagram Ref: | Enter SLD drawing number and revision |
| Applicable Standard: | BS 7671:2018 (IET Wiring Regulations 18th Edition + Amendment 2), BS EN 60947, BS EN 61439 |

# 2. Fault Level Summary

| No. | Location / Board | 3-Phase Fault kA | 1-Phase Fault kA | Earth Fault kA | Cable Ref |
| --- | --- | --- | --- | --- | --- |
| 1 |  | kA | kA | kA |  |
| 2 |  | kA | kA | kA |  |
| 3 |  | kA | kA | kA |  |
| 4 |  | kA | kA | kA |  |
| 5 |  | kA | kA | kA |  |
| 6 |  | kA | kA | kA |  |
| 7 |  | kA | kA | kA |  |
| 8 |  | kA | kA | kA |  |
| 9 |  | kA | kA | kA |  |
| 10 |  | kA | kA | kA |  |

# 3. Protective Device Schedule

| No. | Device Location | Device Type | Rating A | Type / Curve | Breaking kA | Upstream Device | Disc.? | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 2 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 3 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 4 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 5 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 6 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 7 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 8 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 9 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 10 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 11 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 12 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 13 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 14 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |
| 15 |  | e.g. MCB, MCCB | A | B/C/D | kA |  | Y/N |  |

# 4. Discrimination Analysis

For each pair of upstream/downstream devices, confirm whether full discrimination (selectivity) is achieved. Attach time-current coordination curves as an appendix.

| No. | Upstream Device | Downstream Device | Discrimination | Up To (kA) | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  | Full / Partial / None | kA |  |
| 2 |  |  | Full / Partial / None | kA |  |
| 3 |  |  | Full / Partial / None | kA |  |
| 4 |  |  | Full / Partial / None | kA |  |
| 5 |  |  | Full / Partial / None | kA |  |
| 6 |  |  | Full / Partial / None | kA |  |
| 7 |  |  | Full / Partial / None | kA |  |
| 8 |  |  | Full / Partial / None | kA |  |
| 9 |  |  | Full / Partial / None | kA |  |
| 10 |  |  | Full / Partial / None | kA |  |
| 11 |  |  | Full / Partial / None | kA |  |
| 12 |  |  | Full / Partial / None | kA |  |

# 5. Cable Protection Verification

| No. | Circuit / Cable Ref | Cable CSA mm² | Iz (A) | In (A) | I2 (A) | Adiabatic Check | Compliant? |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 2 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 3 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 4 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 5 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 6 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 7 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 8 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 9 |  | mm² | A | A | A | Pass / Fail | Y / N |
| 10 |  | mm² | A | A | A | Pass / Fail | Y / N |

# 6. Coordination Study Verification

| No. | Check Item | Yes | No | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | All protective devices have adequate breaking capacity for the prospective fault current |  |  |  |  |
| 2 | Discrimination achieved between all series-connected devices (or derogation recorded) |  |  |  |  |
| 3 | Overload protection verified for all circuits (In ≤ Iz, I2 ≤ 1.45 x Iz) |  |  |  |  |
| 4 | Fault protection disconnection times comply with BS 7671 Table 41.1 |  |  |  |  |
| 5 | Earth fault loop impedance (Zs) verified for all circuits |  |  |  |  |
| 6 | Adiabatic equation check confirms cables withstand let-through energy |  |  |  |  |
| 7 | RCD protection provided where required by BS 7671 (socket outlets, bathrooms, etc.) |  |  |  |  |
| 8 | RCD discrimination achieved between upstream and downstream RCDs |  |  |  |  |
| 9 | Motor contribution to fault current considered in the analysis |  |  |  |  |
| 10 | Arc flash hazard assessment carried out (if applicable) |  |  |  |  |
| 11 | Time-current coordination curves plotted and attached as appendix |  |  |  |  |
| 12 | Study results reviewed by an independent checker |  |  |  |  |

# 7. Non-Compliances and Derogations

| No. | Non-Compliance Description | Justification / Derogation | Accepted By | Date |
| --- | --- | --- | --- | --- |
| 1 |  |  |  | DD/MM/YY |
| 2 |  |  |  | DD/MM/YY |
| 3 |  |  |  | DD/MM/YY |
| 4 |  |  |  | DD/MM/YY |
| 5 |  |  |  | DD/MM/YY |
| 6 |  |  |  | DD/MM/YY |

# 8. Conclusions and Recommendations

Summarise the study conclusions: overall compliance, areas where discrimination is not achieved (with justification), and any recommendations for equipment changes, settings adjustments, or operational procedures.

# 9. Sign-Off

| Study Prepared By |  | Independent Checker |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Qualifications: | e.g. CEng MIET, EurIng | Qualifications: |  |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 10. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |