Pipe Flange and Gasket

Installation Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date of Installation: | DD / MM / YYYY | Installed By: | Name and company |
| Inspected By: | Name and role | Approved By: | Name and role |

# 1. Joint Identification

| Joint Reference / Tag No: | Enter joint tag number from isometric or GA drawing |
| --- | --- |
| P&ID Reference: | Enter P&ID drawing number |
| Isometric Drawing Ref: | Enter isometric drawing number and revision |
| Line Number: | Enter pipeline number |
| Location / Area: | Enter building, floor, room, or area |
| Service / Medium: | e.g. Potable water, raw sewage, process chemical, compressed air, steam |
| Design Pressure: | bar / kPa |
| Design Temperature: | °C |

# 2. Flange Details

| Parameter | Flange A (Upstream) | Flange B (Downstream) |
| --- | --- | --- |
| Nominal Size (DN) |  |  |
| Pressure Rating | e.g. PN10, PN16, PN25 |  |
| Flange Standard | e.g. BS EN 1092-1, ANSI B16.5 |  |
| Flange Type | e.g. Weld neck, slip-on, blind, plate |  |
| Material / Grade | e.g. Carbon steel, stainless 316L, ductile iron |  |
| Face Type | e.g. Raised face, flat face, tongue & groove |  |
| Number of Bolt Holes |  |  |
| Bolt Hole Diameter (mm) |  |  |
| PCD (mm) |  |  |

# 3. Gasket Details

| Gasket Type: | e.g. Full face, spiral wound, ring joint, rubber, PTFE, klingersil |
| --- | --- |
| Gasket Material: | e.g. EPDM, nitrile, graphite, PTFE, stainless 316 spiral wound |
| Gasket Size (ID x OD x thickness): | mm x mm x mm |
| Gasket Manufacturer: | Enter manufacturer name |
| Gasket Batch / Lot No: | Enter batch number for traceability |
| Material Certificate Available? | Yes / No – reference number |
| Gasket Suitable for Service? | Confirmed: pressure, temperature, and medium compatibility checked |

# 4. Bolt Details

| Bolt Type: | e.g. Hex head, stud bolt with nuts |
| --- | --- |
| Bolt Size: | e.g. M16 x 70mm, M20 x 90mm |
| Bolt Material / Grade: | e.g. Grade 8.8, A2-70, A4-80, B7 studs |
| Number of Bolts: | Enter number installed |
| Washers Used? | Yes / No – type (flat, spring, Nord-Lock) |
| Lubricant Used? | Yes / No – type (e.g. copper slip, Molykote, anti-seize) |
| Torque Specification: | Nm (from design or gasket manufacturer recommendation) |

# 5. Installation Checklist

| No. | Check Item | Pass | Fail | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Flange faces inspected – clean, undamaged, free from scoring or corrosion |  |  |  |  |
| 2 | Flange face alignment checked – parallel within tolerance |  |  |  |  |
| 3 | Gasket inspected – correct type, undamaged, and correctly positioned |  |  |  |  |
| 4 | Gasket centred on the flange and not protruding into the bore |  |  |  |  |
| 5 | Bolts correct specification, length, and grade for the joint |  |  |  |  |
| 6 | All bolts hand-tightened evenly before torquing |  |  |  |  |
| 7 | Bolts tightened using cross-pattern (star) sequence |  |  |  |  |
| 8 | First pass completed at 30% of final torque value |  |  |  |  |
| 9 | Second pass completed at 60% of final torque value |  |  |  |  |
| 10 | Third pass completed at 100% of final torque value |  |  |  |  |
| 11 | Final verification pass completed (full torque clockwise sequence) |  |  |  |  |
| 12 | Torque wrench calibrated and in date (certificate reference recorded below) |  |  |  |  |
| 13 | No gasket extrusion or visible damage after final torque |  |  |  |  |
| 14 | Joint visually inspected and accepted |  |  |  |  |

# 6. Torque Record

| Torque Wrench Serial No: | Enter serial number |
| --- | --- |
| Calibration Certificate Ref: | Enter certificate reference |
| Calibration Expiry Date: | DD / MM / YYYY |
| Final Applied Torque: | Nm |
| Torque Achieved on All Bolts? | Yes / No |

# 7. Pressure Test Reference

| Joint Included in Pressure Test? | Yes / No |
| --- | --- |
| Pressure Test Certificate Ref: | Enter reference or 'To follow' |
| Leak Detected During Test? | Yes / No – if Yes, describe action taken |

# 8. Sign-Off

| Installer |  | Inspector / Engineer |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Company: | Enter company | Position: | Enter role |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 9. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |