Vibration Isolation Mount

Installation Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date of Installation: | DD / MM / YYYY | Installed By: | Name and company |
| Inspected By: | Name and role | Approved By: | Name and role |

# 1. Equipment Details

| Equipment Name / Tag: | e.g. Pump P-101, AHU-3, Chiller CH-01, Generator G-01 |
| --- | --- |
| Equipment Manufacturer: | Enter manufacturer name |
| Equipment Model / Serial: | Enter model and serial number |
| Equipment Weight (kg): | Enter operating weight including motor and ancillaries |
| Operating Speed (RPM): | Enter operating speed |
| Disturbing Frequency (Hz): | Enter primary disturbing frequency |
| Location / Room: | Enter building, floor, and room |
| Drawing Reference: | Enter GA or installation drawing number |

# 2. Isolator Specification

| Isolator Manufacturer: | Enter manufacturer name |
| --- | --- |
| Isolator Model / Type: | e.g. Spring mount, rubber pad, neoprene, inertia base, combination |
| Isolator Part Number: | Enter part or catalogue number |
| Number of Isolators: | Enter total number of mounts |
| Static Deflection (mm): | Enter designed static deflection |
| Natural Frequency (Hz): | Enter natural frequency of the isolator system |
| Isolation Efficiency (%): | Enter designed isolation efficiency at operating frequency |
| Load Rating Per Isolator (kg): | Enter rated load capacity per mount |
| Colour Code (if spring): | Enter spring colour code denoting load range |
| Inertia Base Required? | Yes / No – if Yes, state type and weight |

# 3. Installation Checklist

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Foundation or structural support adequate for the combined equipment and isolator load |  |  |  |  |
| 2 | Mounting surface level, clean, and free from debris |  |  |  |  |
| 3 | Isolators positioned in accordance with the manufacturer's layout drawing |  |  |  |  |
| 4 | All isolators are the correct type, rating, and deflection for the application |  |  |  |  |
| 5 | Isolators evenly loaded – equipment level after placement |  |  |  |  |
| 6 | Level checked in two directions (longitudinal and transverse) |  |  |  |  |
| 7 | Spring isolators: transit restraints / shipping brackets in place during installation |  |  |  |  |
| 8 | Spring isolators: transit restraints removed after equipment positioned and levelled |  |  |  |  |
| 9 | Spring isolators: operating height indicators checked against manufacturer's data |  |  |  |  |
| 10 | Rubber mounts: correct durometer (hardness) for the application |  |  |  |  |
| 11 | Neoprene pads: correctly sized and positioned under each bearing point |  |  |  |  |
| 12 | Inertia base correctly positioned and grouted (if applicable) |  |  |  |  |
| 13 | Flexible connections installed on all pipe, duct, and electrical connections |  |  |  |  |
| 14 | No rigid connections bridging the isolation gap (pipes, conduit, brackets) |  |  |  |  |
| 15 | Seismic restraints installed (if specified in the design) |  |  |  |  |
| 16 | Anti-vibration data sheet / certificate obtained from manufacturer |  |  |  |  |

# 4. Deflection Measurements

Record the measured static deflection at each isolator position. Compare with the design deflection to confirm correct loading.

| Position | Isolator Ref | Design Deflection mm | Measured Deflection mm | Tolerance | Pass? |
| --- | --- | --- | --- | --- | --- |
| 1 |  | mm | mm | ± mm | Y/N |
| 2 |  | mm | mm | ± mm | Y/N |
| 3 |  | mm | mm | ± mm | Y/N |
| 4 |  | mm | mm | ± mm | Y/N |
| 5 |  | mm | mm | ± mm | Y/N |
| 6 |  | mm | mm | ± mm | Y/N |
| 7 |  | mm | mm | ± mm | Y/N |
| 8 |  | mm | mm | ± mm | Y/N |

# 5. Post-Installation Vibration Test

| Vibration Test Carried Out? | Yes / No – if No, state when planned |
| --- | --- |
| Date of Test: | DD / MM / YYYY |
| Tested By: | Name, company, and qualifications |
| Equipment Used: | Enter vibration meter make, model, and calibration date |
| Vibration on Isolator (mm/s): | Enter measured velocity on top of isolator |
| Vibration on Structure (mm/s): | Enter measured velocity on supporting structure below isolator |
| Achieved Isolation Efficiency (%): | Calculate: (1 – structure / isolator) x 100% |
| Meets Specification? | Yes / No – state required efficiency % |

# 6. Sign-Off

| Installer |  | Engineer / Inspector |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Company: | Enter company | Position: | Enter role |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 7. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |