Pneumatic Pressure Test Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date of Test: | DD / MM / YYYY | Tested By: | Name and company |
| Witnessed By: | Name and role | Approved By: | Name and role |

# 1. Pipeline / System Details

| System / Pipeline Ref: | Enter pipeline or system reference |
| --- | --- |
| Test Section (From – To): | Enter start and end points of the test section |
| Pipe Material: | e.g. Carbon steel, stainless steel, PE, GRP, ductile iron, copper |
| Nominal Diameter (DN): | mm |
| Wall Thickness / Schedule: | mm or schedule number |
| Test Section Length: | metres |
| Test Section Volume: | litres (calculated) |
| Design Pressure: | bar |
| Design Temperature: | °C |
| Service / Medium: | e.g. Compressed air, nitrogen, natural gas, process gas |
| Drawing Reference: | Enter P&ID and isometric drawing references |
| Applicable Standard: | BS EN 13480 / PD 5500 / BS EN 1610 / IGEM/TD/1 / project specification |

# 2. Safety Precautions

WARNING: Pneumatic pressure tests involve stored energy and carry a significant risk of explosive failure. A pneumatic test must only be carried out where a hydrostatic test is impracticable, and must be subject to a specific risk assessment and method statement.

| No. | Check Item | Yes | No | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Risk assessment specific to pneumatic pressure testing completed and briefed |  |  |  |  |
| 2 | Pneumatic test approved by the responsible engineer (written authorisation) |  |  |  |  |
| 3 | Exclusion zone established (minimum 15m or as per risk assessment) |  |  |  |  |
| 4 | All personnel within the exclusion zone briefed and accounted for |  |  |  |  |
| 5 | Warning signage and barriers erected at the exclusion zone boundary |  |  |  |  |
| 6 | System visually inspected for defects before pressurisation |  |  |  |  |
| 7 | All temporary joints, blanks, and end closures rated for test pressure |  |  |  |  |
| 8 | Pressure relief valve set at 110% of test pressure (or as specified) |  |  |  |  |
| 9 | Pressure raised in incremental stages (25%, 50%, 75%, 100%) |  |  |  |  |
| 10 | Hold period at each stage to check for leaks and allow stabilisation |  |  |  |  |
| 11 | Test medium is dry air or nitrogen (not oxygen or flammable gas) |  |  |  |  |
| 12 | No work permitted on or near the system during pressurisation |  |  |  |  |

# 3. Test Equipment

| Pressure Gauge Make / Model: | Enter make and model |
| --- | --- |
| Gauge Serial Number: | Enter serial number |
| Gauge Range: | 0 – ___ bar (range should be 1.5 to 4 x test pressure) |
| Gauge Calibration Date: | DD / MM / YYYY |
| Calibration Certificate Ref: | Enter certificate reference |
| Chart Recorder / Data Logger: | Enter make, model, serial, and calibration date (if used) |
| Pressure Relief Valve Set At: | bar |
| Air / N2 Source: | e.g. Compressor, nitrogen cylinder bank |

# 4. Test Parameters

| Test Pressure: | bar (typically 1.1 x design pressure or as specified) |
| --- | --- |
| Stabilisation Period: | minutes (allow for temperature equalisation) |
| Test Hold Duration: | minutes (typically 30 min or as specified) |
| Maximum Allowable Pressure Drop: | bar (or state zero drop required) |
| Ambient Temperature at Start: | °C |
| Ambient Temperature at End: | °C |
| Weather Conditions: | e.g. Overcast, dry, stable temperature |

# 5. Pressure Readings

| No. | Time | Elapsed min | Pressure bar | Temp °C | Stage | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 2 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 3 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 4 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 5 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 6 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 7 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 8 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 9 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 10 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 11 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 12 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 13 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 14 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |
| 15 | HH:MM | min | bar | °C | e.g. 25%, 50%, hold |  |

# 6. Leak Detection

| Leak Detection Method: | e.g. Soapy water spray, ultrasonic leak detector, pressure decay |
| --- | --- |
| Leaks Found? | Yes / No – if Yes, describe location and action taken |
| Leak Repaired and Re-Tested? | Yes / No – re-test reference |

# 7. Test Result

| TEST RESULT: | PASS / FAIL |
| --- | --- |
| Pressure at Start of Hold: | bar |
| Pressure at End of Hold: | bar |
| Pressure Drop: | bar |
| Temperature Corrected Drop: | bar (after correction for ambient temperature change) |
| Within Acceptable Limit? | Yes / No |

# 8. Sign-Off

| Test Engineer |  | Witness / Inspector |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Company: | Enter company | Position: | Enter role |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 9. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |