H2S Monitoring and

Ventilation Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project / Site Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Recorded By: | Name and role |
| Approved By: | Name and role | Site / Works: | Enter works name |

# 1. Location and Activity Details

| Area / Process: | e.g. Inlet works, rising main chamber, wet well, sludge storage, digester |
| --- | --- |
| Specific Location: | Enter chamber, room, or confined space reference |
| Construction Activity: | Describe the activity being carried out in proximity to H2S risk |
| Risk Assessment Ref: | Enter COSHH / risk assessment reference |
| Confined Space Entry? | Yes / No – if Yes, state permit reference |

# 2. H2S Exposure Limits

| Exposure Limit | Value |
| --- | --- |
| UK WEL – Long-term (8hr TWA) | 5 ppm |
| UK WEL – Short-term (15min STEL) | 10 ppm |
| Site Action Level | Enter site-specific action level, e.g. 1 ppm |
| Evacuation Level | Enter evacuation trigger, e.g. 5 ppm |
| IDLH (Immediately Dangerous to Life or Health) | 50 ppm |

# 3. Monitoring Equipment

| Fixed H2S Monitor(s): | Enter make, model, serial no., location, and calibration date |
| --- | --- |
| Personal Gas Monitor(s): | Enter make, model, serial no., and calibration date |
| Bump Test Date: | DD / MM / YYYY (must be daily before use) |
| Calibration Expiry: | DD / MM / YYYY |
| Gases Monitored: | e.g. H2S, LEL (CH4), O2, CO |

# 4. Ventilation Arrangements

| No. | Check Item | Yes | No | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Mechanical ventilation system operational in the work area |  |  |  |  |
| 2 | Ventilation achieving minimum air changes per hour as designed |  |  |  |  |
| 3 | Forced-air ventilation (positive pressure) provided for confined spaces |  |  |  |  |
| 4 | Extract ventilation ducted to safe discharge point (not recirculated) |  |  |  |  |
| 5 | Natural ventilation openings unobstructed and adequate |  |  |  |  |
| 6 | Fan operation confirmed and airflow direction verified |  |  |  |  |
| 7 | Carbon filter / chemical scrubber operational on extract (if fitted) |  |  |  |  |
| 8 | Emergency ventilation fans available and tested |  |  |  |  |
| 9 | Ventilation interlock with gas detection system tested |  |  |  |  |
| 10 | Work area monitored for adequate oxygen levels (19.5–23.5% O2) |  |  |  |  |

# 5. H2S Monitoring Log

| Date | Time | Location | H2S ppm | O2 % | LEL % | CO ppm | Action Taken |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |
| DD/MM | HH:MM |  | ppm | % | % | ppm |  |

# 6. Action Response Summary

| < 1 ppm | Continue working. Record reading. Monitor continuously. |
| --- | --- |
| 1 – 5 ppm | Alert – increase ventilation, reduce exposure time, review controls. Inform supervisor. |
| 5 – 10 ppm | Evacuate area. Do not re-enter until levels drop below action level. RPE required for re-entry. |
| > 10 ppm | Emergency evacuation. Call emergency services. Do not re-enter. Full BA required for rescue. |

# 7. Sign-Off

| Recorded By: | Name | Signature: |  |
| --- | --- | --- | --- |
| Position: | Enter role | Date: | DD / MM / YYYY |
| Approved By: | Name | Signature: |  |
| Date: | DD / MM / YYYY | Next Review: | DD / MM / YYYY |

# 8. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |