Live Plant Proximity

Risk Assessment

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Assessed By: | Name and role |
| Approved By: | Name and role | Site / Works Name: | Enter works name |

# 1. Assessment Scope

| Construction Activity: | Describe the construction works being carried out adjacent to live plant |
| --- | --- |
| Location / Area: | Enter the area of the works and adjacent operational plant |
| Live Process Description: | Describe the operational process running adjacent to the construction zone |
| Minimum Separation Distance: | Enter the closest distance between construction and live plant (metres) |
| Duration of Proximity Working: | e.g. 6 weeks, ongoing throughout construction phase |
| Operations Contact: | Name, role, and contact number for the operations / asset owner representative |
| Relevant Drawings: | Enter site plan, P&ID, and layout drawing references |

# 2. Live Plant / Process Hazard Identification

| No. | Hazard | Likelihood (1–5) | Severity (1–5) | Risk Rating (L x S) | Control Measures |
| --- | --- | --- | --- | --- | --- |
| 1 | Drowning – open tanks, channels, or deep water | 1–5 | 1–5 |  |  |
| 2 | Biological hazards – exposure to raw or treated sewage | 1–5 | 1–5 |  |  |
| 3 | Toxic gas – H2S, methane, CO2 in enclosed or low areas | 1–5 | 1–5 |  |  |
| 4 | Chemical exposure – ferric chloride, sodium hypochlorite, polymer | 1–5 | 1–5 |  |  |
| 5 | Rotating machinery – pumps, aerators, mixers, scrapers in operation | 1–5 | 1–5 |  |  |
| 6 | Electrical hazards – live MCC panels, switchgear, transformers | 1–5 | 1–5 |  |  |
| 7 | Moving vehicles – sludge tankers, chemical deliveries on live site | 1–5 | 1–5 |  |  |
| 8 | Noise – high noise areas (blower houses, pump rooms) | 1–5 | 1–5 |  |  |
| 9 | Slips, trips, falls – wet and contaminated surfaces near live processes | 1–5 | 1–5 |  |  |
| 10 | Confined spaces – manholes, valve chambers, below-ground tanks | 1–5 | 1–5 |  |  |
| 11 | Contaminated land or groundwater adjacent to works | 1–5 | 1–5 |  |  |
| 12 | Structural instability – working near tanks being decommissioned | 1–5 | 1–5 |  |  |

# 3. Control Measures

## 3.1 Physical Segregation

| No. | Control Measure | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1 | Physical barrier (Heras fencing, hoarding, guardrails) between construction zone and live plant |  |  |  |
| 2 | Warning signage at all approach points to live process areas |  |  |  |
| 3 | Designated crossing points with authorised access control |  |  |  |
| 4 | Edge protection around open tanks, channels, and deep water |  |  |  |
| 5 | Lifebuoys and rescue equipment positioned at water hazard locations |  |  |  |
| 6 | Guard rails or covers over all open chambers and manholes |  |  |  |

## 3.2 Operational Controls

| No. | Control Measure | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1 | Permit to work system in place for all work adjacent to live plant |  |  |  |
| 2 | Daily coordination meeting with operations team before commencing work |  |  |  |
| 3 | Construction operatives inducted on operational hazards and emergency procedures |  |  |  |
| 4 | Banksman / escort required when entering operational areas |  |  |  |
| 5 | Atmospheric monitoring (H2S, LEL) carried out before entering risk areas |  |  |  |
| 6 | Personal gas monitors issued to all personnel working near live processes |  |  |  |
| 7 | Biological hazard awareness briefing delivered to all construction operatives |  |  |  |
| 8 | Hepatitis A / tetanus vaccination status checked for all personnel |  |  |  |
| 9 | Emergency shower and eye wash station accessible from work area |  |  |  |
| 10 | Spill kits positioned at interface between construction and live plant |  |  |  |
| 11 | No hot works within 10m of live process plant without specific permit |  |  |  |
| 12 | Crane operations near live plant subject to specific lift plan and exclusion zone |  |  |  |

## 3.3 PPE Requirements

| No. | PPE Item | Required | N/A | Comments |
| --- | --- | --- | --- | --- |
| 1 | Hard hat, hi-vis vest, safety boots, safety glasses (standard site PPE) |  |  |  |
| 2 | Nitrile or chemical-resistant gloves when near sewage or chemicals |  |  |  |
| 3 | Waterproof overalls or coveralls when risk of sewage splash |  |  |  |
| 4 | Face shield or visor when risk of splash from chemicals or sewage |  |  |  |
| 5 | Respiratory protective equipment (RPE) in areas with gas risk or dust |  |  |  |
| 6 | Personal gas monitor (H2S, LEL as minimum) – bump tested daily |  |  |  |
| 7 | Hearing protection in designated high-noise areas |  |  |  |
| 8 | Life jacket or buoyancy aid when working near deep water (> 1.2m) |  |  |  |

# 4. Emergency Procedures

| Emergency Assembly Point: | Enter location |
| --- | --- |
| First Aider: | Name and contact number |
| Man-Down / Drowning Rescue Plan: | Summarise the rescue plan: water rescue equipment location, trained rescuers, emergency services call procedure. |
| Gas Alarm Response: | Describe the response procedure if personal or area gas monitors alarm |
| Chemical Spill Response: | Describe the spill containment and reporting procedure |
| Operations Emergency Contact: | Name and 24hr phone number for operational emergencies |

# 5. Residual Risk Assessment

| Residual Risk Level: | Low / Medium / High (after all controls applied) |
| --- | --- |
| Are Residual Risks Acceptable? | Yes / No – if No, state additional measures required before work can proceed |
| Additional Measures Required: | Describe any further measures needed to reduce residual risk to an acceptable level. |

# 6. Briefing Record

All persons working in proximity to live plant must be briefed on this risk assessment and sign below.

| No. | Full Name | Company / Trade | CSCS / Card | Signature | Date |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |

# 7. Sign-Off

| Contractor |  | Operations / Asset Owner |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Position: | Enter role | Position: | Enter role |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 8. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |