Screen and Grit Removal Equipment

Installation Record

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date: | DD / MM / YYYY | Installed By: | Name and company |
| Inspected By: | Name and role | Approved By: | Name and role |

# 1. Equipment Details

| Equipment Type: | e.g. Band screen, drum screen, step screen, bar screen, grit classifier, vortex grit separator |
| --- | --- |
| Equipment Tag / Ref: | Enter asset tag number |
| Manufacturer: | Enter manufacturer name |
| Model: | Enter model number |
| Serial Number: | Enter serial number |
| Screen Bar Spacing / Aperture: | mm |
| Design Flow Capacity: | l/s or m³/hr |
| Channel Width: | mm |
| Motor Power: | kW |
| Material of Construction: | e.g. Stainless steel 304, 316L, duplex |
| Location / Channel No: | Enter location |
| Drawing Reference: | Enter GA, P&ID, and installation drawing references |

# 2. Mechanical Installation Checks

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Equipment delivered undamaged and all components accounted for |  |  |  |  |
| 2 | Channel / chamber dimensions verified against equipment requirements |  |  |  |  |
| 3 | Equipment installed level and plumb (checked in two planes) |  |  |  |  |
| 4 | Anchor bolts / holding-down bolts torqued to specification |  |  |  |  |
| 5 | Guide rails or tracks installed and aligned correctly |  |  |  |  |
| 6 | Screen or grit mechanism moves freely through full range without obstruction |  |  |  |  |
| 7 | Correct clearance maintained between screen and channel walls / floor |  |  |  |  |
| 8 | Discharge chute or conveyor aligned and connected |  |  |  |  |
| 9 | Screenings compactor / press connected and aligned (if applicable) |  |  |  |  |
| 10 | Grit classifier or washer connected and level (if applicable) |  |  |  |  |
| 11 | All guards and safety covers fitted to moving parts |  |  |  |  |
| 12 | Lubrication completed as per manufacturer schedule |  |  |  |  |
| 13 | All fixings secure and corrosion-protected |  |  |  |  |
| 14 | Odour control ducting connected to covers (if applicable) |  |  |  |  |

# 3. Electrical and Controls Installation

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Motor correctly wired and rotation direction verified (bump test) |  |  |  |  |
| 2 | Motor overload protection set to correct value |  |  |  |  |
| 3 | Local isolator installed, labelled, and lockable |  |  |  |  |
| 4 | Emergency stop button installed, wired, and tested |  |  |  |  |
| 5 | Level sensors installed and calibrated |  |  |  |  |
| 6 | Limit switches installed and tested (top, bottom, over-travel) |  |  |  |  |
| 7 | VSD installed and parameters set (if applicable) |  |  |  |  |
| 8 | Control signals wired to local panel and SCADA |  |  |  |  |
| 9 | Auto / manual selection switch functional |  |  |  |  |
| 10 | All alarms tested: overload, high level, drive fault, blockage |  |  |  |  |

# 4. Dimensional and Alignment Checks

| Parameter | Design Value | Measured Value | Within Tolerance? |
| --- | --- | --- | --- |
| Channel width (mm) |  |  | Y / N |
| Channel depth (mm) |  |  | Y / N |
| Invert level (mAOD) |  |  | Y / N |
| Screen inclination angle |  |  | Y / N |
| Screen frame plumb (mm) |  |  | Y / N |
| Screen frame level (mm) |  |  | Y / N |
| Clearance screen to wall (mm) |  |  | Y / N |
| Clearance screen to floor (mm) |  |  | Y / N |
| Discharge chute height (mm) |  |  | Y / N |

# 5. Dry Run Test

| No. | Check Item | Pass | Fail | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Screen / mechanism operated through full cycle (dry run) |  |  |  |  |
| 2 | No binding, scraping, or excessive friction during operation |  |  |  |  |
| 3 | Motor current within normal range during dry run |  |  |  |  |
| 4 | Vibration levels acceptable |  |  |  |  |
| 5 | Noise levels acceptable |  |  |  |  |
| 6 | Screenings discharge mechanism operates correctly |  |  |  |  |
| 7 | Wash water spray bars operational and coverage adequate |  |  |  |  |
| 8 | Timer / cycle controls operating at correct intervals |  |  |  |  |
| 9 | Emergency stop halts all movement immediately |  |  |  |  |
| 10 | Restart sequence correct after emergency stop reset |  |  |  |  |

# 6. Snags and Actions

| No. | Issue Description | Action Required | Owner | Status |
| --- | --- | --- | --- | --- |
| 1 |  |  |  | Open / Closed |
| 2 |  |  |  | Open / Closed |
| 3 |  |  |  | Open / Closed |
| 4 |  |  |  | Open / Closed |
| 5 |  |  |  | Open / Closed |
| 6 |  |  |  | Open / Closed |

# 7. Sign-Off

| Installer / Contractor |  | Engineer / Inspector |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Company: | Enter company | Position: | Enter role |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 8. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |