Works Performance Certificate

Application

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date of Application: | DD / MM / YYYY | Prepared By: | Name and role |
| Approved By: | Name and role | Works Name: | Enter works name |

# 1. Works and Contract Details

| Works / Site Name: | Enter wastewater treatment works name |
| --- | --- |
| Client / Employer: | Enter client name |
| Contractor: | Enter contractor name |
| Contract Form: | e.g. NEC3 ECC Option A, NEC4, JCT, bespoke |
| Contract Completion Date: | DD / MM / YYYY (contractual) |
| Actual Completion Date: | DD / MM / YYYY |
| EA Discharge Consent Ref: | Enter Environment Agency consent reference |
| Consent Standards: | e.g. BOD: 20 mg/l, SS: 30 mg/l, NH3: 5 mg/l, P: 1 mg/l |
| Performance Test Period: | e.g. 12 weeks, 26 weeks, as per contract |
| Test Period Start Date: | DD / MM / YYYY |
| Test Period End Date: | DD / MM / YYYY |

# 2. Performance Results Summary

| Parameter | Consent Limit | Mean Result | 95%ile Result | Max Result | Compliant? |
| --- | --- | --- | --- | --- | --- |
| BOD (mg/l) |  |  |  |  | Y / N |
| Suspended Solids (mg/l) |  |  |  |  | Y / N |
| Ammonia (mg/l as N) |  |  |  |  | Y / N |
| Total Phosphorus (mg/l) |  |  |  |  | Y / N |
| COD (mg/l) |  |  |  |  | Y / N |
| pH (range) |  |  |  |  | Y / N |
| Flow DWF (m³/d) |  |  |  |  | Y / N |
| Flow FFT (l/s) |  |  |  |  | Y / N |
| E. coli (cfu/100ml) |  |  |  |  | Y / N |
| Total Nitrogen (mg/l) |  |  |  |  | Y / N |

# 3. Supporting Evidence Checklist

| No. | Evidence Item | Complete | Pending | N/A | Ref / Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Full analytical results for the entire performance test period |  |  |  |  |
| 2 | Flow monitoring data for the performance test period |  |  |  |  |
| 3 | MCERTS accreditation confirmed for all sampling and analysis |  |  |  |  |
| 4 | All commissioning records for mechanical, electrical, and ICA systems |  |  |  |  |
| 5 | SCADA system fully operational and data logging verified |  |  |  |  |
| 6 | Telemetry outstation commissioned and communicating with master station |  |  |  |  |
| 7 | All process alarms and interlocks tested and operational |  |  |  |  |
| 8 | Operator training completed and training records available |  |  |  |  |
| 9 | O&M manuals delivered and accepted by the client |  |  |  |  |
| 10 | As-built drawings issued (red-line markups or CAD updates) |  |  |  |  |
| 11 | Health and safety file updated and handed over |  |  |  |  |
| 12 | Punch list / snagging items cleared or categorised as non-critical |  |  |  |  |
| 13 | Energy consumption data provided for the test period |  |  |  |  |
| 14 | Odour monitoring results within permit / consent conditions |  |  |  |  |
| 15 | Environmental close-out report submitted |  |  |  |  |
| 16 | Spare parts and consumables schedule provided |  |  |  |  |

# 4. Outstanding Items

| No. | Item Description | Impact on Performance? | Owner | Target Date |
| --- | --- | --- | --- | --- |
| 1 |  | Yes / No |  | DD/MM/YYYY |
| 2 |  | Yes / No |  | DD/MM/YYYY |
| 3 |  | Yes / No |  | DD/MM/YYYY |
| 4 |  | Yes / No |  | DD/MM/YYYY |
| 5 |  | Yes / No |  | DD/MM/YYYY |
| 6 |  | Yes / No |  | DD/MM/YYYY |
| 7 |  | Yes / No |  | DD/MM/YYYY |
| 8 |  | Yes / No |  | DD/MM/YYYY |

# 5. Declaration

We hereby apply for the issue of the Works Performance Certificate for the above works. The works have been completed, commissioned, and have achieved the required performance standards during the test period detailed above. All supporting evidence is attached or referenced in this application.

# 6. Sign-Off

| Contractor (Applicant) |  | Client / Employer |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Position: | Enter role | Position: | Enter role |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

| Project Manager |  | Process Scientist / Engineer |  |
| --- | --- | --- | --- |
| Name: | Print name | Name: | Print name |
| Signature: |  | Signature: |  |
| Date: | DD / MM / YYYY | Date: | DD / MM / YYYY |

# 7. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |