Emergency Vehicle Access

Route Inspection

| Document Ref: | Enter reference | Revision: | Enter revision |
| --- | --- | --- | --- |
| Project Name: | Enter project name | Contract No: | Enter contract number |
| Date of Inspection: | DD / MM / YYYY | Time: | HH:MM |
| Inspected By: | Name and role | Approved By: | Name and role |

# 1. Site and Route Details

| Site Address: | Enter full site address and postcode |
| --- | --- |
| Nearest Public Road Access: | Enter road name and access point description |
| Grid Reference / What3Words: | Enter grid reference or what3words location |
| Local Fire Station: | Enter fire station name and estimated response time |
| Has the Fire Service Been Consulted? | Yes / No – if Yes, state date and reference |
| Route Description: | Describe the route from the public highway to the site entrance and through the site to the main compound / welfare area. |

# 2. Access Route Dimensions and Surface

| No. | Inspection Item | Pass | Fail | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Route width minimum 3.7m throughout (for fire appliance access) |  |  |  |  |
| 2 | Route width minimum 4.0m at bends and turning areas |  |  |  |  |
| 3 | Route clear height minimum 3.7m (no overhead obstructions) |  |  |  |  |
| 4 | Turning circle available (minimum 16.8m diameter for pump appliance) |  |  |  |  |
| 5 | Road surface capable of supporting 12.5 tonnes (fire appliance GVW) |  |  |  |  |
| 6 | Surface in good condition with no potholes, ruts, or soft ground |  |  |  |  |
| 7 | Gradient does not exceed 1 in 12 (8.3%) at any point |  |  |  |  |
| 8 | Route free from mud, standing water, or ice (gritted if necessary) |  |  |  |  |
| 9 | Route adequately drained to prevent flooding or waterlogging |  |  |  |  |
| 10 | Route edges clearly defined (kerbs, barriers, or marker posts) |  |  |  |  |

# 3. Obstructions and Clearances

| No. | Inspection Item | Pass | Fail | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Route free from parked vehicles, plant, or materials obstructing access |  |  |  |  |
| 2 | No skips, containers, or temporary structures blocking the route |  |  |  |  |
| 3 | Scaffolding does not encroach on the emergency vehicle route |  |  |  |  |
| 4 | Overhead cables, pipes, or temporary structures maintain 3.7m clearance |  |  |  |  |
| 5 | Gates and barriers along the route can be opened quickly (not locked) |  |  |  |  |
| 6 | Gate opening width is adequate for fire appliance (minimum 3.1m) |  |  |  |  |
| 7 | Security personnel briefed to open gates immediately for emergency vehicles |  |  |  |  |
| 8 | Alternative access route available if primary route is blocked |  |  |  |  |
| 9 | Construction traffic does not routinely block the emergency route |  |  |  |  |
| 10 | Turning head / hammerhead available if route is a dead end |  |  |  |  |

# 4. Signage and Visibility

| No. | Inspection Item | Pass | Fail | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | 'Emergency Vehicle Access – Keep Clear' signage displayed at entrance |  |  |  |  |
| 2 | Route clearly signed and marked throughout the site |  |  |  |  |
| 3 | No parking signs displayed along the emergency route |  |  |  |  |
| 4 | Route visible and identifiable at night (adequate lighting) |  |  |  |  |
| 5 | Reflective markers or bollards provided at route edges in dark areas |  |  |  |  |
| 6 | Fire assembly point signage visible from the emergency access route |  |  |  |  |
| 7 | Site plan showing emergency route displayed at site entrance |  |  |  |  |

# 5. Fire Hydrants and Water Supply

| No. | Inspection Item | Pass | Fail | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Nearest fire hydrant location identified and accessible |  |  |  |  |
| 2 | Fire hydrant within 90m of the furthest point on site |  |  |  |  |
| 3 | Fire hydrant plates / covers visible and not obstructed |  |  |  |  |
| 4 | Fire hydrant tested and operational (if site responsibility) |  |  |  |  |
| 5 | On-site fire water supply available (tank, pond, or boosted main) |  |  |  |  |
| 6 | Dry riser inlet accessible (if multi-storey structure present) |  |  |  |  |

# 6. Additional Emergency Access Considerations

| No. | Inspection Item | Pass | Fail | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Ambulance access to first aid room / welfare area confirmed |  |  |  |  |
| 2 | Stretcher access route clear and wide enough (minimum 1.2m) |  |  |  |  |
| 3 | Helicopter landing area identified (if remote or high-risk site) |  |  |  |  |
| 4 | Night-time access arrangements in place (lighting, security) |  |  |  |  |
| 5 | Access arrangements reviewed following site layout changes |  |  |  |  |
| 6 | Emergency vehicle access maintained during all construction phases |  |  |  |  |

# 7. Actions Required

| No. | Action Required | Responsible Person | Due Date | Status |
| --- | --- | --- | --- | --- |
| 1 |  |  | DD/MM/YYYY | Open / Closed |
| 2 |  |  | DD/MM/YYYY | Open / Closed |
| 3 |  |  | DD/MM/YYYY | Open / Closed |
| 4 |  |  | DD/MM/YYYY | Open / Closed |
| 5 |  |  | DD/MM/YYYY | Open / Closed |
| 6 |  |  | DD/MM/YYYY | Open / Closed |
| 7 |  |  | DD/MM/YYYY | Open / Closed |
| 8 |  |  | DD/MM/YYYY | Open / Closed |

# 8. Sign-Off

I confirm that the emergency vehicle access route has been inspected and the findings recorded above. Any failed items have been recorded in the actions table and will be rectified as a priority.

| Inspected By: | Name | Signature: |  |
| --- | --- | --- | --- |
| Position / Role: | Enter role | Date: | DD / MM / YYYY |
| Approved By (Site Manager): | Name | Signature: |  |
| Date: | DD / MM / YYYY | Next Inspection Due: | DD / MM / YYYY |

# 9. Notes / Additional Comments

Record any additional observations, temporary restrictions, or liaison with the fire and rescue service.

# 10. Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 | DD/MM/YYYY | Initial issue |  |  |
|  | DD/MM/YYYY |  |  |  |
|  | DD/MM/YYYY |  |  |  |