## Environmental Inspection
ebrora.com
WEEKLY ENVIRONMENTAL INSPECTION REGISTER
Ref: ISO 14001:2015; CIRIA C741; Environmental Permit / Site CEMP
Project: |  |  | Date:
Inspector: |  |  | Weather:
No. | Inspection Item | Status (Pass/Fail/N/A) | Priority (Low/Med/High) | Comments / Actions Required | Action Owner
WATER MANAGEMENT
1 | Surface water drains protected (silt fences, straw bales, drain covers)
2 | No evidence of silt or contaminated runoff leaving site
3 | Dewatering discharge points clear and compliant with permit
4 | Settlement tanks / lagoons operational and maintained
POLLUTION PREVENTION
5 | Fuel and oil storage areas bunded and secure (110% capacity)
6 | No evidence of oil, fuel, or chemical spills
7 | Spill kits available, stocked, and accessible
8 | Refuelling carried out on hardstanding with drip trays
WASTE MANAGEMENT
9 | Waste segregated correctly (timber, metal, general, hazardous)
10 | Skips and bins labelled, not overflowing
11 | Waste transfer notes available and up to date
12 | No evidence of burning waste on site
DUST AND AIR QUALITY
13 | Dust suppression measures in place and effective
14 | Wheel wash / road sweeping operational
15 | No visible dust plumes leaving site boundary
NOISE AND VIBRATION
16 | Noisy works within permitted hours
17 | Noise barriers / enclosures in place where required
18 | Plant fitted with silencers / white noise alarms
ECOLOGY AND HABITAT
19 | Ecological exclusion zones maintained and fenced
20 | No evidence of disturbance to protected species / habitats
21 | Invasive species controls in place (Japanese Knotweed, etc.)
MATERIALS AND STORAGE
22 | COSHH substances stored correctly and labelled
23 | Cement and concrete washout contained
24 | Topsoil and subsoil stockpiles protected
GENERAL
25 | Environmental notice board up to date
26 | Environmental incident reporting procedure displayed
SUMMARY
Pass: |  | 0
Fail: |  | 0
N/A: |  | 0
High Priority: |  | 0
Inspected By: |  | Signature:

## Instructions
ebrora.com
INSTRUCTIONS — Weekly Environmental Inspection Register
How to Use This Template
1. Conduct environmental inspections weekly or as required by the CEMP.
2. Walk the site and assess each pre-populated inspection item.
3. Select Pass, Fail, or N/A for each item.
4. For failed items, set the priority and record actions/owners.
5. High priority failures are flagged red for immediate attention.
6. Sign and date the completed inspection.
References:
ISO 14001:2015 — Environmental Management Systems
CIRIA C741 — Environmental Good Practice on Site (4th edition)
Construction Environmental Management Plan (CEMP)
Environmental Permit conditions