## Discharge Log
ebrora.com
DISCHARGE CONSENT MONITORING LOG
Ref: Water Resources Act 1991; Environmental Permitting (England and Wales) Regulations 2016; EA Discharge Consent
Project: |  |  |  | Consent Ref: |  |  | Discharge Point:
No. | Date | Time | Sampled By | Discharge Point / Outfall | Flow Rate (l/s) | pH | TSS (mg/L) | Oil & Grease (mg/L) | Turbidity (NTU) | Dissolved Oxygen (mg/L) | Temperature (°C) | Consent Limit (parameter) | Within Consent? (Yes/No) | Actions Taken / Exceedance Details | Lab Sample Ref
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
SUMMARY
Total Samples: |  | 0
Within Consent: |  | 0
Exceedances: |  | 0

## Instructions
ebrora.com
INSTRUCTIONS — Discharge Consent Monitoring Log
How to Use This Template
1. Record all discharge monitoring results at each permitted outfall.
2. Enter date, time, sampler, discharge point, and flow rate.
3. Record water quality parameters: pH, TSS, oil & grease, turbidity, DO, temperature.
4. Note the applicable consent limit for the parameter being tested.
5. Confirm whether each result is within consent conditions.
6. Exceedances are flagged red — these must be reported to the Environment Agency.
7. Record any corrective actions and laboratory sample references.
Common Consent Parameters:
pH: typically 6.0 – 9.0
Total Suspended Solids (TSS): typically 25–50 mg/L
Oil & Grease: typically no visible sheen / <5 mg/L
References:
Water Resources Act 1991
Environmental Permitting (England and Wales) Regulations 2016
EA Pollution Prevention Guidelines (PPGs / RGNs)