## PAT Testing Log
ebrora.com
PAT TESTING LOG
Ref: Electricity at Work Regulations 1989; IET Code of Practice for In-Service Inspection and Testing
Project: |  |  |  | Tested By: |  |  |  | Test Date: |  | Tester Cert No.:
No. | Asset / Tag Number | Equipment Description | Manufacturer / Model | Location | Class (I/II/III) | Visual Inspection (Pass/Fail) | Earth Continuity (Ω) | Insulation Resistance (MΩ) | Lead / Polarity Test (Pass/Fail/N/A) | Overall Result (Pass/Fail) | Next Test Due Date | Defects / Actions | Tested By (Initials)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
SUMMARY
Total Items Tested: |  | 0
Pass: |  | 0
Fail: |  | 0

## Instructions
ebrora.com
INSTRUCTIONS — PAT Testing Log
How to Use This Template
1. Record each portable appliance brought onto site with a unique asset/tag number.
2. Note the equipment description, manufacturer, model, location, and class (I/II/III).
3. Perform visual inspection first — record Pass or Fail.
4. Record earth continuity (Ω) and insulation resistance (MΩ) test readings.
5. Perform lead/polarity test where applicable.
6. Select overall result (Pass/Fail) and note next test due date.
7. Failed items must be immediately removed from service, labelled, and repaired or replaced.
8. Construction site equipment typically requires PAT testing every 3 months.
Class Definitions:
Class I — Earthed equipment (3-core cable, metal casing)
Class II — Double insulated (2-core cable, no earth required)
Class III — Extra low voltage (SELV, typically <50V AC)
References:
Electricity at Work Regulations 1989
IET Code of Practice for In-Service Inspection and Testing of Electrical Equipment
HSE guidance HSG107 — Maintaining Portable Electrical Equipment
BS 7671 — Requirements for Electrical Installations (IET Wiring Regulations)