## Inspection Log
ebrora.com
FIRE EXTINGUISHER INSPECTION LOG
Project: |  |  |  |  | Location: |  |  |  | Date:
Inspected By: |  |  |  |  | Next Service Due: |  |  | Revision:
Ref: Regulatory Reform (Fire Safety) Order 2005; BS 5306-3
No. | Extinguisher ID / Tag | Location | Type (Water/Foam/ CO₂/Powder/Wet Chemical) | Capacity (kg/L) | Manufacture Date | Last Service Date | Access Clear? (Yes/No) | Pressure Gauge OK? (Yes/No/N/A) | Condition of Body & Hose | Safety Pin & Seal Intact? (Yes/No) | Overall Status (Pass/Fail) | Comments / Actions
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
SUMMARY
Total Extinguishers: |  | 0
Pass: |  | 0
Fail: |  | 0
Inspected By (Print): |  |  |  |  | Signature: |  |  |  | Date:

## Instructions
ebrora.com
INSTRUCTIONS — Fire Extinguisher Inspection Log
How to Use This Template
1. Complete the project and location details at the top of the log.
2. Record each fire extinguisher by its unique ID/tag number.
3. Note the location, type, capacity, and dates for each unit.
4. During monthly inspection, check each item using the dropdown fields.
5. Select Pass or Fail for the overall status of each extinguisher.
6. Record any remedial actions in the Comments column.
7. Failed extinguishers must be reported and replaced/repaired immediately.
8. Sign and date the form at the bottom after each inspection.
Inspection Frequency:
Monthly visual inspections are required under the Regulatory Reform
(Fire Safety) Order 2005. Annual servicing by a competent person per BS 5306-3.
References:
Regulatory Reform (Fire Safety) Order 2005
BS 5306-3 — Commissioning and Maintenance of Portable Fire Extinguishers
BS 5306-8 — Selection and Positioning of Portable Fire Extinguishers