SIL Assessment Record

For recording Safety Integrity Level (SIL) determination of Safety Instrumented Functions (SIFs) in accordance with IEC 61511 and IEC 61508

| Document Reference: | SIL-ASS- |
| --- | --- |
| Revision: | 0 |
| Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Plant / Process Area: | Enter plant or process unit |
| HAZOP Study Reference: | Enter HAZOP report reference number |
| SIL Assessment Method: | Risk Graph (IEC 61511) / LOPA / Risk Matrix / Calibrated Risk Graph |
| Assessment Team Leader: | Enter name and role |
| Approved By: | Enter name and role |

1. Assessment Team

| No. | Name | Role / Discipline | Organisation | Signature |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |

2. Safety Integrity Level Reference

| SIL | Risk Reduction Factor (RRF) | PFDavg (Low Demand) | PFH (High Demand / Continuous) |
| --- | --- | --- | --- |
| SIL 1 | 10 to 100 | 0.1 to 0.01 | 10⁻⁶ to 10⁻⁵ per hour |
| SIL 2 | 100 to 1,000 | 0.01 to 0.001 | 10⁻⁷ to 10⁻⁶ per hour |
| SIL 3 | 1,000 to 10,000 | 0.001 to 0.0001 | 10⁻⁸ to 10⁻⁷ per hour |
| SIL 4 | 10,000 to 100,000 | 0.0001 to 0.00001 | 10⁻⁹ to 10⁻⁸ per hour |

3. SIF Assessment Register

Record each Safety Instrumented Function (SIF) assessed, the hazard it protects against, and the determined SIL. Continue on additional sheets if required.

| SIF No. | HAZOP Node / Ref | SIF Description | Hazardous Event | Consequence | IPLs Credited | SIL Determined | Notes / Assumptions |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |

4. Detailed SIF Assessment Sheet

Complete one detailed sheet per SIF. Duplicate this section as required.

| SIF Number: | SIF- |
| --- | --- |
| SIF Tag / Description: | Describe the safety instrumented function |
| HAZOP Reference: | Node, cause, consequence reference |
| Process Deviation: | e.g., High level, high pressure, high temperature, loss of flow |
| Hazardous Event: | Describe the hazardous event if the SIF fails on demand |
| Consequence (without SIF): | Describe worst-case consequence: personnel injury, environmental, financial |
| Severity Category: | Minor / Serious / Extensive / Catastrophic |
| Demand Rate: | Estimated frequency of demand on the SIF (per year) |
| Mode of Operation: | Low demand / High demand / Continuous |

5. Independent Protection Layers (IPLs)

| No. | IPL Description | IPL Type | PFD Claimed | Independent? | Auditable? |
| --- | --- | --- | --- | --- | --- |
| 1 | BPCS (Basic Process Control System) |  |  |  |  |
| 2 | Alarm with operator response |  |  |  |  |
| 3 | Relief valve / bursting disc |  |  |  |  |
| 4 | Physical containment (bund, dike) |  |  |  |  |
| 5 | Manual intervention (operator action) |  |  |  |  |
| 6 | Other SIF (separate from SIF under assessment) |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |

6. SIL Determination

| Unmitigated Consequence Frequency: | per year (initiating event frequency) |
| --- | --- |
| Target Tolerable Frequency: | per year (from corporate risk criteria / ALARP) |
| Required Risk Reduction Factor: | = Unmitigated / Target (accounting for other IPLs) |
| SIL Required for This SIF: | SIL 1 / SIL 2 / SIL 3 / SIL 4 / No SIL required |
| Assessment Method Used: | Risk Graph / LOPA / Calibrated Risk Graph / Risk Matrix |
| Key Assumptions: | List critical assumptions made during the SIL assessment |

7. Notes / Additional Comments

Enter any additional comments, references to HAZOP worksheets, risk graph parameters, LOPA worksheets, or SIL verification requirements.

Approval

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| SIL Assessment Team Leader |  |  | DD/MM/YYYY |
| Process Safety Engineer |  |  | DD/MM/YYYY |
| Project Manager |  |  | DD/MM/YYYY |
| Client / End User |  |  | DD/MM/YYYY |

Document Control

| Rev. | Date | Author | Description |
| --- | --- | --- | --- |
| 0 | DD/MM/YYYY |  | Initial issue |