Snagging Inspection Checklist

Pre-handover snagging inspection for identifying and recording defects prior to practical completion

| Document Reference: | SNAG- |
| --- | --- |
| Revision: | 0 |
| Inspection Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Plot / Unit / Area: | Enter specific plot, unit, or area inspected |
| Inspector Name: | Enter name and role |
| Contractor: | Enter main contractor name |

Section A: External Works and Envelope

| No. | External Inspection Item | Pass | Fail | N/A | Snag Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | External walls clean, undamaged, and finished to specification |  |  |  |  |
| 2 | Pointing and mortar joints consistent, neat, and free from defects |  |  |  |  |
| 3 | DPC and cavity trays correctly installed and visible where specified |  |  |  |  |
| 4 | External render, cladding, or finishes complete and undamaged |  |  |  |  |
| 5 | Windows and external doors correctly fitted, sealed, opening/closing smoothly, and locking properly |  |  |  |  |
| 6 | Glazing clean, scratch-free, and correctly specified (thermal/safety as required) |  |  |  |  |
| 7 | External drainage, rainwater goods, and downpipes complete, connected, and free from leaks |  |  |  |  |
| 8 | Roof coverings complete, weathertight, and finished to specification |  |  |  |  |
| 9 | Flashings, ridge tiles, and verge details installed correctly |  |  |  |  |
| 10 | External ground levels, paving, and hard landscaping complete and draining correctly |  |  |  |  |

Section B: Internal Finishes

| No. | Internal Inspection Item | Pass | Fail | N/A | Snag Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | Internal walls and ceilings smooth, level, free from cracks, and finished to specification |  |  |  |  |
| 2 | Plastering and dry lining complete, free from defects (bumps, hollows, cracks, nail pops) |  |  |  |  |
| 3 | Internal doors fitted correctly, opening/closing smoothly, latching and locking properly |  |  |  |  |
| 4 | Door ironmongery complete, correct type, and functioning (handles, hinges, closers, locks) |  |  |  |  |
| 5 | Skirting boards, architraves, and trims fitted neatly with tight joints and no gaps |  |  |  |  |
| 6 | Paintwork and decorative finishes complete, even coverage, no runs, drips, or missed areas |  |  |  |  |
| 7 | Floor finishes level, secure, clean, and free from damage (tiles, carpet, vinyl, screed) |  |  |  |  |
| 8 | Tiling complete with even grout lines, no chips, and silicone sealant neatly applied |  |  |  |  |
| 9 | Stairways complete with handrails, balustrading, and nosings fitted to regulation standards |  |  |  |  |
| 10 | Fire doors correctly fitted with intumescent strips, smoke seals, and self-closing devices |  |  |  |  |

Section C: Mechanical and Electrical

| No. | M&E Inspection Item | Pass | Fail | N/A | Snag Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | Electrical installation complete and tested (BS 7671 test certificate available) |  |  |  |  |
| 2 | All light fittings installed, operational, and correct type per specification |  |  |  |  |
| 3 | Socket outlets, switches, and consumer units installed, labelled, and operational |  |  |  |  |
| 4 | Smoke detectors and fire alarm system installed, tested, and commissioned |  |  |  |  |
| 5 | Heating system commissioned and operational (radiators, underfloor, etc.) |  |  |  |  |
| 6 | Hot and cold water supply operational, no leaks, correct pressure and temperature |  |  |  |  |
| 7 | Sanitaryware (WC, basin, bath, shower) installed, sealed, functioning, and free from damage |  |  |  |  |
| 8 | Kitchen fittings and appliances installed and operational (where applicable) |  |  |  |  |
| 9 | Ventilation and extraction systems installed and operational (MVHR, extract fans) |  |  |  |  |
| 10 | Boiler / plant room complete, labelled, and commissioned with documentation |  |  |  |  |

Section D: Safety and Compliance

| No. | Safety / Compliance Item | Pass | Fail | N/A | Snag Ref |
| --- | --- | --- | --- | --- | --- |
| 1 | Fire safety installations complete: fire doors, fire stopping, emergency lighting, signage |  |  |  |  |
| 2 | Means of escape clear and signposted |  |  |  |  |
| 3 | Building control sign-off or completion certificate obtained |  |  |  |  |
| 4 | EPC (Energy Performance Certificate) obtained |  |  |  |  |
| 5 | Gas Safe certificate obtained (where gas installation present) |  |  |  |  |
| 6 | NICEIC / electrical compliance certificate obtained |  |  |  |  |
| 7 | Window restrictors fitted where required (above ground floor) |  |  |  |  |
| 8 | All statutory signage displayed (fire action notices, room numbers, utility labels) |  |  |  |  |

Snag Register

Record all identified snags / defects below. Assign a priority: A = Must fix before PC, B = Fix within defects liability period, C = Minor / cosmetic.

| No. | Location | Defect Description | Priority (A/B/C) | Responsible | Target Date | Closed Date |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |

Inspection Summary

| Total Snags Identified: |  |
| --- | --- |
| Priority A (Pre-PC): |  |
| Priority B (DLP): |  |
| Priority C (Cosmetic): |  |
| Overall Assessment: | Ready for PC / Not ready — re-inspection required |

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Inspector |  |  | DD/MM/YYYY |
| Site Manager |  |  | DD/MM/YYYY |
| Client / Employer's Agent |  |  | DD/MM/YYYY |

Document Control

| Rev. | Date | Author | Description |
| --- | --- | --- | --- |
| 0 | DD/MM/YYYY |  | Initial issue |