Contamination Screening Checklist

Preliminary Contamination Risk Screening — Desktop and Site Walkover Assessment

| Project and Site Details |  |  |  |
| --- | --- | --- | --- |
| Document Ref: |  | Date: | DD/MM/YYYY |
| Project Name: |  | Contract No: |  |
| Site Name: |  | Site Address: |  |
| Grid Reference: | e.g., TQ 123 456 | Site Area (ha): |  |
| Client: |  | Contractor: |  |
| Prepared By: |  | Reviewed By: |  |
| Current Land Use: | e.g., brownfield, greenfield, industrial |  |  |
| Proposed Land Use: | e.g., residential, commercial, infrastructure |  |  |

1. Desk Study Information Sources Reviewed

| A: Desktop Information Sources |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Details / Comments |
| 1 | Historical Ordnance Survey maps reviewed (all available epochs) |  |  |  |  |
| 2 | Environmental data report obtained (e.g., Landmark Envirocheck, Groundsure) |  |  |  |  |
| 3 | EA / NRW public register data reviewed (waste, discharge consents, pollution incidents) |  |  |  |  |
| 4 | British Geological Survey (BGS) mapping and borehole records reviewed |  |  |  |  |
| 5 | Local authority contaminated land register consulted |  |  |  |  |
| 6 | Planning history and previous site investigation reports reviewed |  |  |  |  |
| 7 | HSE COMAH / Seveso site proximity checked |  |  |  |  |
| 8 | Coal Authority mining data reviewed (where applicable) |  |  |  |  |
| 9 | Aerial and satellite imagery reviewed for site features / changes |  |  |  |  |
| 10 | Unexploded ordnance (UXO) risk assessment obtained (where applicable) |  |  |  |  |

2. Historical and Current Land Use Assessment

| B: Land Use History |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Details / Comments |
| 1 | Site historically used for industrial purposes (factories, works, processing) |  |  |  |  |
| 2 | Site historically used for waste disposal (landfill, tip, infilled quarry) |  |  |  |  |
| 3 | Evidence of fuel storage (above-ground or underground tanks, bunds) |  |  |  |  |
| 4 | Evidence of chemical storage or handling |  |  |  |  |
| 5 | Former gasworks, power station, or railway land |  |  |  |  |
| 6 | Former military use (MOD land, ranges, depots) |  |  |  |  |
| 7 | Former mining or quarrying activity on or adjacent to site |  |  |  |  |
| 8 | Agricultural use with potential for pesticide / fertiliser contamination |  |  |  |  |
| 9 | Existing or historic above-ground or underground storage tanks (ASTs / USTs) |  |  |  |  |
| 10 | Adjacent land uses with potential to affect site (off-site migration) |  |  |  |  |

3. Site Walkover Observations

| C: Visual and Olfactory Evidence |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Details / Comments |
| 1 | Discoloured or stained soils observed during walkover |  |  |  |  |
| 2 | Visible fill materials, made ground, or waste deposits |  |  |  |  |
| 3 | Unusual odours detected (hydrocarbons, solvents, organic decay, hydrogen sulphide) |  |  |  |  |
| 4 | Surface water discolouration, sheens, or oily films |  |  |  |  |
| 5 | Distressed, discoloured, or absent vegetation indicating phytotoxic contamination |  |  |  |  |
| 6 | Evidence of asbestos-containing materials (ACMs) on or near surface |  |  |  |  |
| 7 | Drums, containers, or waste materials present on site |  |  |  |  |
| 8 | Evidence of fly-tipping or uncontrolled waste deposition |  |  |  |  |
| 9 | Visible leachate seepage from slopes or embankments |  |  |  |  |
| 10 | Ground gas indicators (bubbling in standing water, odours from manholes) |  |  |  |  |
| 11 | Existing monitoring wells, boreholes, or piezometers on site |  |  |  |  |
| 12 | Evidence of below-ground structures (basements, tanks, pits, cellars) |  |  |  |  |

4. Potential Contaminants of Concern

Based on the desk study and walkover, identify potential contaminants associated with the site.

| Contaminant Group | Typical Substances | Present? | Source / Notes |
| --- | --- | --- | --- |
| Heavy metals | e.g., lead, arsenic, cadmium, chromium, mercury, nickel, zinc |  |  |
| Petroleum hydrocarbons (TPH) | e.g., diesel, petrol, oils, lubricants |  |  |
| Polycyclic aromatic hydrocarbons (PAHs) | Coal tar, creosote, combustion residues |  |  |
| Volatile organic compounds (VOCs) | e.g., benzene, toluene, xylene (BTEX), TCE, PCE |  |  |
| Asbestos | Chrysotile, amosite, crocidolite fibres |  |  |
| Polychlorinated biphenyls (PCBs) | Transformer oils, capacitors |  |  |
| Pesticides / herbicides | Organochlorines, organophosphates |  |  |
| Sulphates / sulphides | Aggressive ground conditions for concrete |  |  |
| Cyanide compounds | Former gasworks, metal finishing |  |  |
| Radioactive materials | e.g., radium dial paint, medical / industrial sources |  |  |
| Ground gases | Methane, carbon dioxide, radon, hydrogen sulphide |  |  |
| Unexploded ordnance (UXO) | Bombs, shells, munitions |  |  |
| Other (specify) |  |  |  |

5. Potential Receptors

| E: Receptors Identified |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Details / Comments |
| 1 | Human health — site workers (construction phase) |  |  |  |  |
| 2 | Human health — future site users (end use: residential, commercial, open space) |  |  |  |  |
| 3 | Human health — off-site residents or neighbouring occupiers |  |  |  |  |
| 4 | Controlled waters — shallow groundwater (principal or secondary aquifer) |  |  |  |  |
| 5 | Controlled waters — surface water (rivers, streams, ponds within 250m) |  |  |  |  |
| 6 | Controlled waters — Source Protection Zone (SPZ) designation |  |  |  |  |
| 7 | Ecological receptors — designated sites (SSSI, SAC, SPA, Ramsar within 500m) |  |  |  |  |
| 8 | Ecological receptors — protected species or habitats on or adjacent to site |  |  |  |  |
| 9 | Built structures — foundations, services, buried concrete |  |  |  |  |
| 10 | Property — damage to buildings from ground gases or aggressive ground conditions |  |  |  |  |

6. Potential Pathways

| F: Exposure Pathways |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Details / Comments |
| 1 | Direct contact — dermal contact with contaminated soils |  |  |  |  |
| 2 | Ingestion — accidental ingestion of soil or dust |  |  |  |  |
| 3 | Inhalation — dust, fibres (asbestos), or volatile vapours |  |  |  |  |
| 4 | Leaching — contaminant migration to groundwater via infiltration |  |  |  |  |
| 5 | Surface water run-off — contaminated surface water discharge |  |  |  |  |
| 6 | Lateral migration — contaminant plume movement through permeable strata |  |  |  |  |
| 7 | Gas migration — ground gas movement through permeable ground into enclosed spaces |  |  |  |  |
| 8 | Uptake — plant uptake of contaminants (phytotoxicity, food chain) |  |  |  |  |
| 9 | Direct chemical attack — aggressive ground conditions on concrete / services |  |  |  |  |

7. Preliminary Conceptual Site Model (CSM) Summary

Summarise the source-pathway-receptor (SPR) linkages identified and assign a preliminary risk level.

| No. | Source | Pathway | Receptor | Linkage Active? | Risk Level |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | Y / N | Low / Medium / High |
| 2 |  |  |  | Y / N | Low / Medium / High |
| 3 |  |  |  | Y / N | Low / Medium / High |
| 4 |  |  |  | Y / N | Low / Medium / High |
| 5 |  |  |  | Y / N | Low / Medium / High |
| 6 |  |  |  | Y / N | Low / Medium / High |

8. Recommendations

| Recommendation |  |
| --- | --- |
| Intrusive site investigation required: | YES / NO |
| Scope of investigation: | e.g., trial pits, boreholes, groundwater monitoring, gas monitoring |
| Analytical suite recommended: | e.g., metals, TPH, PAH, VOCs, asbestos, pH, sulphate |
| Risk assessment standard: | e.g., LCRM (Land Contamination Risk Management), BS 10175 |
| Precautionary measures for site workers: | e.g., PPE, monitoring, hygiene facilities, exclusion zones |
| Watching brief required during earthworks: | YES / NO |
| Additional comments: |  |

9. Screening Sign-Off

This checklist provides a preliminary contamination screening only and does not constitute a detailed risk assessment. Findings should be reviewed by a suitably qualified contaminated land specialist (SiLC, SQP, or equivalent).

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Assessor |  |  | DD/MM/YYYY |
| Environmental Manager |  |  | DD/MM/YYYY |
| Project Manager |  |  | DD/MM/YYYY |
| Client Representative |  |  | DD/MM/YYYY |

10. Notes / Additional Comments

Record any additional observations, photograph references, or appendices.

11. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |