Setting Out Check Record

Survey and Setting Out — Independent Check and Verification Record

| Project and Survey Details |  |  |  |
| --- | --- | --- | --- |
| Document Ref: |  | Date: | DD/MM/YYYY |
| Project Name: |  | Contract No: |  |
| Location / Area: | e.g., Block A foundations, road alignment CH 0–200 |  |  |
| Setting Out Drawing Ref: |  | Drawing Revision: |  |
| Element Set Out: | e.g., grid lines, foundations, drainage, road centre line |  |  |
| Set Out By: | Name / organisation | Set Out Date: | DD/MM/YYYY |
| Checked By: | Name / organisation (independent) | Check Date: | DD/MM/YYYY |

1. Survey Equipment

| Equipment Used for Setting Out |  |  |  |
| --- | --- | --- | --- |
| Total Station Make / Model: |  | Serial No: |  |
| Calibration Date: | DD/MM/YYYY | Calibration Due: | DD/MM/YYYY |
| GPS / GNSS Receiver: | Make / model (if used) | Serial No: |  |
| Level Make / Model: |  | Serial No: |  |
| Calibration Certificate Ref: |  |  |  |
| Equipment Used for Independent Check |  |  |  |
| Instrument Make / Model: |  | Serial No: |  |
| Calibration Date: | DD/MM/YYYY | Calibration Due: | DD/MM/YYYY |

2. Control Points and Benchmarks

Record the control stations, benchmarks, and reference points used for setting out. All coordinates should reference the project coordinate system (e.g., OSGB36 / local grid).

| No. | Station / BM Ref | Easting (m) | Northing (m) | Level (m AOD) | Condition / Status |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  | e.g., intact, undisturbed |
| 2 |  |  |  |  | e.g., intact, undisturbed |
| 3 |  |  |  |  | e.g., intact, undisturbed |
| 4 |  |  |  |  | e.g., intact, undisturbed |
| 5 |  |  |  |  | e.g., intact, undisturbed |
| 6 |  |  |  |  | e.g., intact, undisturbed |

3. Horizontal Position Check

Record the comparison between design coordinates and as-set-out / as-checked coordinates for each point. Tolerance is typically ±5mm for buildings or ±10mm for civils unless otherwise specified.

| Pt | Point ID / Grid | Design E (m) | Design N (m) | As-Built E (m) | As-Built N (m) | dE (mm) | dN (mm) | Pass / Fail |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |

4. Vertical Level Check

Record the comparison between design levels and as-set-out / as-checked levels. Tolerance typically ±5mm for structural levels or ±10mm for general earthworks unless otherwise specified.

| Pt | Point / Element | Design Level (m AOD) | As-Built Level (m AOD) | Difference (mm) | Tolerance (mm) | Pass / Fail | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |

5. Setting Out Quality Checks

| General Setting Out Checks |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Comments |
| 1 | Setting out based on latest approved revision of the setting out drawing |  |  |  |  |
| 2 | Control network verified prior to setting out (closed traverse / GPS check) |  |  |  |  |
| 3 | Temporary benchmarks (TBMs) checked against primary benchmark and within tolerance |  |  |  |  |
| 4 | All grid lines / centre lines clearly and permanently marked (pins, nails, paint, profiles) |  |  |  |  |
| 5 | Offset pegs established and clearly labelled where excavation will remove original marks |  |  |  |  |
| 6 | Diagonal checks completed to verify squareness (3-4-5 triangle or similar) |  |  |  |  |
| 7 | Distances between grid intersections checked and within tolerance |  |  |  |  |
| 8 | Setting out of curves verified by offsets or coordinates at regular intervals |  |  |  |  |
| 9 | Setting out of drainage checked for invert levels, gradient, and alignment |  |  |  |  |
| 10 | Independent check completed by different person / instrument from original setting out |  |  |  |  |
| 11 | All discrepancies identified, resolved, and recorded before construction proceeds |  |  |  |  |
| 12 | Setting out data filed and transmitted to engineer for approval (if required) |  |  |  |  |

6. Non-Conformances / Discrepancies

| No. | Point / Element | Description of Discrepancy | Action Taken | Resolved (Y/N) |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

7. Inspection Sign-Off

By signing below, we confirm that the setting out has been independently checked and the results are within the specified tolerances. Construction may proceed based on the approved setting out.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Setting Out Engineer |  |  | DD/MM/YYYY |
| Independent Checker |  |  | DD/MM/YYYY |
| Site Manager / Agent |  |  | DD/MM/YYYY |
| Client / Engineer's Representative |  |  | DD/MM/YYYY |

8. Notes / Additional Comments

Record additional observations, sketch references, data file names, or coordinate schedule references.

9. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |