Biological Process Area Safety Checklist

Wastewater Treatment — Safety Inspection for Biological Treatment Process Areas

| Site and Inspection Details |  |  |  |
| --- | --- | --- | --- |
| Document Ref: |  | Inspection Date: | DD/MM/YYYY |
| Project Name: |  | Contract No: |  |
| Site / Works Name: |  | Process Area: | e.g., ASP, trickling filters, RBCs, MBR |
| Contractor: |  | Client / Operator: |  |
| Inspector Name: |  | Inspector Role: |  |
| Weather Conditions: |  | Temperature (°C): |  |
| Works Status: | Operational / Under Construction / Commissioning |  |  |

Section A: Access, Signage, and General Safety

| A: General Safety |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments / Action |
| 1 | Site-specific risk assessment and method statement reviewed and briefed |  |  |  |
| 2 | Permit to work in place (where required for the activity) |  |  |  |
| 3 | Access routes to biological process area clear, well-lit, and free from trip hazards |  |  |  |
| 4 | Warning signage displayed: biological hazards, drowning risk, confined spaces, H2S |  |  |  |
| 5 | Perimeter fencing and handrails in good condition around open tanks and channels |  |  |  |
| 6 | Safety chains or barriers across access points to tanks and walkways |  |  |  |
| 7 | Non-slip surfaces on walkways, grating, and platforms (no algae or biofilm build-up) |  |  |  |
| 8 | Emergency escape routes identified and unobstructed |  |  |  |
| 9 | Rescue equipment available: lifebuoy, throw line, reaching pole at open water areas |  |  |  |
| 10 | Emergency contact numbers and procedures displayed at the process area |  |  |  |

Section B: Atmospheric and Gas Hazards

| B: Atmospheric Hazards |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments / Action |
| 1 | Hydrogen sulphide (H2S) risk assessment completed for the process area |  |  |  |
| 2 | Fixed gas detection system operational (where fitted) — alarms tested |  |  |  |
| 3 | Portable multi-gas detector available and calibrated (H2S, CH4, O2, CO2) |  |  |  |
| 4 | Atmospheric monitoring carried out before entry to enclosed or below-ground areas |  |  |  |
| 5 | Ventilation systems operational in enclosed process buildings and below-ground chambers |  |  |  |
| 6 | No odour complaints or unusual odours reported at time of inspection |  |  |  |
| 7 | Wind sock or wind direction indicator visible (for outdoor gas dispersion awareness) |  |  |  |
| 8 | Workers briefed on H2S exposure symptoms and emergency actions (WEL: 5 ppm TWA, 10 ppm STEL) |  |  |  |
| 9 | Personal H2S monitors issued to all personnel working in the process area |  |  |  |
| 10 | Carbon dioxide and methane risks assessed for covered or enclosed biological tanks |  |  |  |

Section C: Biological and Infection Hazards

| C: Biological Hazards |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments / Action |
| 1 | COSHH assessment for biological agents completed (Leptospirosis, hepatitis, E. coli) |  |  |  |
| 2 | Operatives immunised against hepatitis A (and hepatitis B where recommended) |  |  |  |
| 3 | Tetanus immunisation up to date for all personnel |  |  |  |
| 4 | Welfare facilities available: hot water, soap, antibacterial hand wash, clean towels |  |  |  |
| 5 | No eating, drinking, or smoking in the biological process area |  |  |  |
| 6 | Cuts and abrasions covered with waterproof dressings before entering the area |  |  |  |
| 7 | PPE appropriate for biological contact: waterproof gloves, eye protection, waterproof clothing |  |  |  |
| 8 | Face shield / visor available for tasks with splashing risk (sampling, descaling, jetting) |  |  |  |
| 9 | Contaminated clothing change and laundry procedure in place |  |  |  |
| 10 | First aid kit includes provisions for biological exposure (eye wash, wound cleaning) |  |  |  |

Section D: Drowning and Falling Risks

| D: Drowning and Fall Prevention |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments / Action |
| 1 | All open tanks, channels, and weirs have adequate edge protection (minimum 1100mm handrails) |  |  |  |
| 2 | Removable handrail sections secured and replaced after maintenance |  |  |  |
| 3 | Grating and access covers secure, in good condition, and correctly seated |  |  |  |
| 4 | Ladders to below-ground chambers in good condition with cage or fall arrest where required |  |  |  |
| 5 | Personal flotation devices (PFDs) available for work near deep open water |  |  |  |
| 6 | Lone working risk assessed — buddy system or communications in place for remote areas |  |  |  |
| 7 | Man-down alarm or lone worker device issued (where lone working is unavoidable) |  |  |  |
| 8 | Deep water warning signs displayed at all locations where depth exceeds 1.0m |  |  |  |
| 9 | Aeration equipment guarded to prevent entanglement or contact with rotating parts |  |  |  |
| 10 | No unauthorised access to tank interiors or below-ground process chambers |  |  |  |

Section E: Mechanical and Electrical Hazards

| E: Mechanical and Electrical |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments / Action |
| 1 | Rotating equipment guarded: aerators, mixers, scrapers, RBC drives, pumps |  |  |  |
| 2 | Guards in place, secure, and not modified or removed |  |  |  |
| 3 | Isolation procedures in place for all mechanical and electrical equipment (LOTO) |  |  |  |
| 4 | Emergency stop buttons accessible and tested at key locations |  |  |  |
| 5 | Electrical panels and control cabinets closed, locked, and free from moisture ingress |  |  |  |
| 6 | Temporary electrical equipment (cables, distribution boards) suitable for wet environment (IP rating) |  |  |  |
| 7 | Cable routes protected from mechanical damage and not creating trip hazards |  |  |  |
| 8 | Lifting equipment (hoists, davits) for heavy covers and gratings inspected and in-date (LOLER) |  |  |  |

Section F: Chemical Dosing in Biological Areas (if applicable)

| F: Chemical Dosing Safety |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments / Action |
| 1 | Chemical dosing equipment in the biological area identified (e.g., polymer, nutrient, carbon source) |  |  |  |
| 2 | COSHH assessments available for all chemicals dosed into the biological process |  |  |  |
| 3 | Chemical storage bunds intact, drain valves closed, and containment adequate |  |  |  |
| 4 | Dosing lines and connections leak-free |  |  |  |
| 5 | Emergency shower and eye wash accessible within the dosing area |  |  |  |
| 6 | Incompatible chemicals stored and handled separately |  |  |  |
| 7 | Spill response materials available for chemical types in use |  |  |  |

Section G: Confined Space Considerations

| G: Confined Spaces |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments / Action |
| 1 | All confined spaces identified and labelled (tanks, chambers, manholes, ducts) |  |  |  |
| 2 | Confined space entry permit in place before any entry (Confined Spaces Regulations 1997) |  |  |  |
| 3 | Trained confined space entry team available with rescue capability |  |  |  |
| 4 | Atmospheric testing completed: O2, H2S, CH4, CO2 — results within safe limits |  |  |  |
| 5 | Continuous atmospheric monitoring during confined space entry |  |  |  |
| 6 | Mechanical ventilation provided before and during entry |  |  |  |
| 7 | Emergency rescue equipment available at the entry point (harness, tripod, winch) |  |  |  |
| 8 | Communication system in place between entrant, attendant, and rescue team |  |  |  |
| 9 | Top person / attendant stationed at the entry point throughout the operation |  |  |  |

Section H: Commissioning-Specific Checks (if applicable)

| H: Commissioning Safety |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments / Action |
| 1 | Process tanks filled with clean water before seeding with biological media / activated sludge |  |  |  |
| 2 | Aeration systems tested and balanced before biological loading commences |  |  |  |
| 3 | SCADA / control system alarms for DO, MLSS, pH, and ammonia configured and tested |  |  |  |
| 4 | Temporary monitoring regime in place during commissioning (increased sampling frequency) |  |  |  |
| 5 | Odour management plan in place for initial commissioning period |  |  |  |
| 6 | Commissioning risk assessment addresses process instability and potential upset conditions |  |  |  |
| 7 | Emergency discharge or bypass route available if process fails during commissioning |  |  |  |

Non-Conformances / Actions Required

| No. | Section | Description | Action Required | Responsible / Date |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |

Inspection Sign-Off

By signing below, we confirm that the biological process area has been inspected against this safety checklist and the results are as recorded.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Safety Inspector |  |  | DD/MM/YYYY |
| Site Manager |  |  | DD/MM/YYYY |
| Process Engineer |  |  | DD/MM/YYYY |
| Client / Operations Manager |  |  | DD/MM/YYYY |

Notes / Additional Comments

Record additional observations, gas monitoring readings, or photograph references.

Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |