Process Proving Record

WWTW Commissioning — Process Performance Proving and Consent Compliance Record

| Project and Proving Details |  |  |  |
| --- | --- | --- | --- |
| Document Ref: |  | Revision: |  |
| Project Name: |  | Contract No: |  |
| Site / Works Name: |  | Process Stream: | e.g., Line 1, ASP, whole works |
| Proving Period Start: | DD/MM/YYYY | Proving Period End: | DD/MM/YYYY |
| Duration (days / weeks): | e.g., 7 days, 14 days, 28 days | EA Consent Ref: |  |
| Contractor: |  | Client / Operator: |  |
| Commissioning Engineer: |  | Process Engineer: |  |

1. Performance Criteria and Consent Limits

Record the target consent limits and performance criteria that must be achieved during the proving period.

| Parameter | Unit | Consent Limit | Design Target | Compliance Basis | Achieved (Y/N) |
| --- | --- | --- | --- | --- | --- |
| Biochemical Oxygen Demand (BOD) | mg/l |  |  | 95 percentile |  |
| Suspended Solids (SS) | mg/l |  |  | 95 percentile |  |
| Ammonia (NH3-N) | mg/l |  |  | 95 percentile |  |
| Total Phosphorus (P) | mg/l |  |  | Annual average |  |
| Chemical Oxygen Demand (COD) | mg/l |  |  |  |  |
| pH | pH units |  |  | Range |  |
| Flow to Full Treatment (FFT) | l/s |  |  |  |  |
| Dry Weather Flow (DWF) | l/s |  |  |  |  |
| Other (specify) |  |  |  |  |  |

2. Pre-Proving Checklist

| Pre-Proving Requirements |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments |
| 1 | All construction and installation works complete (mechanical completion achieved) |  |  |  |
| 2 | All commissioning activities complete and signed off (SAT passed) |  |  |  |
| 3 | Process seeded and biological treatment established (MLSS at target concentration) |  |  |  |
| 4 | All instrumentation calibrated and functional (flow, DO, MLSS, NH3, pH, SS) |  |  |  |
| 5 | SCADA / telemetry system operational and logging data |  |  |  |
| 6 | Chemical dosing systems operational and optimised (P removal, pH correction) |  |  |  |
| 7 | All pumps, blowers, aerators, and scrapers operational with duty/standby proven |  |  |  |
| 8 | Sludge handling and disposal route established |  |  |  |
| 9 | Sampling regime agreed with client and EA (frequency, locations, parameters, laboratory) |  |  |  |
| 10 | Laboratory accredited and approved for consent compliance samples (MCERTS / UKAS) |  |  |  |
| 11 | Consent sampling points installed and accessible |  |  |  |
| 12 | EA notified of the proving period start date (where required) |  |  |  |
| 13 | Operator training completed for all process areas |  |  |  |
| 14 | Emergency procedures in place for process upset or consent breach |  |  |  |

3. Daily Process Proving Results Log

Record daily sample results and process parameters during the proving period. Attach laboratory certificates as supporting evidence.

| Day | Date | Influent Flow (l/s) | Influent BOD (mg/l) | Influent SS (mg/l) | Influent NH3 (mg/l) | Effluent BOD (mg/l) | Effluent SS (mg/l) | Effluent NH3 (mg/l) | Effluent P (mg/l) | DO (mg/l) | MLSS (mg/l) | pH | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |

4. Proving Period Summary

| Parameter | Consent | Mean | 95%ile | Max | Min | Pass / Fail |
| --- | --- | --- | --- | --- | --- | --- |
| BOD (mg/l) |  |  |  |  |  |  |
| SS (mg/l) |  |  |  |  |  |  |
| NH3-N (mg/l) |  |  |  |  |  |  |
| Total P (mg/l) |  |  |  |  |  |  |
| COD (mg/l) |  |  |  |  |  |  |
| pH |  |  |  |  |  |  |

5. Process Incidents and Exceedances

| No. | Date | Incident / Exceedance Description | Cause | Action Taken |
| --- | --- | --- | --- | --- |
| 1 | DD/MM/YYYY |  |  |  |
| 2 | DD/MM/YYYY |  |  |  |
| 3 | DD/MM/YYYY |  |  |  |
| 4 | DD/MM/YYYY |  |  |  |
| 5 | DD/MM/YYYY |  |  |  |

6. Overall Proving Result

| Proving Status | PASS / FAIL / EXTENDED PROVING REQUIRED |
| --- | --- |
| Conditions / Comments: |  |

7. Sign-Off

By signing below, we confirm that the process proving period has been completed in accordance with the agreed proving protocol and the results are as recorded in this document.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Commissioning Engineer |  |  | DD/MM/YYYY |
| Process Engineer |  |  | DD/MM/YYYY |
| Contractor PM |  |  | DD/MM/YYYY |
| Client Operations Manager |  |  | DD/MM/YYYY |
| EA Representative (if witnessing) |  |  | DD/MM/YYYY |

8. Notes

Record lab certificate references, weather/storm event notes, or process optimisation changes during proving.

9. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |