Temporary Drainage Plan

| Document Reference: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Client: | Enter client name |
| Principal Contractor: | Enter principal contractor name |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

# Table of Contents

# 1. Introduction and Purpose

This Temporary Drainage Plan sets out the arrangements for managing surface water, groundwater, and construction run-off during the construction phase. The plan aims to prevent pollution of watercourses, groundwater, and drainage systems, and to manage flood risk during the works.

The plan has been prepared in accordance with the Construction Environmental Management Plan (CEMP), Environment Agency Pollution Prevention Guidance (where still applicable), CIRIA C753 (The SuDS Manual), CIRIA C532 (Control of Water Pollution from Construction Sites), and relevant planning conditions.

This plan must be reviewed and updated as site activities, phasing, and drainage arrangements change throughout the construction programme.

# 2. Site Description and Existing Drainage

Describe the site characteristics relevant to drainage, including topography, geology, hydrogeology, existing drainage infrastructure, and receiving watercourses.

| Site Area (hectares): | Enter site area |
| --- | --- |
| Topography: | Describe general fall of the site, high and low points, natural drainage paths |
| Geology / Soil Type: | e.g. Clay, sand, gravel, chalk, made ground |
| Permeability: | Describe infiltration capacity – reference BRE 365 soakaway tests if available |
| Groundwater Level: | Enter depth to groundwater (m BGL) and source of information |
| Flood Risk Zone: | Zone 1 / Zone 2 / Zone 3a / Zone 3b |
| Nearest Watercourse: | Enter name, distance from site, and flow direction |
| Existing Surface Water Drainage: | Describe existing drainage infrastructure, outfalls, and discharge points |
| Existing Foul Drainage: | Describe existing foul drainage and connection points |
| Discharge Consents / Permits: | Enter any existing or required discharge consents, trade effluent consents, or environmental permits |
| Water Company: | Enter name of water/sewerage company |

# 3. Regulatory Requirements and Consents

Identify all regulatory requirements, consents, and permit conditions relevant to temporary drainage and discharge from the site.

| No. | Requirement / Consent | Issuing Authority | Reference Number | Key Conditions |
| --- | --- | --- | --- | --- |
| 1 | e.g. Environmental Permit, Discharge Consent, Planning Condition, FRAP |  |  |  |
| 2 | e.g. Environmental Permit, Discharge Consent, Planning Condition, FRAP |  |  |  |
| 3 | e.g. Environmental Permit, Discharge Consent, Planning Condition, FRAP |  |  |  |
| 4 | e.g. Environmental Permit, Discharge Consent, Planning Condition, FRAP |  |  |  |
| 5 | e.g. Environmental Permit, Discharge Consent, Planning Condition, FRAP |  |  |  |

# 4. Temporary Drainage Strategy

Describe the overall temporary drainage strategy for the construction phase. This should address how clean water is separated from contaminated water, the treatment train for construction run-off, and the discharge arrangements.

## 4.1 Clean Water Management

Describe how clean water (rainwater from undisturbed areas, roof water, clean groundwater) will be collected and managed separately from construction run-off. Include details of temporary cut-off drains, diversion channels, and direct discharge arrangements.

## 4.2 Construction Run-Off Management

Describe how silt-laden and potentially contaminated surface water from active construction areas will be collected, treated, and discharged. Include details of the treatment train (e.g. settlement lagoons, silt traps, silt fencing, oil interceptors, pH correction).

## 4.3 Groundwater Management

Describe arrangements for managing groundwater encountered during excavations. Include dewatering methods, treatment requirements, discharge route, and any abstraction licence or discharge consent requirements.

## 4.4 Foul Drainage

Describe temporary foul drainage arrangements for welfare facilities and any process water. Include connection to existing foul sewer, temporary treatment (if required), and trade effluent consent details.

# 5. Temporary Drainage Infrastructure

Record all temporary drainage infrastructure installed on site. This table should be updated as the drainage system is modified throughout the construction programme.

| No. | Infrastructure Item | Location | Specification | Installed Date | Inspection Frequency |
| --- | --- | --- | --- | --- | --- |
| 1 | Settlement lagoon / tank |  |  | DD/MM/YYYY |  |
| 2 | Silt trap / silt busters |  |  | DD/MM/YYYY |  |
| 3 | Oil interceptor / separator |  |  | DD/MM/YYYY |  |
| 4 | Cut-off drain (clean water) |  |  | DD/MM/YYYY |  |
| 5 | Perimeter ditch / swale |  |  | DD/MM/YYYY |  |
| 6 | Silt fencing |  |  | DD/MM/YYYY |  |
| 7 | Straw bale check dams |  |  | DD/MM/YYYY |  |
| 8 | Temporary attenuation storage |  |  | DD/MM/YYYY |  |
| 9 | Pumping station / sump |  |  | DD/MM/YYYY |  |
| 10 | pH correction dosing unit |  |  | DD/MM/YYYY |  |
| 11 | Discharge monitoring point |  |  | DD/MM/YYYY |  |
| 12 | Temporary outfall |  |  | DD/MM/YYYY |  |

# 6. Discharge Quality Standards

Record the discharge quality limits applicable to site discharges. These may be set by environmental permit conditions, planning conditions, or agreed with the Environment Agency or local sewerage undertaker.

| Parameter | Limit | Monitoring Method | Monitoring Frequency |
| --- | --- | --- | --- |
| Suspended Solids (SS) | e.g. <30 mg/l | Turbidity meter / lab sample |  |
| pH | e.g. 6.0 – 9.0 | pH meter / test strips |  |
| Total Petroleum Hydrocarbons (TPH) | e.g. No visible sheen | Visual inspection / lab sample |  |
| Chemical Oxygen Demand (COD) | Enter limit | Lab sample |  |
| Dissolved Oxygen (DO) | Enter limit | DO meter |  |
| Temperature | Enter limit if applicable | Thermometer |  |
| Flow Rate | e.g. Max X l/s | Flow meter / weir |  |

# 7. Monitoring and Inspection

Describe the monitoring and inspection regime for the temporary drainage system. Include visual inspections, water quality monitoring, and maintenance schedules.

| No. | Inspection / Monitoring Item | Frequency | By Whom | Comments |
| --- | --- | --- | --- | --- |
| 1 | Visual inspection of all settlement lagoons, silt traps, and oil interceptors | Daily / Weekly |  |  |
| 2 | Check and clear silt fencing, straw bales, and check dams | Daily / Weekly |  |  |
| 3 | Monitor discharge quality at designated monitoring points | Daily / Weekly |  |  |
| 4 | Inspect and clear temporary drains, ditches, and channels | Daily / Weekly |  |  |
| 5 | Check pumps and dewatering equipment are operational | Daily / Weekly |  |  |
| 6 | Inspect bunds and containment for fuel and chemical storage areas | Daily / Weekly |  |  |
| 7 | Monitor weather forecast and prepare for heavy rainfall events | Daily / Weekly |  |  |
| 8 | Check for signs of erosion, scour, or uncontrolled run-off | Daily / Weekly |  |  |
| 9 | Inspect drain covers and pollution prevention equipment at vulnerable drains | Daily / Weekly |  |  |
| 10 | Record all monitoring results and maintain water quality log | Daily / Weekly |  |  |

# 8. Emergency Response – Drainage Failure or Pollution

Describe the emergency response procedures in the event of drainage system failure, uncontrolled discharge, or pollution of watercourses. Cross-reference the site Environmental Emergency Response Procedure.

| Trigger for Emergency Response: | e.g. Discharge exceeds quality limits, settlement lagoon overflows, uncontrolled discharge to watercourse, pump failure |
| --- | --- |
| Immediate Actions: | Stop discharge, deploy additional silt control, isolate affected drains, deploy spill response equipment |
| Notification: | Notify Environmental Manager, Site Manager, and Environment Agency (0800 80 70 60) if pollution enters controlled waters |
| Spill Kit Locations: | Enter locations of nearest spill kits and drain covers |
| Additional Pumping Capacity: | Enter arrangements for emergency pumping |
| Emergency Drainage Contact: | Enter 24-hour emergency contact details |

# 9. Phased Drainage Arrangements

Describe how the temporary drainage system will change through the construction phases. Reference the construction programme and phasing plan.

| Phase | Programme Dates | Key Drainage Changes | New Infrastructure Required | Infrastructure to be Removed |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |

# 10. Decommissioning of Temporary Drainage

Describe the arrangements for decommissioning the temporary drainage system at the end of construction or when the permanent drainage system becomes operational. Include removal of temporary infrastructure, reinstatement of disturbed areas, and final water quality sampling.

Describe the decommissioning strategy, including sequence of removal, final inspection, reinstatement requirements, and handover to permanent drainage system.

# 11. Related Documents

| No. | Document Title | Reference |
| --- | --- | --- |
| 1 | Construction Environmental Management Plan (CEMP) |  |
| 2 | Silt Management Plan |  |
| 3 | Pollution Prevention Method Statement |  |
| 4 | Environmental Emergency Response Procedure |  |
| 5 | Flood Risk Assessment |  |
| 6 | Temporary Drainage Layout Drawing |  |

# 12. Approval and Distribution

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By: |  |  |  |
| Reviewed By: |  |  |  |
| Approved By: |  |  |  |
| Client Accepted: |  |  |  |

# 13. Notes / Additional Comments

Enter any additional notes here.

# 14. Document Control

| Revision | Date | Description | Author | Approved By |
| --- | --- | --- | --- | --- |