Return to Service Checklist

| Document Reference: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Asset / System / Area: | Enter the asset, system, or area being returned to service |
| Shutdown / Outage Reference: | Enter shutdown or outage reference number |
| Planned Return to Service Date: | DD/MM/YYYY HH:MM |
| Actual Return to Service Date: | DD/MM/YYYY HH:MM |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

Section 1 – Pre-Return Verification Checks

All items below must be verified and signed off before the asset, system, or area is returned to operational service. This checklist applies to planned shutdowns, outages, or periods of maintenance where plant or systems have been taken out of service for construction, commissioning, or modification works.

| No. | Verification Check | Yes | N/A | Comments / Reference |
| --- | --- | --- | --- | --- |
| 1 | All planned works within the shutdown / outage scope have been completed |  |  |  |
| 2 | All temporary works have been removed and the area has been reinstated |  |  |  |
| 3 | All construction materials, tools, equipment, and waste have been removed from the work area |  |  |  |
| 4 | All scaffolding has been dismantled or signed off as safe for continued use |  |  |  |
| 5 | All access hatches, covers, manhole lids, and guard rails have been replaced and secured |  |  |  |
| 6 | All safety barriers, handrails, and fall protection systems have been reinstated |  |  |  |
| 7 | All lockout / tagout (LOTO) isolations have been removed by authorised persons |  |  |  |
| 8 | All isolation certificates have been cancelled and returned |  |  |  |
| 9 | Permit to work system has been closed out – all permits cancelled and returned |  |  |  |
| 10 | All electrical isolations have been removed and systems re-energised in accordance with safe systems of work |  |  |  |
| 11 | All mechanical isolations (valves, blinds, spades) have been removed and systems restored to operational configuration |  |  |  |
| 12 | All instrumentation and control systems have been reconnected and verified operational |  |  |  |
| 13 | All safety-critical systems (fire detection, gas detection, emergency shutdown) have been tested and confirmed operational |  |  |  |
| 14 | All alarms and trips have been reinstated and tested |  |  |  |
| 15 | Pressure testing / leak testing completed where required (reference test certificates) |  |  |  |
| 16 | Functional testing of modified or maintained equipment completed and passed |  |  |  |
| 17 | As-built drawings and mark-ups have been submitted to document control |  |  |  |
| 18 | O&M documentation updated to reflect any modifications |  |  |  |
| 19 | All non-conformances and snag items have been closed out or deferred with client agreement |  |  |  |
| 20 | Environmental controls verified – bunding, drainage, containment all operational |  |  |  |

Section 2 – Safety and Operational Readiness Checks

| No. | Safety / Operational Check | Yes | N/A | Comments / Reference |
| --- | --- | --- | --- | --- |
| 1 | Area walkdown completed by operations / client representative and construction team |  |  |  |
| 2 | Housekeeping inspection passed – area clean, tidy, and free of tripping hazards |  |  |  |
| 3 | All signage and labelling correct and in place (valve tags, equipment labels, safety signs) |  |  |  |
| 4 | Emergency escape routes clear and properly illuminated |  |  |  |
| 5 | Fire-fighting equipment in place and serviceable (extinguishers, hose reels, hydrants) |  |  |  |
| 6 | Ventilation systems operational and providing adequate air changes |  |  |  |
| 7 | Lighting adequate for operational requirements |  |  |  |
| 8 | Communication systems (radio, PA, telephone) tested and operational |  |  |  |
| 9 | CCTV and security systems operational (where applicable) |  |  |  |
| 10 | Spill response equipment available and accessible |  |  |  |
| 11 | First aid facilities available in the operational area |  |  |  |
| 12 | Operating procedures available to operational staff |  |  |  |
| 13 | Operational staff have been briefed on any changes resulting from the works |  |  |  |

Section 3 – Outstanding Items / Deferred Snags

Record any items that remain outstanding but have been agreed with the client / operations team as acceptable for return to service. All deferred items must have a completion date and responsible person assigned.

| No. | Outstanding Item | Agreed Completion Date | Responsible Person | Risk to Operations | Client Agreed? |
| --- | --- | --- | --- | --- | --- |
| 1 |  | DD/MM/YYYY |  | H / M / L | Yes / No |
| 2 |  | DD/MM/YYYY |  | H / M / L | Yes / No |
| 3 |  | DD/MM/YYYY |  | H / M / L | Yes / No |
| 4 |  | DD/MM/YYYY |  | H / M / L | Yes / No |
| 5 |  | DD/MM/YYYY |  | H / M / L | Yes / No |
| 6 |  | DD/MM/YYYY |  | H / M / L | Yes / No |
| 7 |  | DD/MM/YYYY |  | H / M / L | Yes / No |
| 8 |  | DD/MM/YYYY |  | H / M / L | Yes / No |

Section 4 – Start-Up / Re-Energisation Sequence

Record the agreed start-up or re-energisation sequence for returning the system or area to operational service.

| Step | Action | Responsible Person | Time | Completed | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  | HH:MM | Yes / No |  |
| 2 |  |  | HH:MM | Yes / No |  |
| 3 |  |  | HH:MM | Yes / No |  |
| 4 |  |  | HH:MM | Yes / No |  |
| 5 |  |  | HH:MM | Yes / No |  |
| 6 |  |  | HH:MM | Yes / No |  |
| 7 |  |  | HH:MM | Yes / No |  |
| 8 |  |  | HH:MM | Yes / No |  |
| 9 |  |  | HH:MM | Yes / No |  |
| 10 |  |  | HH:MM | Yes / No |  |

Section 5 – Handover Confirmation

This section confirms that the asset, system, or area has been inspected, verified, and is approved for return to operational service.

| All checklist items verified: | Yes / No |
| --- | --- |
| Outstanding items agreed with client: | Yes / No / None outstanding |
| System safe to return to service: | Yes / No |
| Operations team briefed on changes: | Yes / No |
| Date and time of return to service: | DD/MM/YYYY HH:MM |

Section 6 – Authorisation and Sign-Off

| Role | Name | Signature | Date / Time |
| --- | --- | --- | --- |
| Construction Manager: |  |  |  |
| Commissioning Manager: |  |  |  |
| H&S Manager / Advisor: |  |  |  |
| Operations Manager (Client): |  |  |  |
| Authorised to Return to Service: |  |  |  |

Notes / Additional Comments

Enter any additional notes, conditions of return to service, or monitoring requirements here.

Document Control

| Revision | Date | Description | Author | Approved By |
| --- | --- | --- | --- | --- |