End-of-Day Secure Site Checklist

| Date: | DD/MM/YYYY | Day: | Mon/Tue/Wed/Thu/Fri/Sat/Sun |
| --- | --- | --- | --- |
| Project: | Enter project name | Contract No: | Enter number |
| Checked By: | Enter name | Time: | HH:MM |

Security

| No. | Security Check | Yes | N/A | Comments |
| --- | --- | --- | --- | --- |
| 1 | All personnel signed out and off site |  |  |  |
| 2 | All gates locked and secured |  |  |  |
| 3 | Perimeter fencing inspected – no breaches or gaps |  |  |  |
| 4 | Security alarm / CCTV system activated (where installed) |  |  |  |
| 5 | Site office locked and windows secured |  |  |  |
| 6 | Welfare cabins locked |  |  |  |
| 7 | Valuable materials secured in locked storage |  |  |  |
| 8 | Plant keys removed and stored securely |  |  |  |
| 9 | Security guard / patrol briefed (if contracted) |  |  |  |
| 10 | Trespass warning signs visible and in good condition |  |  |  |

Safety

| No. | Safety Check | Yes | N/A | Comments |
| --- | --- | --- | --- | --- |
| 1 | All excavations fenced, covered, or otherwise secured against falling |  |  |  |
| 2 | All openings, floor penetrations, and voids covered or edge-protected |  |  |  |
| 3 | Scaffold access ladders removed or gated to prevent unauthorised access |  |  |  |
| 4 | Working at height platforms made safe – tools and materials removed or secured |  |  |  |
| 5 | All temporary electrical supplies isolated at the distribution board (or as directed) |  |  |  |
| 6 | All portable electrical equipment unplugged and stored |  |  |  |
| 7 | Generators shut down and fuel valves closed |  |  |  |
| 8 | Compressors, pumps, and other plant shut down and isolated |  |  |  |
| 9 | All cranes slewed to free weathervane and secured per manufacturer’s instructions |  |  |  |
| 10 | Dewatering pumps confirmed operational (if required to run overnight) |  |  |  |
| 11 | All permits to work closed or transferred to night shift supervisor |  |  |  |
| 12 | Emergency access routes clear and unobstructed |  |  |  |

Fire Prevention

| No. | Fire Prevention Check | Yes | N/A | Comments |
| --- | --- | --- | --- | --- |
| 1 | All hot works ceased at least 60 minutes ago and fire watch completed |  |  |  |
| 2 | Hot works area re-inspected – no smouldering materials, heat sources, or sparks |  |  |  |
| 3 | Gas cylinders closed, regulators removed, and stored in designated compound |  |  |  |
| 4 | LPG heaters turned off and isolated |  |  |  |
| 5 | No combustible waste or materials stored near heat sources |  |  |  |
| 6 | Fire extinguishers in place, accessible, and in date |  |  |  |
| 7 | Smoking area – all butts extinguished and disposed of properly |  |  |  |
| 8 | Temporary heating systems shut down or set to safe overnight mode |  |  |  |

Environmental

| No. | Environmental Check | Yes | N/A | Comments |
| --- | --- | --- | --- | --- |
| 1 | All fuel and chemical storage bunds inspected – no leaks, drip trays emptied |  |  |  |
| 2 | Spill kits checked and replenished where used during the day |  |  |  |
| 3 | Silt control measures checked (fencing, lagoons, check dams) |  |  |  |
| 4 | Settlement tanks / silt busters operational (if required overnight) |  |  |  |
| 5 | Pumps discharging to approved locations with adequate treatment |  |  |  |
| 6 | Drain covers in place over vulnerable drains |  |  |  |
| 7 | No materials, waste, or debris left near watercourses or drains |  |  |  |
| 8 | Dust suppression – exposed stockpiles covered or damped down |  |  |  |

Severe Weather Preparation (if forecast)

| No. | Weather Preparation Check | Yes | N/A | Comments |
| --- | --- | --- | --- | --- |
| 1 | Loose materials, sheeting, and lightweight items secured against wind |  |  |  |
| 2 | Scaffold netting and sheeting checked and secured |  |  |  |
| 3 | Temporary structures (hoarding, fencing, signage) checked for stability |  |  |  |
| 4 | Drainage channels clear and free-flowing |  |  |  |
| 5 | Pumps operational and capacity sufficient for forecast rainfall |  |  |  |
| 6 | Crane weathervaned and all hooks, blocks, and loads secured |  |  |  |

Issues Identified

Record any issues identified during the end-of-day check that require attention before the next working day or on arrival tomorrow morning.

Sign-Off

| Role | Name | Signature | Date / Time |
| --- | --- | --- | --- |
| Checked By: |  |  |  |
| Site Manager: |  |  |  |