| MATERIAL APPROVAL SUBMISSION |  |
| --- | --- |
| Submission Ref: | Enter unique submission reference number |
| Revision: | Enter revision number |
| Date Submitted: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Discipline / Package: | e.g. Civil, Structural, Mechanical, Electrical, Architectural |
| Submitted By: | Name, position and company |
| Submitted To: | Name, position and company (Engineer / Client) |

This form is used to submit materials and products for approval by the Engineer / Client prior to procurement and incorporation into the permanent works. Approval of a material does not relieve the Contractor of responsibility for compliance with the contract specification.

1. Material Details

| Material Description: | Provide a full description of the material or product |
| --- | --- |
| Manufacturer / Supplier: | Name and contact details |
| Product Reference / Model: | Enter manufacturer's product reference or model number |
| Material Standard: | e.g. BS EN, ASTM, manufacturer's standard |
| Grade / Class: | Enter material grade, class or rating |
| Colour / Finish: | Enter colour code, RAL number, finish type |
| Size / Dimensions: | Enter relevant sizes and dimensions |
| Quantity Required: | Enter total quantity required for the works |
| Specification Clause: | Enter the contract specification clause(s) this material relates to |
| Drawing Reference(s): | Enter relevant drawing numbers showing this material |
| Location of Use: | Describe where on site this material will be used |
| Proposed Supplier / Stockist: | Enter name and location of supplier |
| Lead Time: | Enter anticipated lead time from order to delivery |
| Date Required on Site: | DD / MM / YYYY |

2. Supporting Documentation Checklist

Indicate which supporting documents are enclosed with this submission.

| No. | Document | Enclosed | N/A | To Follow |
| --- | --- | --- | --- | --- |
| 1 | Product data sheet / technical specification |  |  |  |
| 2 | Manufacturer's declaration of performance (DoP) / CE marking / UKCA marking |  |  |  |
| 3 | Material test certificates (mill certs, chemical analysis, mechanical properties) |  |  |  |
| 4 | Sample (physical sample submitted separately) |  |  |  |
| 5 | Colour sample / finish sample |  |  |  |
| 6 | Third-party test reports or certification (e.g. BBA, LPCB, BRE) |  |  |  |
| 7 | Fire performance certificate / classification report (BS EN 13501) |  |  |  |
| 8 | COSHH safety data sheet |  |  |  |
| 9 | Environmental / sustainability credentials (EPD, BES 6001, FSC, BREEAM) |  |  |  |
| 10 | Warranty information |  |  |  |
| 11 | Installation guide / manufacturer's recommendations |  |  |  |
| 12 | Relevant BS / EN standard compliance statement |  |  |  |
| 13 | Previous project references / case studies (if requested) |  |  |  |
| 14 | Alternative product comparison (if proposing substitution) |  |  |  |

3. Specification Compliance

| Does the material comply with the contract specification? | Yes / No / Partial (if Partial or No, complete Section 4) |
| --- | --- |
| Are there any deviations from the specification? | Yes / No (if Yes, detail in Section 4) |
| Is this a substitution for a specified product? | Yes / No (if Yes, provide justification in Section 4) |
| Does the material meet the required fire rating? | Yes / No / N/A |
| Does the material meet durability requirements? | Yes / No |
| Does the material meet the required British / European standard? | Yes / No (state standard) |
| Is UKCA / CE marking required and provided? | Yes / No / N/A |

4. Deviations / Substitutions

Complete this section only if the proposed material deviates from or is a substitution for the specified material.

| Deviation Description: | Describe any differences from the specified material |
| --- | --- |
| Reason for Deviation / Substitution: | Explain why an alternative is proposed (cost, availability, performance, programme) |
| Impact on Design: | Describe any impact on structural, fire, acoustic, thermal or aesthetic design |
| Impact on Programme: | Describe any programme benefit or risk |
| Cost Implication: | Describe any cost saving or additional cost |
| Designer's Comment Required: | Yes / No |

5. Contractor's Declaration

I confirm that the material described above complies with the contract specification (or deviations are detailed in Section 4), that the supporting documentation is accurate and complete, and that this material is suitable for the intended use. I accept responsibility for the quality and performance of this material in the permanent works.

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Contractor's Quality Manager |  |  |  |
| Contractor's Project Manager |  |  |  |

6. Engineer / Client Response

To be completed by the Engineer or Client Representative.

| Response: | Approved / Approved with Comments / Rejected / Revise and Resubmit |
| --- | --- |
| Comments: | Enter comments, conditions or reasons for rejection |
| Date Response Due: | DD / MM / YYYY (per contract review period) |
| Date Response Issued: | DD / MM / YYYY |

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Engineer / Client Representative |  |  |  |
| Designer (if review required) |  |  |  |

7. Notes / Additional Comments

Enter any additional notes here

8. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: Contract Specification, BS EN standards, Construction Products Regulation (UKCA/CE marking), CDM 2015