Material Traceability Register

Master register for tracking the traceability of all materials used in fabrication, installation, and construction. Links each material item to its heat/cast number, material test certificate (MTC), supplier, and the specific component or weld joint in which it was used. Maintained as a permanent quality record in accordance with BS EN ISO 3834 (Quality requirements for fusion welding), BS EN 1090-2, BS EN 13480, and the project material traceability requirements.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| System / Area: | Enter system, fabrication batch, or area reference |
| MTC Requirement: | e.g. EN 10204 Type 3.1 (specific inspection), Type 2.2 (test report) |
| Prepared By: | Name / role |
| Approved By: | Name / role |

Legend

MTC Type per BS EN 10204: Type 2.1 = Declaration of compliance; Type 2.2 = Test report; Type 3.1 = Inspection certificate (specific inspection by manufacturer); Type 3.2 = Inspection certificate (independent inspection body).

Material descriptions should include form (plate, pipe, section, fitting, flange, bar, etc.) and nominal size. Heat/cast numbers must be transferred to cut pieces before the original marking is lost.

Material Traceability Register

| No. | Material Description | Specification | Grade | Size / Dims | Heat / Cast No. | MTC Type | MTC Ref | Supplier | Qty | Delivery Note | Date Recd | Used In (Item / Weld) | Verified By | Date Verified | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Guidance Notes

1. All materials with specified MTC requirements must be verified against the MTC before being released for fabrication. Check chemical composition, mechanical properties, and heat treatment condition match the specification.

2. Heat / cast numbers must be physically marked on the material (hard stamp, paint marker, or engraving) and transferred to cut pieces before the original marking is removed by cutting.

3. Positive Material Identification (PMI) testing may be required for alloy steels and stainless steels per the project specification or BS EN 1090-2 EXC3/EXC4.

4. Any material substitution requires prior engineering approval and must be documented with an approved concession or material change request.

5. This register should be cross-referenced with the weld map, pipe spool fabrication records, and structural steelwork records for full traceability from raw material to installed component.

6. Retain all original MTCs as part of the project quality records and handover documentation.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Material Controller / Store Keeper |  |  | DD / MM / YYYY |
| QC Inspector |  |  | DD / MM / YYYY |
| Welding Coordinator (IWE / IWT) |  |  | DD / MM / YYYY |
| Site Engineer / Project Engineer |  |  | DD / MM / YYYY |

Notes / Additional Comments

Enter any additional notes, PMI test results, material substitution concession references, or MTC filing location here.

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |