Concrete Repair Method Record

Record of concrete repair works carried out on site. Documents the defect, repair method, materials used, surface preparation, and quality checks. In accordance with BS EN 1504 (Products and systems for the protection and repair of concrete structures) and the project specification.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Defect / NCR Reference: | Enter non-conformance report reference |
| Structure / Element: | Enter element and location |

Defect Details

| Defect Type: | e.g. honeycombing, blow holes, crack, spalling, delamination, reinforcement exposure, contamination |
| --- | --- |
| Defect Location: | Enter precise position on element |
| Defect Size (L x W x D mm): | Enter dimensions |
| Probable Cause: | Enter assessment of cause |
| Structural Impact: | None / Minor / Significant — enter structural engineer assessment |
| Photographs Before Repair: | Enter photo references |

Repair Method

| Repair Standard: | BS EN 1504 Part(s) applicable — enter |
| --- | --- |
| Repair Method Statement Ref: | Enter approved repair MS reference |
| Surface Preparation: | e.g. saw-cut perimeter, break out loose concrete, expose reinforcement, clean with compressed air |
| Primer / Bonding Agent: | Enter product name and manufacturer |
| Repair Material: | Enter product name, manufacturer, and BS EN 1504 class (e.g. Class R4) |
| Application Method: | e.g. hand-applied mortar, spray applied, flowable micro-concrete, epoxy injection |
| Reinforcement Treatment: | Enter if rebar coating applied (zinc-rich primer, inhibitor) |
| Curing Method: | Enter curing method for repair material |
| Minimum Cure Time: | Enter before loading or further works |
| Surface Finish: | Describe finish achieved (float, formed, profiled to match) |
| Repair Area (m²): | Enter area repaired |
| Repair Depth (mm): | Enter depth of repair |

Post-Repair Checks

| Tap Test (sounding): | Enter result — solid / hollow |
| --- | --- |
| Pull-Off Adhesion Test (if required): | Enter result (N/mm²) — minimum per spec |
| Crack-Free: | Yes / No |
| Colour Match: | Acceptable / Not acceptable |
| Photographs After Repair: | Enter photo references |
| Signed Off By Structural Engineer: | Yes / No / NA — enter name and date |

Notes / Additional Comments

Enter any additional notes or supporting documentation references here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Repair Specialist |  |  | DD / MM / YYYY |
| Site Engineer |  |  | DD / MM / YYYY |
| Structural Engineer |  |  | DD / MM / YYYY |
| QA Manager |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |