| SITE SETUP / COMPOUND LAYOUT PLAN |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Site Address: | Enter full site address including postcode |
| Principal Contractor: | Company name |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This plan defines the site compound layout, welfare provision, access arrangements, temporary services, and security measures. It must comply with CDM 2015 (Schedule 2 welfare requirements), local planning conditions, and Section 61 consent conditions where applicable. Review and update whenever the compound layout changes materially.

1. Site Information

| Site Area (approx.): | Enter total site area in m² or hectares |
| --- | --- |
| Compound Area (approx.): | Enter compound area in m² |
| Site Boundary Treatment: | Hoarding / Heras fencing / palisade / solid timber / combination |
| Hoarding Height: | Minimum 2.4m per CDM 2015 on public highway boundaries |
| Number of Site Access Points: | State number and describe vehicle / pedestrian separation |
| Adjacent Land Use: | Describe neighbouring properties, roads, public areas |
| Ground Conditions: | Describe surface (hardstanding, grass, made ground) and drainage |
| Existing Structures: | Describe any structures to be retained or demolished |
| Existing Services: | Describe known services crossing the compound area |
| Planning Conditions: | List any relevant planning conditions affecting compound layout |
| Working Hours: | Normal and extended working hours |
| Peak Workforce Number: | Maximum anticipated persons on site at any time |

2. Compound Facilities Schedule

List all facilities within the compound. Assign a location reference for use on the layout drawing.

| No. | Facility | Quantity | Size (m) | Location Ref | Provider |
| --- | --- | --- | --- | --- | --- |
| 1 | Site office(s) |  |  |  |  |
| 2 | Meeting room / training room |  |  |  |  |
| 3 | Document storage / plan room |  |  |  |  |
| 4 | Drying room |  |  |  |  |
| 5 | Canteen / mess room |  |  |  |  |
| 6 | Toilets (male) |  |  |  |  |
| 7 | Toilets (female) |  |  |  |  |
| 8 | Showers |  |  |  |  |
| 9 | Changing / locker room |  |  |  |  |
| 10 | First aid room |  |  |  |  |
| 11 | Security gatehouse / turnstile |  |  |  |  |
| 12 | Smoking shelter |  |  |  |  |
| 13 | Material laydown area |  |  |  |  |
| 14 | Covered storage area |  |  |  |  |
| 15 | Fuel storage (bunded) |  |  |  |  |
| 16 | COSHH store |  |  |  |  |
| 17 | Waste segregation area |  |  |  |  |
| 18 | Skip location(s) |  |  |  |  |
| 19 | Wheel wash |  |  |  |  |
| 20 | Vehicle turning area |  |  |  |  |
| 21 | Car parking (staff) |  |  |  |  |
| 22 | Car parking (visitors) |  |  |  |  |
| 23 | Cycle storage |  |  |  |  |
| 24 | Crane pad / base |  |  |  |  |
| 25 | Tower crane location |  |  |  |  |
| 26 | Generator(s) |  |  |  |  |
| 27 | Temporary electrical supply point |  |  |  |  |
| 28 | Water supply point |  |  |  |  |
| 29 | Foul drainage connection |  |  |  |  |
| 30 | Surface water management |  |  |  |  |
| 31 | Fire point(s) |  |  |  |  |
| 32 | Assembly point(s) |  |  |  |  |
| 33 | Signage board location |  |  |  |  |

3. Welfare Provision Calculation

Calculate welfare provision based on peak workforce numbers per CDM 2015 Schedule 2.

| Peak Workforce: | Enter number |
| --- | --- |
| Toilets Required: | 1 per 7 males, or use CDM 2015 Schedule 2 guidance |
| Urinals Required: | 1 per 25 males (if urinals provided) |
| Female Toilets Required: | Separate provision per CDM 2015 |
| Wash Basins Required: | 1 per 20 persons minimum |
| Showers Required: | If dirty work, 1 per 10 persons |
| Drinking Water Points: | Minimum 1 per welfare unit, clearly marked |
| Canteen Seating: | Sufficient for peak shift numbers |
| Drying Room Provision: | Heated space with hanging facilities |
| Rest Room: | Suitable for pregnant women and nursing mothers per CDM 2015 |

4. Traffic and Pedestrian Management

| Vehicle Access Gate: | Describe location, width (min 3.5m for HGVs), visibility splays |
| --- | --- |
| Pedestrian Access Gate: | Describe location, separation from vehicle access |
| One-Way System: | Describe on-site traffic flow and circulation |
| Speed Limit: | Typically 5–15 mph on site |
| Reversing Policy: | Describe banksman requirements and designated reversing areas |
| Pedestrian Routes: | Describe segregated walkways, crossing points, barriers |
| Delivery Vehicle Routing: | Describe approach route and turning provision |
| Emergency Vehicle Access: | Describe maintained access route (min 3.7m width, 4m height) |
| Parking Restrictions: | Describe any public highway restrictions and site parking rules |

5. Temporary Services

| Temporary Electrical Supply: | Describe supply arrangement, capacity (kVA), distribution board location |
| --- | --- |
| Temporary Water Supply: | Describe connection point, metered supply, storage tanks if required |
| Foul Drainage: | Describe connection to sewer or use of chemical toilets / tank system |
| Surface Water Drainage: | Describe temporary drainage, settlement tanks, pumping |
| Telecommunications: | Broadband, mobile signal, site radio system |
| Temporary Lighting: | Compound lighting, security lighting, tower lights |
| Heating: | Welfare unit heating arrangement |
| Gas Supply (if applicable): | Describe arrangement and safety measures |

6. Security

| Security Provider: | Company name and contact |
| --- | --- |
| Manned Security Hours: | Describe hours of manned security cover |
| CCTV: | Number of cameras, monitored / recorded, coverage areas |
| Intruder Alarm: | Type and monitoring arrangement |
| Site Lighting: | Security lighting coverage and timer/sensor details |
| Access Control: | Turnstile / key pad / biometric / sign-in system |
| Key Holders: | Names and contact numbers of key holders |
| Hoarding / Fencing Integrity: | Inspection regime and maintenance |
| Valuables Storage: | Secure container / strongroom arrangements |

7. Environmental Considerations

| Noise Restrictions: | Describe any Section 61 consent conditions or local authority limits |
| --- | --- |
| Dust Suppression: | Describe dust control measures for compound area |
| Lighting Impact: | Describe measures to prevent light pollution to neighbours |
| Surface Water Runoff: | Describe drainage and pollution prevention measures |
| Tree / Habitat Protection: | Describe any TPOs or ecological constraints affecting layout |
| Waste Management: | Describe waste segregation, skip management, SWMP requirements |
| Community Liaison: | Describe notification to neighbours and complaint procedure |

8. Compound Layout Drawing

Attach the compound layout drawing or sketch below.

Attach or draw the compound layout plan. Include: site boundary, hoarding line, access gates (vehicle and pedestrian), offices, welfare units, stores, laydown areas, parking, turning circle, fire points, assembly points, pedestrian routes, one-way vehicle routes, crane positions, generator, temporary services connections, waste area, wheel wash, signage locations, and north point. Include key dimensions.

9. Phased Layout Changes

Record any planned changes to the compound layout as the project progresses.

| No. | Phase / Date | Change Description | Reason | Approved By |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

10. Approval

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Site Manager |  |  |  |
| Project Manager |  |  |  |
| Client Representative |  |  |  |
| H&S Manager |  |  |  |

11. Notes / Additional Comments

Enter any additional notes here

12. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: CDM 2015 (Schedule 2), HSE Workplace (Health, Safety and Welfare) Regulations 1992, BS 6187, Considerate Constructors Scheme requirements